**REQUEST FOR QUOTATION  
SPECIFICATION OF STANDARD GOODS**

**Procurement No:** **46-G004-22**

## Specification

### Background

This project is to support efficiency of fuel shipment to Outer Islands in terms of timely discharge of and loading of fuel from time to time

### Requirements

All supporting documentation must be in English. The list of requirement can be found in the ***Instruction on How to submit a Quotation*** template, page number 5.

### Installation services

To be installed at outer islands

### Delivery Time

44 days after first payment

## Description of the Goods

*Here, list all items to be Tendered*

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Pos.** | **Description** | **Number** | **Delivery Time (to be Tendered)** | **Price (to be Tendered)** |
| 1 | 1kw solar system (550w)  **Item**  Solar Panel  Charger / Controller  Battery (2.4KW)  MC4 Connector  PV Cables  Mounting 5kw  Mounting 10kw | 16  16 |  |  |
| 2 | 5kw solar system (550w) Solar Panel  PV Combiner  Inverter 5kw  Battery  MC4 Connectors set  PV Cables  Mounting 5kw  Mounting 10kw | 2  2 |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |