**REQUEST FOR QUOTATION  
SPECIFICATION OF STANDARD GOODS**

**Procurement No:** **22-G002-22**

## Specification

### Background

The Eye Clinic is one of medical discipline that uses medical magnified equipment to assist them in assessing and screening moderate to severe diabetic retinopathy cases. The following equipment are extremely needed for the care of patients with Diabetes Mellitus. The equipment includes Fundus Camera, Slit Lamb, Laser Machine, Table and Stools.

### Requirements

* The products must comply to the descriptions of the goods on the list
* If the specified product on the list is unavailable, the supplier is obliged to offer an identical product with label and description.
* Manuals to be included in each product

### Installation services Online zoom meeting for training and manuals are to be used as guidance in using the products.

### Delivery Time

12-18 weeks (after Contract start date) by CIF Sea Freight to Kiribati

## Description of the Goods

*Here, list all items to be Tendered*

*(This part may be replaced by a proprietary Supplier description)*

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Pos. | Description | Manufacturer | Quantity | Price (to be Tendered) |
| 1 | Fundus Camera with Flureiscein System |  | 1 |  |
| 2 | Slit Lamp: 5 step slit lamp + Beam splitter with C Mount + Observer Scope (Reverse Reflection) |  | 2 |  |
| 3 | Laser Machine: microscope laser safety filter |  | 1 |  |
| 4 | Motorized Table: Height adjustable |  | 3 |  |
| 5 | Surgeon Stools |  | 4 |  |