**REQUEST FOR QUOTATION  
SPECIFICATION OF STANDARD GOODS**

**Procurement No: 11-G001-22**

## Specification

### Background

The service of the Public Utilities Board (PUB) in providing electric power has become so unreliable affecting effective and efficient delivery of justice by the Judiciary. The Judiciary relies heavily on electric power and any disruptions affect the hearing of court cases and timely delivery of judiciary and justice services. Delay in justice is justice denied.

The Judiciary Solar Power Backup System is a backup to the electric power system of the PUB so that the Judiciary continues to function without any power disruption.

### Requirements

All supporting documentation must be in English.

1. Quotes
2. Designs matching the power needs of the Judiciary Betio (comprising the High Court buildings, the Magistrates' Chamber, the courtrooms, the Main Administration building).
3. Workplan
4. Labour charges
5. List of employees as per labour charge
6. References/Qualifications of employees
7. Business Licence

Also,

1. Company is to have its own working tools
2. Ensure safety is provided to all
3. Complete project within Workplan
4. Judiciary meets the costs of the materials and labour charges only.

Points 9 to 12 plus other terms will be reflected in the Agreement.

### Installation services

Installation must be completed within timeframe. tested and certified as safe by an independent and worldwide recognized solar expert.

### Delivery Time

<see table below>

## Description of the Goods

*Here, list all items to be Tendered*

*(This part may be replaced by a proprietary Supplier description)*

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Pos. | Description | Number | Delivery Time (to be Tendered) | Price (to be Tendered) |
|  | Power rate- Total loads in watts: 20570; Total wh/day= 105216 |  |  |  |
| 1 | Solar equipment and devices |  | 16/12/22 |
| 2 | Installation labour charges |  | 30/12/22 |
| 3 | Safety testing and certification |  | 30/12/22 |
| 4 |  |  |  |  |