**REQUEST FOR QUOTATION  
SPECIFICATION OF STANDARD GOODS**

**Procurement No:** **46-G008-23**

## Specification

### Background

This project is to support efficiency of bunkering pipeline and fuel discharging, avoid pollution and increase safety to KOIL staff and people of Kiribati as a whole.

### Requirements

All supporting documentation must be in English.

### Installation services

To be installed by KOIL Staff

### Delivery Time

44 days after first payment

## Description of the Goods

*Here, list all items to be Tendered*

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Pos. | Description | Number | Delivery Time (to be Tendered) | Price (to be Tendered) |
| 1 | |  |  |  | | --- | --- | --- | | **Pipe Specification: 200NB sch 40 Black Trilaminated** | | | | Nominal Size (inch) | 4 | 8 | | Outside Diameter (inch) | 4.5 | 8.625 | | Wall Thickness (inch) | 0.237 | 0.8322 | | Weight (kg/m) | 16.07 | 42.55 | |  |  |  | | **Fittings** |  |  | | Elbow 45 | 25 | 23 | | Elbow 90 | 4 | 4 | | flanges (pcs) | 50 | 50 | | Bolt holes (no#) | 4 | 8 | | Gasket (pcs) | 30 | 30 | |  |  |  | | Pipe Length (m) | 850 | 750 | |  |  |  | | **Piping Materials & Standards** |  |  | | Pipe must meet either of the following standards | | | | API5L | | | | ASTM A106/A53 Grade B | | | |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |