## Dublex unit BOQ (hidden)
KIRIBATI HOUSING CORPORATION |  |  |  |  | BILL OF QUANTITY
DEVELOPMENT DEPARTMENT
Ref: | UHPII | Project No: |  |  | 200211
Prepared: |  | Issue Date: |  |  | 2021-04-25
Checked: |  | Issue Status: |  |  | REVISED FINAL
REF |  | QTY | UOM | U/PRICE | TOTAL
1 | GENERAL REQUIREMENTS
1.01 | Allow for heavy plants and equipments |  | PS |  | 0
1.02 | Allow for basic tools |  | PC |  | 0
1.03 | Allow for OHS requirements |  | PS |  | 0
1.04 | Allow for permits |  | PC |  | 0
1.05 | Allow for site security services |  | PS |  | 0
2 | PRELIMINARIES
2.01 | Allow for LMD surveys |  | PS |  | 0
2.02 | Allow for site hoarding and access |  | PS |  | 0
2.03 | Allow for temporary services |  | PS |  | 0
2.04 | Allow for site clearance |  | PS |  | 0
2.05
2.06 | Allow for the Provision of signboards, together with details of signwriting and installation |  | item |  | 0
2.07
2.08 | Allow for temporary site shed during the course of construction works |  | item |  | 0
2.09
2.1 | Temporary services, construction water and power |  | item |  | 0
2.11 | Allow for the provision of water for the works and
2.12 | any necessary temporary plumbing and storage.
2.13
2.14 | Allow for the provision of temporary electric power, |  | item |  | 0
2.15 | including connections to main.
2.16
2.17 | Allow for setting out of the works and the provision |  | item |  | 0 |  | 1
2.18 | of all instruments required.
2.19
2.2 | Allow for the provision of scaffolding for exterior work |  | item |  | 0 |  | 1
2.21
2.22 | Allow for the provision of scaffolding for interior work |  | item |  | 0 |  | 1
2.23
2.24 | Allow for the protection of the works from weather or any other cause |  | item |  | 0 |  | 1
3 | BOUNDARY WORKS
3.01 | Fencing post at least every 3 metres |  | m |  |  |  | 0
3.02 | 50mm Galv. pipes in posts |  | Length(s) |  | 0 |  | 0
3.03 | 50mm Galv. pipes in bracings |  | Length(s) |  | 0 |  | 0
3.04 | Fence siding and straining |  | m |  |  |  | 0
3.05 | 3' Chainlink fencing |  | Rolls |  | 0 |  | 0
3.06 | 3mm Galv. Straining wire |  | Rolls |  | 0 |  | 0
3.07 | 25MPa Conc. in columns |  | m³ |  |  |  | 0
3.08 | 40kg Cement |  | Bags |  | 0 |  | 0
3.09 | Aggregate |  | m³ |  | 0 |  | 0
3.1 | Sand |  | m³ |  | 0 |  | 0
4 | FORMWORK
4.01 | Strutting in excavation wall supports | 800 | m |  |  |  | 100
4.02 | 50x50 Non-structural pine | 137.931 | Length(s) |  | 0 |  | 17.2414
4.03 | Siding in excavation wall supports | 320 | m² |  |  |  | 40
4.04 | 20mm Formply | 136 | Sheet |  | 0 |  | 17
4.05 | Profiling and general support | 312 | m |  |  |  | 39
4.06 | 50x50 Non-structural pine | 53.7931 | Length(s) |  | 0 |  | 6.7241
4.07 | 100x25 Non-structural pine | 22.069 | Length(s) |  | 0 |  | 2.7586
4.08 | Backfill to excavations
4.09 | Sand | 240 | m³ |  | 0 |  | 30
4.1 | Beam formwork | 168 | Sheet |  | 0 |  | 21
5 | CONCRETE WORK
5.01 | 25MPa Conc. in C1/P1 | 16 | m³ |  |  |  | 2
| 40kg Cement | 160 | Bags |  | 0 |  | 20
| Aggregate | 8 | m³ |  | 0 |  | 1
| Sand | 8 | m³ |  | 0 |  | 1
5.02 | 25MPa Conc. In SF1 | 136 | m³ |  |  |  | 17
| 40kg Cement | 1088 | Bags |  | 0 |  | 136
| Aggregate | 72.5333 | m³ |  | 0 |  | 9.0667
| Sand | 48.3556 | m³ |  | 0 |  | 6.0444
5.03 | 25MPa Conc. In SF2 | 0.8568 | m³ |  |  |  | 0.1071
| 40kg Cement | 6.8544 | Bags |  | 0 |  | 0.8568
| Aggregate | 0.73223 | m³ |  | 0 |  | 0.091528
| Sand | 0.6534 | m³ |  | 0 |  | 0.081675
5.04 | 25MPa Conc. in SF3 | 8.64 | m³ |  |  |  | 1.08
| 40kg Cement | 72 | Bags |  | 0 |  | 9
| Aggregate | 6.4 | m³ |  | 0 |  | 0.8
| Sand | 3.2 | m³ |  | 0 |  | 0.4
5.05 | 25MPa Conc. In Floor Slab | 119.808 | m³ |  |  |  | 14.976
| 40kg Cement | 958.464 | Bags |  | 0 |  | 119.808
| Aggregate | 85.1556 | m³ |  | 0 |  | 10.6444
| Sand | 42.6667 | m³ |  | 0 |  | 5.3333
5.06 | Cement-sand plaster in rendered brickwalls | 17.92 | m² |  |  |  | 2.24
| 40kg Cement | 157.696 | Bags |  | 0 |  | 19.712
| Sand | 6.16 | m³ |  | 0 |  | 0.77
5.07 | Damp-proofing membrane
| Gauge 75 Fortecon Sheet or equivalent 20m/ROLL | 80 | Rolls |  | 0 |  | 10
| Polyethene | 32 | Rolls |  | 0 |  | 4
5.08 | 25MPa Con. In Base and Floor of Tank Stand | 10.56 | m³ |  |  |  | 1.32
| 40kg Cement | 92.928 | Bags |  | 0 |  | 11.616
| Aggregate | 4.0679 | m³ |  | 0 |  | 0.50849
| Sand | 3.63 | m³ |  | 0 |  | 0.45375
6 | STEELWORKS
6.01 | ØD12mm reinforcing in 25MPa concrete | 15566.7 | m |  |  |  | 1945.8375
| ØD12mm reinforcing in 25MPa concrete | 2608 | Length |  | 0 |  | 326
6.02 | Ø10mm Stir up in 25MPa concrete | 11655.7714 | m |  |  |  | 1456.9714
| Ø10mm Stir up in 25MPa concrete | 1952 | Length(s) |  | 0 |  | 244
6.03 | Tie wire | 200 | Kg |  | 0 |  | 25
6.04 | WIRE MESH SL 72 ‐ 4.65mtr x 2.4mtr/sht | 104 | Sheets |  | 0 |  | 13
6.05 | 150mm Dia. H5 Treated Pine post | 42.4828 | Length |  | 0 |  | 5.3103
0
7 | BRICKWORK | 0
| 8" Main house brick work | 16800 | Nos |  | 0 |  | 2100
0
8 | TIMBERWORKS | 0
8.01 | 300x50 F7 Pine Timber Stringer | 32 | Lengths |  | 0 |  | 4
0
8.02 | DAS 250X50 F11 Heart Damanu Wall plate | 112 |  |  | 0 |  | 14
0
8.03 | RS 200x50 H3 Treated Pine timber Joist @400mm ctrs max | 376 | Length(s) |  | 0 |  | 47
0
8.04 | DAS 150x50 H3 Treated Pine timber | 480 | Length(s) |  | 0 |  | 60
0
8.05 | DAS 90X45 F7 Treated (H3) Pine timber | 1168 | Length(s) |  | 0 |  | 146
0
8.06 | RS 70x45 F7 Treated (H3) Pine timber | 348.9655 | Length(s) |  | 0 |  | 43.6207
0
8.07 | DAS 45x45 Dakua | 960 | Length(s) |  | 0 |  | 120
0
8.08 | DAS 195x20 F7 Treated (H3) Pine Timber | 159.3103 | Length(s) |  | 0 |  | 19.9138
0
8.09 | DAS 45x20 Dakua Timber | 720 | Length(s) |  | 0 |  | 90
0
9 | BOARDS | 0
9.01 | 6mm GIB Board 2.4mx1.220m | 400 | Sheets |  | 0 |  | 50
0
9.02 | 20mm High Density Compressed Fibre Cement Sheets | 312 | Sheets |  | 0 |  | 39
0
9.03 | 10mm High Density Compressed Fibre Cement sheets | 112 | Sheet |  | 0 |  | 14
0
9.04 | 12mm Ply board | 480 | Sheets |  | 0 |  | 60
0
9.05 | 9mm Ply board | 342.8333 | Sheets |  | 0 |  | 42.8542
0
9.06 | 8mm Ply board | 255.3333 | Sheet |  | 0 |  | 31.9167
0
9.07 | 4mm Ply board | 0 | Sheet |  | 0
|  | 0 |  |  |  | 90.5616
9.08 | Weather board 200mmx5.8m long | 800 | Length(s) |  | 0 | 1.015 | 100
0
10 | FLOOR WORKS | 0
10.01 | 300x300 Vinyl tile | 608 | Ctn |  | 0 |  | 76
0
10.02 | Tile O Fix | 160 | Tin |  | 0 |  | 20
0
10.03 | Polyurethane Clear 4L | 16 | Tin |  | 0 |  | 2
0
10.04 | Turbinetine 20L | 64 | Tin |  | 0 |  | 8
0
10.05 | 100mm Hand brush | 64 | Nos |  | 0 |  | 8
0
10.06 | 300x300 Quarry tile | 48 | Ctn |  | 0 |  | 6
0
10.07 | 150x150 Wall tile | 576 | Ctn |  | 0 |  | 72
0
10.08 | 20kg CTA | 320 | Bags |  | 0 |  | 40
0
10.09 | 20kg Grout (White) | 160 | Bags |  | 0 |  | 20
0
11 | HARDWARE | 0
11.01 | Cylinder door lock | 64 | Nos |  | 0 |  | 8
0
11.02 | Bright brass Lever lock with BiLock | 64 | Nos |  | 0 |  | 8
0
11.03 | 100mm Barrel bolt | 64 | Nos |  | 0 |  | 8
0
11.04 | 12 blades louver frame | 416 | Nos |  | 0 |  | 52
|  | 0 |  |  |  | 4992
11.05 | 36" Clear Glass | 9480 | Nos |  | 0 | 1600 | 1185
|  | 0 |  |  |  | 2560
11.06 | 10 blades louvre frame | 160 | Nos |  | 0 | 256 | 20
|  | 0 |  |  |  | 9408
11.07 | 8 blades louvre frame | 320 | Nos |  | 0 |  | 40
0
11.08 | 4 blades louvre frame | 64 | Nos |  | 0 |  | 8
0
11.09 | WIRE MESH GALVANISED 228 ‐ 2..4mtr x 1..2mtr/sht ‐ 4mm | 112 | Sheet |  | 0 |  | 14
| 0 | 0
12 | PAINT WORKS | 0
12.01 | Water based white Primer 4L | 208 | Tin |  | 0 |  | 26
12.02 | Water based Undercoat | 304 | Tin |  | 0 |  | 38
12.03 | Semi-gloss (16sq.mtr per liter) | 192 | Tin |  | 0 |  | 24
12.04 | Water based High-gloss | 240 | Tin |  | 0 |  | 30
12.05 | 75mm Hand brush | 160 | Nos |  | 0 |  | 20
12.06 | Corner brush | 160 | Nos |  | 0 |  | 20
12.07 | ROLLER KIT 4 PCS SET OLDFIELD KUPU‐KUPU 230mm [9"] | 160 | Nos |  | 0 |  | 20
12.08 | ROLLER SLEEVE ‐ NOOK & FABRIC 100mm [4"] CHINA mouse | 160 | Nos |  | 0 |  | 20
0
13 | PLUMBING WORKS | 0
13.01 | 9' Colourbond Corrugate iron roofing sheet | 440 | Sheet |  | 0 |  | 55
0
13.02 | WIRE NETTING HEX [CHICKEN] 2 x 2" x 6FT [72"] x 2 x 30 | 24 | Rolls |  | 0 |  | 3
0
13.03 | SISAL F‐STOP 1250mm x 40M (50m²) DOUBLE SIDE ROLL | 32 | Rolls |  | 0 |  | 4
0
13.04 | Colourbond Ridge cap 2.4mtr | 80 | Sheet |  | 0 |  | 10
0
13.05 | Colourbond Flashing 2.4mtr | 32 | Sheet |  | 0 |  | 4
0
13.06 | 2.4m Quad Gutter | 144 | Sheet |  | 0 |  | 18
0
13.07 | 1.2m Quad gutter bracket | 1040 | Nos |  | 0 |  | 130
0
13.08 | 100mm PVC pipe | 128 | Length(s) |  | 0 |  | 16
0
13.09 | 100mm PVC bend 45deg | 160 | Nos |  | 0 |  | 20
0
13.1 | 100mm PVC Inspection opening | 96 | Nos |  | 0 |  | 12
0
13.11 | PVCF DWV CLIP STANDARD PIPE 100mm [141.100] WASTE FITTING | 320 | Nos |  | 0 |  | 40
0
13.12 | 100mm PVC Elbow | 160 | Nos |  | 0 |  | 20
0
13.13 | 100mm PVC Gully trap | 32 | Nos |  | 0 |  | 4
0
13.14 | 100mm PVC Tee | 128 | Nos |  | 0 |  | 16
0
13.15 | 100mm PVC Pan collar | 16 | Nos |  | 0 |  | 2
0
13.16 | 100mm Y-junction | 64 | Nos |  | 0 |  | 8
0
13.17 | 100mm Floor grate | 16 | Nos |  | 0 |  | 2
0
13.18 | 100mm Vent cowl | 16 |  |  | 0 |  | 2
0
13.19 | 50mm PVC Pipe | 64 | Nos |  | 0 |  | 8
0
13.2 | 50mm PVC elbow | 128 | Nos |  | 0 |  | 16
0
13.21 | 50mm PVCF DWV Clip standard Pipe 50mm | 160 | Nos |  | 0 |  | 20
0
13.22 | 50mm PVC Tee | 160 | Nos |  | 0 |  | 20
0
13.23 | 100-50mm PVC reducer | 96 | Nos |  | 0 |  | 12
0
13.24 | 40mm S-trap | 80 | Nos |  | 0 |  | 10
0
13.25 | 40mm Plug and Waste | 64 | Nos |  | 0 |  | 8
0
13.26 | 40mm PVC Pipe | 32 | Nos |  | 0 |  | 4
0
13.27 | 20mm PVC pipe | 64 | Length(s) |  | 0 |  | 8
0
13.28 | 20mm PVC Plain elbow | 96 | Nos |  | 0 |  | 12
0
13.29 | 20mm PVC tee | 128 | Nos |  | 0 |  | 16
0
13.3 | 20mm Male adapter | 48 | Nos |  | 0 |  | 6
0
13.31 | 20mm Female adapter | 32 | Nos |  | 0 |  | 4
0
13.32 | 20mm-15mm Reducer | 32 | Nos |  | 0 |  | 4
0
13.33 | 20mm PVC Union | 32 | Nos |  | 0 |  | 4
0
13.34 | 20mm Ball valve | 48 | Nos |  | 0 |  | 6
0
13.35 | 20mm PVC clip | 160 | Nos |  | 0 |  | 20
0
13.36 | 15mm PVC Pipe | 128 | Nos |  | 0 |  | 16
0
13.37 | 15mm PVC elbow | 320 | Nos |  | 0 |  | 40
0
13.38 | 15mm PVC Male adaptor | 96 | Nos |  | 0 |  | 12
0
13.39 | 15mm PVC Female adaptor | 96 | Nos |  | 0 |  | 12
0
13.4 | 15mm PVCF DWV Clip Standard | 480 | Nos |  | 0 |  | 60
0
13.41 | 15mm PVC union | 64 | Nos |  | 0 |  | 8
0
13.42 | 15mm (HK512) 304 Stainless Steel Swivel Kitchen Basin/Sink Faucet water | 16 | Nos |  | 0 |  | 2
0
13.43 | 15mm PVC Stop valve | 64 | Nos |  | 0 |  | 8
0
13.44 | 15mm F9020101 Pillar cock pressmatic | 64 | Nos |  | 0 |  | 8
0
13.45 | 15mm Brass bib tap | 48 | Nos |  | 0 |  | 6
0
13.46 | 15mm PVC tee | 320 | Nos |  | 0 |  | 40
0
13.47 | P-trap WC complete + Cistern | 16 | Nos |  | 0 |  | 2
0
13.48 | 15mm OSUKI Stainless Steel Shower Set | 16 | Nos |  | 0 |  | 2
0
13.49 | Thread tape | 128 | Nos |  | 0 |  | 16
0
13.5 | 1.8m Double Stainless steel sink unit | 16 | Nos |  | 0 |  | 2
0
13.51 | 15mm Tabor 460mm Basin and Semi Pedestal | 16 | Nos |  | 0 |  | 2
0
13.52 | PVC glue 500ml | 64 | Nos |  | 0 |  | 8
0
14 | ELECTRICAL COMPONENTS | 0
14.01 | SUB BOARD 8WAY TSM15 | 16 | Nos |  | 0 |  | 2
14.02 | HEM CIRCUIT BREAKER 25A 1POLE 4.5KA (GBL IMEX) | 16 | Nos |  | 0 |  | 2
14.03 | HEM CIRCUIT BREAKER 16A 1POLE 4.5KA (GBL IMEX) | 32 | Nos |  | 0 |  | 4
14.04 | HEM CIRCUIT BREAKER 10A 1POLE 4.5KA (GBL IMEX) | 32 | Nos |  | 0 |  | 4
14.05 | WIRE 6mm 2 CORE + EARTH ORANGE PVC CIRCULAR ELECTRICAL DC | 1120 | m |  | 0 |  | 140
14.06 | WIRE 1.5mm Flat cable 100m/roll | 32 | Rolls |  | 0 |  | 4
14.07 | WIRE 2.5mm Flat cable 100m/roll | 32 | Rolls |  | 0 |  | 4
14.08 | Quadrible switch + Mounting | 16 | Nos |  | 0 |  | 2
14.09 | Trible switch +Mounting | 16 | Nos |  | 0 |  | 2
14.1 | Double switch + mounting | 32 | Nos |  | 0 |  | 4
14.11 | Single switch + Mounting | 64 | Nos |  | 0 |  | 8
14.12 | TAPE ‐ PVC INSULATING BLACK 18mm x 15yd EACH | 64 | Nos |  | 0 |  | 8
14.13 | TAPE ‐ PVC INSULATING GREEN 18mm x 10yrd EACH | 64 | Nos |  | 0 |  | 8
14.14 | TAPE ‐ PVC INSULATING RED 18mm x 10yd | 64 | Nos |  | 0 |  | 8
14.15 | HEM JUNCTION BOX BIG JB1 & JB2 | 160 | Nos |  | 0 |  | 20
14.16 | 15mm PVC Conduit pipe | 320 | Length(s) |  | 0 |  | 40
14.17 | 20mm PVC Conduit pipe | 640 | Length(s) |  | 0 |  | 80
14.18 | 15mm Brass solid earth bar 2m long | 16 | Length(s) |  | 0 |  | 2
14.19 | HOSE CLAMP 16‐27mm x 12mm NORMA [100PCS/PKT] | 16 | Nos |  | 0 |  | 2
14.2 | 40mm PVC Conduit pipe | 16 | Length(s) |  | 0 |  | 2
14.21 | Caravan RV Double Pole Dual 240V Power Point with Twin USB Charging with Mounting block | 160 | Nos |  | 0 |  | 20
14.22 | Batten holder | 128 | Nos |  | 0 |  | 16
14.23 | ELEMENTS ENERGY SAVER BULB SPIRAL 20W DAYLIGHT ‐ 6500K BC ( | 128 | Nos |  | 0 |  | 16
14.24 | Earth wire - Green | 96 | m |  | 0 |  | 12
0
15 | FIXINGS AND FASTNERS | 0
15.01 | 100mm Stainless steel(SS) . Jolthead nail | 640 | Kg |  | 0 |  | 80
15.02 | 75mm Stainless steel. Jolthead nail | 320 | Kg |  | 0 |  | 40
15.03 | 50mm SS. Jolthead nail | 320 | Kg |  | 0 |  | 40
15.04 | 40mm SS. Jolthead nail | 160 | Kg |  | 0 |  | 20
15.05 | 40mm SS. Clout jolthead nail | 160 | Kg |  | 0 |  | 20
15.06 | NAIL JOLT HEAD Stainless steel PANEL PIN 25mm [1"] x 1.60mm x 1.0k | 160 | Kg |  | 0 |  | 20
15.07 | ROOFING SCREW CORRUDEK TO TIMBER CYCLONE | 64 | Kg |  | 0 |  | 8
15.08 | BOLT & NUT MILD STEEL HEXAGON HEAD GALVANISED 12mm | 640 | Nos |  | 0 |  | 80
15.09 | Knuckle nailplates 76mmx317mm 10m/roll | 32 | Rolls |  | 0 |  | 4
15.1 | Maxi strap | 96 | Rolls |  | 0 |  | 12
15.11 | Tim-con brackets | 3200 | Nos |  | 0 |  | 400
15.12 | GI joist hangers | 9600 | Nos |  | 0 |  | 1200
15.13 | 10mm Pop rivet | 96 | Kg |  | 0 |  | 12
15.14 | Silicon 750ml | 32 | Nos |  | 0 |  | 4
15.15 | Gap filler 475ml | 800 | Nos |  | 0 |  | 100
15.16 | Wood putty | 320 | Kg |  | 0 |  | 40
15.17 | Sand paper P-60 50m/Roll | 16 | Rolls |  | 0 |  | 2
15.18 | Sand paper P-120 50m/Roll | 16 | Rolls |  | 0 |  | 2
15.19 | 4" Batten screws 500 per ctn | 32 | Ctn |  | 0 |  | 4
15.2 | 2.5" Batten screws 500 per ctn | 32 | Ctn |  | 0 |  | 4
15.21 | M16-8.8 Bolt | 1360 | Nos |  | 0 |  | 170
15.22 | M12-4.6/S Hot dip galv. Bolt with 50x50x3mm thick washers 2.550m | 800 | Nos |  | 0 |  | 100
15.23 | M12-4.6/S Hot dip Galv. Bolts with 50/50x3mm thick Washers 450mm | 800 | Nos |  | 0 |  | 100
| Additional elements (Tankbase and stand, Laundry washtub) | 0 |  |  | 19200
19200

## 44-G003-23-Part A
KIRIBATI HOUSING CORPORATION
PRICING SCHEDULE
44-G003-23 Part A
Instructions for Suppliers: Input own specifications / comments / details, etc. in Column D (Supplier(s) Specifications / Comments / Details, etc.) and unit prices in Column G (Rate per unit). Do not alter the rest of the information in the rest of the table. Highlighted Items (in yellow) should be deliberately prioritized for loading and shipping first. Whenever there is sufficient container space, additional items should be added to the maximum allowable weight of containers.
Item | Description | Supplier(s) Specifications / Comments / Details, etc. | Total | Unit | Rate per Unit | Sub-Total
Qty
1 | GROUNDWORKS
| 50X50 Non-structural pine |  | 800 | m/Length
| 20mm Formply |  | 320 | sheet
| 100x25 Non-structural pine |  | 800 | length
| Sand Fine Shieved |  | 50 | m3
2 | CONCRETE WORKS
| 40kg cement |  | 17320 | Bags
| Aggregate |  | 116 | m3
| Sand Fine Shieved |  | 105 | m3
3 | STEELWORKS
| N12 Rebars |  | 16220 | Lengths
| N10 Rebars |  | 20 | Length
| N6 Stirrup Rebars |  | 6780 | Length
| Galvanized Tie Wire (100m Coils) |  | 40 | Coils
4 | BRICKWORK
| 200mm Standard Bricks (8") |  | 27020 | nos
5 | TIMBERWORKS
| DAS 190X45 H3 Treated NZ Pine Timber |  | 240 | Length
| DAS 145X45 H3 Treated NZ Pine Timber |  | 300 | Length
| DAS 90X45 H3 Treated NZ Pine Timber |  | 800 | Length
| DAS 75X45 H3 Treated NZ Pine Timber |  | 1220 | Length
| DAS 50X50 H3 Treated NZ Pine Timber |  | 1180 | Length
| DAS 90X45 H3 Treated NZ Pine Timber |  | 60 | Length
| DAS 195X20mm H3 Treated NZ Pine Timber |  | 420 | Length
| Profiled H3 Pine Architraves 75mm in Door and Window Openings, 6m comb joints |  | 165 | Length
| Profiled H3 Pine Architraves 90mm in Skirting, 6m comb joints |  | 120 | Length
| 40x40mm H3 Pine Scotia in Cornices, 6m comb joints |  | 120 | Length
| 20x20mm H3 Pine Quarter-round in Edge Trims, 6m comb joints |  | 120 | Length
6 | BOARDS
| 4mm Tempered Hardboard/Masonite smooth one side |  | 500 | Sheets
| 8 mm Marine Ply |  | 40 | Sheets
| Fibro cement |  | 100 | Sheets
| 12mm Marine Ply |  | 100 | Sheets
7 | FLOOR WORKS
| 300x300 White range textured Vinyl tile |  | 420 | ctn
| Vinyl adhesive |  | 160 | Tin
| Polyurethane Clear 4L |  | 20 | Tin
| Turbinetine 5L |  | 80 | Nos
| 100mm Hand bursh |  | 120 | Nos
| 300x300mm quarry tile |  | 80 | Ctn
| 150x150 wall tile |  | 1320 | Ctn
| 20kg CTA |  | 400 | Bags
| 20kg Grout (White) |  | 120 | Bags
8 | HARDWARE
| Cylinder door lock |  | 160 | Nos
| Bright brass Lever lock with BiLock |  | 80 | Nos
| 100mm Brass Hinges |  | 160 | Nos
| 36'' Clear Glass |  | 2080 | Nos
| 8 Blades louvre frame |  | 240 | Nos
| 4 Blades louvre frame |  | 40 | Nos
| 7mm Silver Anodized diamond security grille 1950x6150mm panels |  | 40 | sheets
9 | PAINT WORKS
| White Primer 10L (11sq.mtr/L) |  | 40 | Unit
| Semi-gloss (16sq.mtr per liter) 4L |  | 140 | Tin
| Acrylic final coat 4L (16sq.mtr/L) |  | 140 | Tin
| 75mm Hand bursh |  | 120 | Nos
| Corner Brush |  | 120 | Nos
| Roller KIT 4 pcs set oldfield KUPU-KUPU 230mm [9''] |  | 120 | Nos
| Roller sleeve - nook & fabric 100mm [4''] china mouse |  | 120 | Nos
| Metal primer white 4L (1sq.mtr/L) |  | 40 | Tin
10 | PLUMBING WORKS
| 15' Colourbond Corrugate iron roofing sheet |  | 640 | Sheet
| 5' Colourbond Corrugate iron roofing sheet |  | 320 | Sheet
| Wire netting hex [chicken] 2x2'' X6ft [72''] x 2 x 30 |  | 20 | Roll
| sisal F-STOP 125mm X 40M (50m2} DOUBLE SIDE ROLL |  | 20 | m2
| Colourbond Ridge cap 2.4mtr to match colour of roofing sheet |  | 40 | Length
| Colourbond Flashing 2,4mtr to match colour of roofing sheet |  | 200 | Length
| 2.4m Galv Gutter |  | 100 | Length
| 1.2m Galv Strapping |  | 360 | Nos
| 100mm PVC pipe |  | 200 | Length
| 100mm PVC bend 45deg |  | 240 | Nos
| 100mm PVC Inspection opening |  | 120 | Nos
| PVCF DWV CLIP STANDARD PIPE 100mm [141.100]WASTE FITTING |  | 300 | Nos
| 100mm PVC Elbow |  | 300 | Nos
| 100mm PVC Gully trap |  | 60 | Nos
| 100mm PVC Tee |  | 120 | Nos
| 100mm PVC Pan collar |  | 40 | Nos
| 100mm Y-junction |  | 60 | Nos
| 50mm PVC pipe |  | 80 | Nos
| 50mm PVC Elbow |  | 200 | Nos
| 50mm PVCF DWV Clip standard Pipe 50mm |  | 300 | Nos
| 50mm PVC Tee |  | 120 | Nos
| 50mm Floor grade |  | 80 | Nos
| 50mm Vent cowl |  | 40 | Nos
| 100-50mm PVC reducer |  | 120 | Nos
| 40mm S-trap |  | 160 | Length
| 40mm Plug and Waste |  | 160 | Length
| 40mm PVC pipe |  | 40 | Nos
| 50-40mm PVC reducing push |  | 80 | Nos
| 25mm PVC pipe |  | 80 | Nos
| 25mm PVC Plain elbow |  | 200 | Nos
| 25mm PVC Tee |  | 80 | Nos
| 25-15mm Reducing push |  | 80 | Nos
| 25mm Gate valve |  | 40 | Nos
| 15mm PVC Pipe |  | 200 | Nos
| 15mm PVC elbow |  | 600 | Nos
| 15mm PVC male adaptor |  | 200 | Nos
| 15mm PVC Female adaptor |  | 200 | Nos
| 15mm PVCF DWV Clip Standard |  | 800 | Nos
| 15mm PVC union |  | 160 | Nos
| 15mm (HK512)304 Stainless steel swivel kitchen basin/sink Faucet water |  | 40 | Nos
| 15mm PVC stop valve |  | 120 | Nos
| 15mm F9020101 Pillar cock pressmatic |  | 120 | Nos
| 15mm Brass bib tap |  | 80 | Nos
| 15mm PVC tee |  | 600 | Nos
| P-trap WC complete + Cistern |  | 40 | Nos
| 15mm OSUKI Stainless Steel Shower Set |  | 40 | Nos
| Thread tape |  | 200 | Nos
| 1.8m Double Sink Unit |  | 40 | Nos
| 15mm Tabor 460mm Basin and Semi Pedestal |  | 40 | Nos
| PVC glue 500ml |  | 80 | Nos
ELECTRICAL COMPONENTS
| SUB BOARD 8WAY TSM15 |  | 40 | Nos
| HEM CIRCUIT BREAKER 25A 1POLE 4.5KA (GBL IMEX) |  | 40 | Nos
| HEM CIRCUIT BREAKER 16A 1POLE 4.5KA (GBL IMEX) |  | 40 | Nos
| HEM CIRCUIT BREAKER 10A 1POLE 4.5KA (GBL IMEX) |  | 80 | Nos
| WIRE 6mm 3 CORE + EARTH ORANGE PVC CIRCULAR ELECTRICAL |  | 2000 | m
| WIRE1.5mm Flat cbale 100m/roll |  | 80 | Rolls
| WIRE 2.5mm Flat cable 100m/roll |  | 40 | Rolls
| Double switch + Mounting |  | 40 | Nos
| Single switch + Mounting |  | 80 | Nos
| TAPE - PVC INSULATING BLACK 18mm x 15yd EACH |  | 80 | Nos
| TAPE - PVC INSULATING GREEN 18mm 10yrd EACH |  | 80 | Nos
| TAPE - INSULATING RED 18mm x 10yd |  | 80 | Nos
| HEM JUNCTION BOX BIG JB1 & JB2 |  | 200 | Nos
| 15mm PVC Conduit pipe |  | 200 | Length(s)
| 20mm PVC Conduit pipe |  | 400 | Length(s)
| 15m Galv pipe |  | 20 | Length(s)
| HOSE CLAMP 16-27mm x 12mm NORMA [100PCS/PKT] |  | 40 | Nos
| 25mm PVC Conduit pipe |  | 40 | Length(s)
| Caravan RV Double Pole Dual 240V Power Point with Twin USB Charging with Mounting block |  | 160 | Nos
| Batten Holder |  | 200 | Nos
| ELEMENTS ENERGY SAVER BULB SPIRAL 20W DAYLIGHT - 6500K BC |  | 200 | Nos
| Earth Wire green |  | 300 | m
12 | FIXINGS AND FASTNERS
| 100mm Galv . Jolthead nail |  | 400 | Kg
| 75mm Galv. Jolthead nail |  | 400 | Kg
| 50mm Galv. Jolthead nail |  | 80 | Kg
| 40mm Galv. Jolthead nail |  | 80 | Kg
| 40mm Galv. Clout jolthead nail |  | 80 | Kg
| NAIL JOLT HEAD GALVANIZED PANEL PIN 25mm [1''] x 1.60mm x 1.ok |  | 160 | Kg
| ROOFING SCREW CORRUDEK TO TIMBER CYCLONE |  | 80 | Kg
| BOLT & NUT MILD STEEL HEXAGON HEAD GALVANIZED M10X200mm |  | 800 | Nos
| Pryda Steel tie Down Straps |  | 1000 | Rolls
| Prayda steel straps bracings (30m/L) |  | 60 | Rolls
| Tim-com brackets |  | 400 | Nos
| Nail on joint hangers |  | 400 | Nos
| Pop rivet |  | 40 | Kg
| Silicon 750ml |  | 40 | Nos
| Gap filter 475ml |  | 600 | Nos
| Wood putty |  | 400 | Kg
| Sand paper P-60 50M/Roll |  | 200 | m
| Sand paper P-120 50M/Roll |  | 200 | m
| 4'' Batten Screws |  | 4000 | Nos
| 2.5'' Batten Screws |  | 4000 | Nos
| 8.0mm wall plug |  | 400 | m
| 10.0 Wall plug |  | 400 | m
| 10dia dynabolt |  | 200 | Nos
13 | RAILINGS
| Ø75mm Galv. Post |  | 100 | Length
| 10 GaugeØ40mm Galv. Steel pipe top rail |  | 100 | Length
| 10 Gauge Ø40mm Galv. Steel pipe bottom rails |  | 100 | Length
| 10 GaugeØ25mm Galv. Steel intermediate posts |  | 820 | Length
| 10mm Galv. Steel Plate 2400x1200mm |  | 100 | Sheets
14 | OTHERS
| Well for fresh water |  | 40 | Nos
| Angle Iron 6m in Emergency ladder |  | 80 | Nos
| 25mm Round Bar in Emergency ladder |  | 40 | Length

## 44-G003-23-Part B
KIRIBATI HOUSING CORPORATION
PRICING SCHEDULE
44-G003-23 Part B
Item | Description | Total | Unit | Rate | Sub-Total | Diagram | Drawing No. If Any
|  | Qty required |  |  |  | If Required/Any