## Rates & Constants
Concreting
Net Water Content per Cu. Metres of Concrete
180.42 | kg/cu.m
Net Sand Percentage |  |  |  | DATA LINKED TO OTHER WORKSHEETS. DO NOT MODIFY OR DELETE ANY OF THE CONTENTS. CONSULT DM FOR FURTHER INFORMATION
33%
Net Aggregate (Gravel) Content
50%
Net Portland Cement Content
17%
|  | Select appropriate initial | Select appropriate remark
UOMs |  | R.Arobati | Preliminary
Length(s) |  | B.Otiuea | Final
m |  | K.Tokaia
m² |  | L.Iuta
m³
Nos
Set
Unit
Sheet
Bags
Rolls
Coils
PC
PS
Kg
Tin
Ctn
Ltr

## Takeoff Sheet
REF | COST ITEM | QUANTITY TAKEOFF | [8 empty] | EXTENSION | 10% WASTAGE ALLOWANCE | QTY | UOM | LABOUR COST |  |  |  |  | LABOUR TOTAL | UNIT COST
|  | FACTOR | Value 1 | Value 2 | Cummulative Length | TOTAL LENGTH (m) | Cummulative Width | TOTAL AREA (m²) | Cummulative Height | TOTAL VOL. (m³) |  |  |  |  | Resources | M/hours | H/Rate | Ext. | KPF 7.5%
| Project ID: | C-Grade MFE |  |  |  |  | Project No. | 180203
| Prepared: | L.Iuta |  |  |  |  | Issue Date: | 2018-11-16 | YY/MM/DD
| Checked: | K.Tokaia |  |  |  |  | Issue Status: | Preliminary
1 | GENERAL REQUIREMENTS
1.01 | Allow for heavy plants and equipments | [11 empty] | 1 | PS | [6 empty] | 0
1.02 | Allow for basic tools | [11 empty] | 1 | PC | [6 empty] | 0
1.03 | Allow for OHS requirements | [11 empty] | 1 | PS | [6 empty] | 0
1.04 | Allow for permits | [11 empty] | 1 | PC | [6 empty] | 0
1.05 | Allow for site security services | [11 empty] | 1 | PS | [6 empty] | 0
| TOTAL TO SUMMARY | [19 empty] | 0
2 | PRELIMINARIES
2.01 | Allow for LMD surveys | [11 empty] | 1 | PS | [6 empty] | 0
2.02 | Allow for site hoarding and access | [11 empty] | 1 | PS | [6 empty] | 0
2.03 | Allow for temporary services | [11 empty] | 1 | PS | [6 empty] | 0
2.04 | Allow for site clearance | [11 empty] | 1 | PS | [6 empty] | 0
| TOTAL TO SUMMARY | [19 empty] | 0
3 | BOUNDARY WORKS
3.01 | Fencing post at least every 3 metres | [9 empty] | 0 |  | 0 | m
| 50mm Galv. pipes in posts | [9 empty] | 0 | 0 | 0 | Length(s) | [6 empty] | 0
| 50mm Galv. pipes in bracings | [9 empty] | 0 | 0 | 0 | Length(s) | [6 empty] | 0
3.02 | Fence siding and straining | [9 empty] | 0 |  | 0 | m
| 3' Chainlink fencing | [9 empty] | 0 | 0 | 0 | Rolls | [6 empty] | 0
| 3mm Galv. Straining wire | [9 empty] | 0 | 0 | 0 | Rolls | [6 empty] | 0
3.03 | 25MPa Conc. in columns | [9 empty] | 0 |  | 0 | m³
| 40kg Cement | [9 empty] | 0 | 0 | 0 | Bags | [6 empty] | 0
| Aggregate | [9 empty] | 0 | 0 | 0 | m³ | [6 empty] | 0
| Sand | [9 empty] | 0 | 0 | 0 | m³ | [6 empty] | 0
| TOTAL TO SUMMARY | [19 empty] | 0
4 | GROUNDWORKS
4.01 | Strutting in excavation wall supports | [9 empty] | 0 |  | 0 | m
| 50x50 Non-structural pine |  |  |  |  | 60 |  |  |  |  | 10.3448 | 1.0345 | 11.3793 | Length(s) | [6 empty] | 0
4.02 | Siding in excavation wall supports | [9 empty] | 0 |  | 0 | m²
| 20mm Formply |  | 46 |  |  |  | 0.5 | 23 |  |  | 7.9861 | 0.79861 | 8.7847 | Sheet | [6 empty] | 0
4.03 | Profiling and general support | [9 empty] | 0 |  | 0 | m
| 50x50 Non-structural pine |  | 46 | 2 |  | 92 | 62 |  | 154 |  | 26.5517 | 2.6552 | 29.2069 | Length(s) | [6 empty] | 0
| 100x25 Non-structural pine |  | 46 | [7 empty] | 7.931 | 0.7931 | 8.7241 | Length(s) | [6 empty] | 0
4.04 | Backfill to excavations | [9 empty] | 0 |  | 0 | m³
| Sand | [9 empty] | 6 | 0.6 | 6.6 | m³ | [6 empty] | 0 | Done
| TOTAL TO SUMMARY | [19 empty] | 0
5 | CONCRETE WORKS
5.01 | 25MPa Conc. in raft edgebeam footings | 1 | 42 |  |  | 42 | 0.5 | 21 | 0.4 | 8.4 | 8.4 |  | 8.4 | m³
| 40kg Cement | [9 empty] | 67.2 | 6.72 | 73.92 | Bags | [6 empty] | 0
| Aggregate | [9 empty] | 2.9417 | 0.29417 | 3.2358 | m³ | [6 empty] | 0
| Sand | [9 empty] | 2.625 | 0.2625 | 2.8875 | m³ | [6 empty] | 0
5.02 | 25MPa Conc. in raft thickening footings | 1 | 29 |  |  | 29 | 0.3 | 8.7 | 0.4 | 3.48 | 3.48 |  | 3.48 | m³
| 40kg Cement | [9 empty] | 27.84 | 2.784 | 30.624 | Bags | [6 empty] | 0
| Aggregate | [9 empty] | 10.7245 | 1.0725 | 11.797 | m³ | [6 empty] | 0
| Sand | [9 empty] | 3.6866 | 0.36866 | 4.0552 | m³ | [6 empty] | 0
5.03 | 25MPa Conc. in floor slabs | 1 |  |  |  | 14 | 8 | 112 | 0.1 | 11.2 | 11.2 |  | 11.2 | m³
| 40kg Cement | [9 empty] | 89.6 | 8.96 | 98.56 | Bags | [6 empty] | 0
| Aggregate | [9 empty] | 3.9222 | 0.39222 | 4.3145 | m³ | [6 empty] | 0
| Sand | [9 empty] | 3.5 | 0.35 | 3.85 | m³ | [6 empty] | 0
5.04 | 25MPa Conc. in External wall | 1 | 37 |  |  | 37 | 0.1 | 3.7 | 3.2 | 11.84 | 11.84 |  | 11.84 | m³
| 40kg Cement | [9 empty] | 94.72 | 9.472 | 104.192 | Bags | [6 empty] | 0
| Aggregate | [9 empty] | 4.1464 | 0.41464 | 4.561 | m³ | [6 empty] | 0
| Sand | [9 empty] | 3.7 | 0.37 | 4.07 | m³ | [6 empty] | 0
5.05 | 25MPa Conc. In Internal walls |  | 29 |  |  | 29 | 0.1 | 2.9 | 3.2 | 9.28 | 9.28 |  | 9.28 | m³
| 40kg Cement | [9 empty] | 74.24 | 7.424 | 81.664 | Bags
| Aggregate | [9 empty] | 3.2499 | 0.32499 | 3.5748 | m³
| Sand | [9 empty] | 2.9 | 0.29 | 3.19 | m³
5.06 | Cement-sand plaster in rendered brickwalls |  | 423 |  |  | 423 | 0.005 | 2.115 |  | 2.115 | 2.115 |  | 2.115 | m²
| 40kg Cement | [9 empty] | 16.92 | 1.692 | 18.612 | Bags
| Sand | [9 empty] | 0.66094 | 0.066094 | 0.72703 | m³
5.07 | Damp-proofing membrane
| Gauge 75 Fortecon Sheet or equivalent 20m/ROLL | [9 empty] | 6 |  | 6 | Rolls | [6 empty] | 0
| Polyethene | [9 empty] | 6 |  | 6 | Rolls
5.08 | Base and Floor of Tank Stand | 2 | 2.2 |  |  | 4.4 | 2.2 | 9.68 | 0.15 |  | 1.452 | 0.1452 | 1.5972 | m³
| 40kg Cement | [9 empty] | 15.972 | 1.5972 | 17.5692 | Bags
| Aggregate | [9 empty] | 0.55934 | 0.055934 | 0.61527 | m³
| Sand | [9 empty] | 0.49913 | 0.049913 | 0.54904 | m³
6 | STEELWORKS
6.01 | ØD12mm reinforcing in 25MPa conc. raft edgebeam footings | 4 | 42 |  |  | 168 |  |  |  |  | 672 |  | 672 | m
| Ø12mm Deformed rebars | [9 empty] | 115.8621 | 11.5862 | 127.4483 | Length(s)
6.02 | ØD12mm reinforcing in 25MPa conc. raft thickening footings | 4 | 32 |  |  | 128 |  |  |  |  | 128 |  | 128 | m
| Ø12mm Deformed rebars | [9 empty] | 22.069 | 2.2069 | 24.2759 | Length(s)
6.03 | ØD12mm reinforcing in 25MPa conc. Starter bars | 66 | 0.8 |  |  | 90 | 5 |  |  |  | 450 |  | 450 | m
| Ø12mm Deformed rebars | [9 empty] | 77.5862 | 7.7586 | 85.3448 | Length(s)
6.04 | ØR6mm reinforcing in 25MPa conc. raft edgebeam footings | 42 | 0.3 |  |  | 140 | 1.5 |  |  |  | 210 |  | 210 | m
| Ø6mm Round stirrup rebars | [9 empty] | 36.2069 | 3.6207 | 39.8276 | Length(s)
Done
6.05 | ØR6mm reinforcing in 25MPa conc. raft thickening footings | 32 | 0.3 |  |  | 106.6667 | 1.5 |  |  |  | 160 |  | 160 | m
| Ø6mm Round stirrup rebars | [9 empty] | 27.5862 | 2.7586 | 30.3448 | Length(s)
Done
6.06 | Tie wire | 10 | [8 empty] | 10 |  | 10 | Kg
| Galv. Tie wire | [11 empty] | 10 | Kg
Done
6.07 | WIRE MESH SL102 ‐ 4.65mtr x 1.97mtr/sht
| Floor | 1 | 14 |  |  | 14 | 8 |  |  |  | 112 | 11.2 | 123.2 | m²
| Wall | 1 | 70 |  |  | 70 | 3.2 |  |  |  | 224 | 22.4 | 246.4 | m²
| Total to Summary | [11 empty] | 369.6 | m²
7 | BRICKWORK
7.01 | 8' Concrete blocks
| Tank Stand | 2 | 2 |  |  | 4 |  |  | 2.2 |  | 8.8 | 0.88 | 9.68 | m²
7.02 | 6' Concrete blocks
7.03 | 4' Concrete blocks
8 | TIMBERWORKS
8.01 | RS 300x50 H3 Treated Pine timber | [9 empty] | 0 |  | 0 | m
| 1st Floor Bearers | [9 empty] | 0 | 0 | 0 | m
Done
8.02 | DAS 295x45 H3 Treated Dakua timber | [9 empty] | 0 |  | 0 | m
| Stringers | [9 empty] | 0 | 0 | 0 | m
Done
8.03 | DAS 265x45 H3 Treated Dakua timber | [9 empty] | 0 |  | 0 | m
| Stair | [9 empty] | 0 | 0 | 0 | m
Done
8.04 | RS 200x25 H3 Treated Pine timber | [9 empty] | 0 |  | 0 | m
| Ridge beam | [9 empty] | 0 | 0 | 0 | m
| Fascia board | 2 | [8 empty] | 0 | 0 | 6 | m
Done
8.01 | DAS 95X45 H3 Treated Pine timber | [9 empty] | 0 |  | 0 | m
| Truss | 11 | 8090 | 6200 | 10800 | 275990 |  |  |  |  | 0 | 4.5998 | 45.9983 | m
Done
8.06 | RS 125x45 H3 Treated Pine timber | [9 empty] | 0 |  | 0
| Blocking timber | [9 empty] | 0 | 0 | 0 | m
Done
8.07 | DAS 100x100 H3 Treated Pine timber | [9 empty] | 0 |  | 0 | m
| Post | [9 empty] | 0 | 0 | 0 | m
Done
8.02 | RS 100x50 H3 Treated Pine timber | [9 empty] | 0 |  | 0 | m
| Top plates | 2 | 11500 | 6200 |  | 35400 |  |  |  |  | 0 | 0.59 | 5.9 | m
Done
8.03 | DAS 95x45 H3 Treated Pine timber | [9 empty] | 0 |  | 0 | m
| All door and window frames | 7 | 4545 | 1200 |  | 40215 |  |  |  |  | 0 | 1 | 6.7025 | m
|  | 1 | 1200 | 3705 |  | 4905 | [5 empty] | 1 | 0.8175
|  | 2 | 5595 | 3600 |  | 18390 | [5 empty] | 1 | 3.065
|  | 1 | 5595 | 5400 |  | 10995 | [5 empty] | 1 | 1.8325
|  | 2 | 1910 | 1200 |  | 6220 | [5 empty] | 1 | 1.0367
8.04 | DAS 145X45 H3 Treated Pine timber Window cill |  | 11700 | 1900 | 2110 | 15710 | [5 empty] | 1 | 2.6183
Door |  | 5 | 4200 | 900 |  | 25500 | [6 empty] | 4.25
|  | 2 | 4200 | 751 |  | 9902 | [6 empty] | 1.6503
8.05 | RS 50x50 H3 Treated Pine timber | [12 empty] | m
| Noggin | 10 | 1145 | 10 | 10080 | 114500 | 100800 | 19.0833 |  |  | 16.8 | 3.5883 | 35.8833
| Purlin | 10 | 12100 | 87450 |  | 208450 |  |  |  |  | 0 | 3.4742 | 34.7417 | Length(s)
Done
8.06 | DAS 40x20 Dakua | [9 empty] | 0 |  | 0 | m
| Bird pattern | 36 | 11500 |  |  | 414000 |  |  |  |  | 0 | 6.9 | 69 | Length(s)
Done
8.07 | DAS 40x10 Dakua | [9 empty] | 0 |  | 0 | m
| Scotia | [9 empty] | 0 | 0 | 30 | Length(s)
Done
9 | BOARDS
9.01 | Hardboard/Masonite | [9 empty] | 0 |  | 0 | m²
| Ceiling | 2.88 | 11.5 | 6.1 |  |  |  | 70.15 |  |  | 0 | 2.4358 | 24.3576 | Sheet
| Flush doors | [9 empty] | 0 | 0 | 14 | Sheet
Done
9.02 | 8 mm Marine Ply | [9 empty] | 0 |  | 0 | m²
| 1st Floor Sheet | [9 empty] | 0 | 0 | 2 | Sheet
10 | FLOOR WORKS
10.01 | 300x300 Vinyl tile | [9 empty] | 0 |  | 0 | m²
| Ground floor | 0.09 | 11.5 | 6.1 |  |  |  | 70.15 | 779.4444 |  | 0 | 1.7321 | 17.321 | Unit
Done
10.02 | Tile O Fix | [9 empty] | 0 |  | 0 | Unit
Done | Ground floor adhesive | [9 empty] | 0 |  | 8 | Unit
10.03 | Polyurethane Clear 4L | [9 empty] | 0 |  | 0 | m²
| 1st Floor coating | [9 empty] | 0 |  | 0 | Unit
Done
10.04 | Turbinetine 20L | [9 empty] | 0 |  | 4 | Unit
[13 empty] | 4 | Unit
Done
10.05 | 100mm Hand brush | [9 empty] | 0 |  | 10 | Nos
[13 empty] | 10 | Nos
Done
10.06 | 300x300 Quarry tile | [9 empty] | 0 |  | 0 | m²
| Toilet floor | 2 | 3.8475 | 0.09 |  |  |  | 7.695 | 85.5 |  | 0 |  | 3.1667 | Unit
Done
10.07 | 150x150 Wall tile | [9 empty] | 0 |  | 0 | m²
| Wall tile | 4 | 1.92 | 3.36 | 0.0225 |  |  | 21.12 | 938.6667 |  | 0 |  | 21.3333 | Unit
Done
10.08 | 20kg CTA | [9 empty] | 0 |  |  | Bags
[13 empty] | 15 | Bags
Done
10.09 | 20kg Grout (White) | [9 empty] | 0 |  | 0 | Bags
[13 empty] | 5 | Bags
Done
11 | HARDWARE
11.01 | 100mm Stainless steel Hinges | [9 empty] | 0 |  | 8 | Nos
11.02 | Bright brass Lever lock with BiLock | [9 empty] | 0 |  | 2 | Nos
11.03 | 100mm Barrel bolt | [9 empty] | 0 |  | 8 | Nos
11.04 | 10 blades louver frame | [11 empty] | 14
11.05 | 36" Clear Glass | [9 empty] | 0 |  | 250 | Nos
11.06 | 8 blades louvre frame | [9 empty] | 0 |  | 9 | Nos
11.07 | 6 blades louvre frame | [9 empty] | 0 |  | 2 | Nos
11.08 | 4 blades louvre frame | [9 empty] | 0 |  | 5 | Nos
11.09 | WIRE MESH GALVANISED 228 ‐ 2..4mtr x 1..2mtr/sht ‐ 4mm | [9 empty] | 0 |  | 8 | Sheet
Done
12 | PAINT WORKS |  | LBW | Ceiling | Partitions | Wind & Doors |  |  |  |  | 0 |  |  | m²
12.01 | Primer | 3 | 224.64 | 69.845 | 167.84 | 62.4 | 64 | 1574.175 |  |  | #VALUE! | 2.4596 | 24.5965 | Tin
12.02 | Undercoat | 3 | 224.64 | 69.845 | 167.84 | 62.4 | 64 | 1574.175 |  |  | 0 | 2.4596 | 24.5965 | Unit
12.03 | Semi-gloss | 3 | 224.64 | 69.845 | 167.84 | 62.4 | 64 | 1574.175 |  |  | 0 | 2.4596 | 24.5965 | Unit
12.04 | High-gloss | 2 | 224.64 | 69.845 | 167.84 | 62.4 | 64 | 1049.45 |  |  | 0 | 1.6398 | 16.3977 | Unit
12.05 | 100mm Hand brush | [9 empty] | 0 |  | 8 | Nos
12.05 | Corner brush | [9 empty] | 0 |  | 8 | Nos
12.06 | ROLLER KIT 4 PCS SET OLDFIELD KUPU‐KUPU 230mm [9"] | [9 empty] | 0 |  | 8 | Nos
12.07 | ROLLER SLEEVE ‐ NOOK & FABRIC 100mm [4"] CHINA mouse | [9 empty] | 0 |  | 8 | Nos
Done
13 | PLUMBING WORKS
13.01 | 15' Colourbond Corrugate iron roofing sheet | [12 empty] | m
|  | 2 | 12100 | 800.8 |  | 30.2198 |  |  |  |  | 30.2198 | 3.022 | 30.2198 | Sheet
Done
13.02 | Galv. WIRE NETTING HEX [CHICKEN] 2 x 2" x 6FT [72"] x 2 x 30 | [9 empty] | 0 |  | 0 | m²
[11 empty] | 0 | 0 | 4 | Rolls
Done
13.03 | SISAL F‐STOP 1250mm x 40M (50m²) DOUBLE SIDE ROLL | [9 empty] | 0 |  | 0 | m²
[11 empty] | 0 | 0 | 4 | Rolls
Done
13.04 | Colourbond Ridge cap 2.4mtr | [9 empty] | 0 |  | 0 | m
|  |  | 12100 | 2000 | [6 empty] | 0 | 0.605 | 6.05 | Sheet
Done
13.05 | Colourbond Flashing 2.4mtr | [9 empty] | 0 |  | 0 | m
[11 empty] | 0 | 1 | 10 | Sheet
Done
13.06 | 2.4m Colourbond gutter | [9 empty] | 0 |  | 0 | m
|  | 2 | 12100 | 2000 |  | 12.1 |  |  |  |  | 0 | 1.21 | 12.1 | Sheet
13.07 | 2.4m Colourbond strapping | [9 empty] | 0 |  | 0 | m
|  | 2 | [8 empty] | 0 |  | 40 | Nos
13.08 | 100mm PVC pipe | [9 empty] | 0 |  | 10 | Length(s)
13.09 | 100mm PVC bend 45deg | [9 empty] | 0 |  | 5 | Nos
13.1 | 100mm PVC Inspection opening | [9 empty] | 0 |  | 3 | Nos
13.11 | PVCF DWV CLIP STANDARD PIPE 100mm [141.100] WASTE FITTING | [9 empty] | 0 |  | 8 | Nos
13.12 | 100mm PVC Elbow | [9 empty] | 0 |  | 12 | Nos
13.13 | 100mm PVC Gully trap | [9 empty] | 0 |  | 4 | Nos
13.14 | 100mm PVC Tee | [9 empty] | 0 |  | 12 | Nos
13.15 | 100mm PVC Pan collar | [9 empty] | 0 |  | 2 | Nos
13.16 | 100mm Y-junction | [9 empty] | 0 |  | 4 | Nos
13.17 | 100mm Floor grate | [9 empty] | 0 |  | 10 | Nos
13.18 | 100mm Vent cowl | [9 empty] | 0 |  | 2 | Nos
13.19 | 50mm PVC Pipe | [9 empty] | 0 |  | 12 | Nos
13.2 | 50mm PVC elbow | [9 empty] | 0 |  | 12 | Nos
13.21 | 50mm PVCF DWV Clip standard Pipe 50mm | [9 empty] | 0 |  | 20 | Nos
13.22 | 50mm PVC Tee | [9 empty] | 0 |  | 12 | Nos
13.23 | 100-50mm PVC reducer | [9 empty] | 0 |  | 6 | Nos
13.24 | 50mm S-trap | [9 empty] | 0 |  | 2 | Nos
13.25 | 50mm Plug and Waste | [9 empty] | 0 |  | 8 | Nos
13.26 | 50-40mm Reducer | [9 empty] | 0 |  | 12 | Nos
13.27 | 40mm PVC pipe | [9 empty] | 0 |  | 12 | Length(s)
13.28 | 15mm PVC Pipe | [9 empty] | 0 |  | 12 | Nos
13.29 | 15mm PVC elbow | [9 empty] | 0 |  | 36 | Nos
13.3 | 15mm PVC Male adaptor | [9 empty] | 0 |  | 20 | Nos
13.31 | 15mm PVC Female adaptor | [9 empty] | 0 |  | 20 | Nos
13.32 | 15mm PVCF DWV Clip Standard | [9 empty] | 0 |  | 12 | Nos
13.33 | 15mm PVC union | [9 empty] | 0 |  | 15 | Nos
13.34 | 15mm (HK512) 304 Stainless Steel Swivel Kitchen Basin/Sink Faucet water | [9 empty] | 0 |  | 1 | Nos
13.35 | 15mm PVC Stop valve | [9 empty] | 0 |  | 15 | Nos
13.36 | 15mm F9020101 Pillar cock pressmatic | [9 empty] | 0 |  | 3 | Nos
13.37 | 15mm Brass bib tap | [9 empty] | 0 |  | 8 | Nos
13.38 | 15mm PVC tee | [9 empty] | 0 |  | 20 | Nos
13.39 | P-trap WC complete + Cistern | [9 empty] | 0 |  | 2 | Nos
13.4 | 15mm OSUKI Stainless Steel Shower Set (Head w. steel flexi hose, wall mounting, cock…) | [9 empty] | 0 |  | 1 | Nos
13.41 | Thread tape | [9 empty] | 0 |  | 10 | Nos
13.42 | 1.8m Double sink unit | [9 empty] | 0 |  | 1 | Nos
13.43 | 15mm Tabor 460mm Basin and Semi Pedestal | [9 empty] | 0 |  | 1 | Nos
14 | ELECTRICAL COMPONENTS
14.01 | SUB BOARD 8WAY TSM8 | [9 empty] | 0 |  | 1 | Nos
14.02 | HEM CIRCUIT BREAKER 20A 1POLE 4.5KA (GBL IMEX) | [9 empty] | 0 |  | 2 | Nos
14.03 | HEM CIRCUIT BREAKER 16A 1POLE 4.5KA (GBL IMEX) | [9 empty] | 0 |  | 2 | Nos
14.04 | HEM CIRCUIT BREAKER 10A 1POLE 4.5KA (GBL IMEX) | [9 empty] | 0 |  | 2 | Nos
14.05 | WIRE 6mm 2 CORE + EARTH ORANGE PVC CIRCULAR ELECTRICAL DC | [9 empty] | 0 |  | 1 | m
14.06 | WIRE 1.5mm Flat cable 100m/roll | [9 empty] | 2 |  | 2 | Rolls
14.07 | WIRE 2.5mm Flat cable 100m/roll | [9 empty] | 0 |  | 2 | Rolls
14.08 | Double switch + Mounting | [9 empty] | 0 |  | 10 | Nos
14.09 | Single switch +Mounting | [9 empty] | 0 |  | 10 | Nos
14.1 | TAPE ‐ PVC INSULATING BLACK 18mm x 15yd EACH | [9 empty] | 0 |  | 2 | Nos
14.11 | TAPE ‐ PVC INSULATING GREEN 18mm x 10yrd EACH | [9 empty] | 0 |  | 2 | Nos
14.12 | TAPE ‐ PVC INSULATING RED 18mm x 10yd | [9 empty] | 0 |  | 2 | Nos
14.13 | HEM JUNCTION BOX BIG JB1 & JB2 | [9 empty] | 0 |  | 12 | Nos
14.14 | 15mm PVC Conduit pipe | [9 empty] | 0 |  | 10 | Length(s)
14.15 | 20mm PVC Conduit pipe | [9 empty] | 0 |  | 20 | Length(s)
14.16 | 15mm Galv. Pipe | [9 empty] | 0 |  | 1 | Length(s)
14.17 | HOSE CLAMP 16‐27mm x 12mm NORMA [100PCS/PKT] | [9 empty] | 0 |  | 20 | Nos
14.18 | 25mm PVC Conduit pipe | [9 empty] | 0 |  | 10 | Length(s)
14.19 | Caravan RV Double Pole Dual 240V Power Point with Twin USB Charging with Mounting block | [9 empty] | 0 |  | 10 | Nos
14.2 | Batten holder | [9 empty] | 0 |  | 10 | Nos
14.21 | ELEMENTS ENERGY SAVER BULB SPIRAL 20W DAYLIGHT ‐ 6500K BC ( | [9 empty] | 0 |  | 10 | Nos
14.22 | Earth wire - Green | [9 empty] | 0 |  | 5 | m
15 | FIXINGS AND FASTNERS
15.01 | 100mm Galv. Jolthead nail | [9 empty] | 0 |  | 50 | Kg
15.02 | 75mm Galv. Jolthead nail | [9 empty] | 0 |  | 50 | Kg
15.03 | 50mm Galv. Jolthead nail | [9 empty] | 0 |  | 30 | Kg
15.04 | 40mm Galv. Jolthead nail | [9 empty] | 0 |  | 30 | Kg
15.05 | 40mm Galv. Clout jolthead nail | [9 empty] | 0 |  | 15 | Kg
15.06 | NAIL JOLT HEAD GALVANIZED PANEL PIN 25mm [1"] x 1.60mm x 1.0k | [9 empty] | 0 |  | 15 | Kg
15.07 | ROOFING SCREW CORRUDEK TO TIMBER CYCLONE | [9 empty] | 0 |  | 5 | Kg
15.08 | BOLT & NUT MILD STEEL HEXAGON HEAD GALVANISED 12mm | [9 empty] | 0 |  | 40 | Nos
15.09 | Knuckle nailplates 76mmx317mm 10m/roll | [9 empty] | 0 |  | 1 | Rolls
15.1 | Maxi strap | [9 empty] | 0 |  | 0 | Rolls
15.11 | Tim-con brackets | [9 empty] | 0 |  | 0 | Nos
15.12 | Nail on joint hangers | [9 empty] | 0 |  | 0 | Nos
15.13 | Pop rivet | [9 empty] | 0 |  | 1 | Kg
15.14 | Silicon 750ml | [9 empty] | 0 |  | 10 | Nos
15.15 | Gap filler 475ml | [9 empty] | 0 |  | 42 | Nos
15.16 | Wood putty | [9 empty] | 0 |  | 4 | Kg
15.17 | Sand paper P-60 50m/Roll | [9 empty] | 0 |  | 1 | Rolls
15.18 | Sand paper P-120 50m/Roll | [9 empty] | 0 |  | 1 | Rolls
15.19 | 4" Batten screws | [11 empty] | 5 | kg
16 | OTHERS
16.01 | Well for fresh water | [9 empty] | 0 |  | 0 | Nos
16.02 | 5000L Water tank | [9 empty] | 0 |  | 2 | Nos

## Pricing List for Tender
KIRIBATI HOUSING CORPORATION | [6 empty] | BILL OF QUANTITY
DEVELOPMENT DEPARTMENT
Ref: | C-Grade MFE | Project No:
Prepared: | TSO | Issue Date: |  |  |  |  | 210622
Checked: | DM | Issue Status: |  |  |  |  | FINAL
REF |  | QTY | NO OF HSE | NEW QTY | UOM | U/PRICE | TOTAL
1 | GENERAL REQUIREMENTS
1.01 | Allow for heavy plants and equipments | 1 | 4 | 4 | PS | 0 | 0
1.02 | Allow for basic tools | 1 | 4 | 4 | PC | 0 | 0
1.03 | Allow for OHS requirements | 1 | 4 | 4 | PS | 0 | 0
1.04 | Allow for permits | 1 | 4 | 4 | PC | 0 | 0
1.05 | Allow for site security services | 1 | 4 | 4 | PS | 0 | 0
0
0 | TOTAL TO SUMMARY
0
2 | PRELIMINARIES
2.01 | Allow for LMD surveys | 1 | 4 | 4 | PS | 0 | 0
2.02 | Allow for site hoarding and access | 1 | 4 | 4 | PS | 0 | 0
2.03 | Allow for temporary services | 1 | 4 | 4 | PS | 0 | 0
2.04 | Allow for site clearance | 1 | 4 | 4 | PS | 0 | 0
0
0 | TOTAL TO SUMMARY
0
3 | BOUNDARY WORKS
3.01 | Fencing post at least every 3 metres | 0 |  |  | m
0 | 50mm Galv. pipes in posts | 20 | 4 | 80 | Length(s)
0 | 50mm Galv. pipes in bracings | 6 | 4 | 24 | Length(s)
3.02 | Fence siding and straining | 0 |  |  | m
0 | 3' Chainlink fencing | 10 | 4 | 40 | Rolls
0 | 3mm Galv. Straining wire | 5 | 4 | 20 | Rolls
3.03 | 25MPa Conc. in columns | 0 |  |  | m³
0 | 40kg Cement | 20 | 4 | 80 | Bags
0 | Aggregate | 5 | 4 | 20 | m³
0 | Sand | 5 | 4 | 20 | m³
0
0 | TOTAL TO SUMMARY
4 | GROUNDWORKS
4.01 | Strutting in excavation wall supports | 0 |  |  | m
0 | 50x50 Non-structural pine | 11 | 4 | 44 | Length(s)
4.02 | Siding in excavation wall supports | 0 |  |  | m²
0 | 20mm Formply | 9 | 4 | 36 | Sheet
4.03 | Profiling and general support | 0 |  |  | m
0 | 50x50 Non-structural pine | 29 | 4 | 116 | Length(s)
0 | 100x25 Non-structural pine | 9 | 4 | 36 | Length(s)
4.04 | Backfill to excavations | 0 |  |  | m³
0 | Sand | 20 | 4 | 80 | m³
TOTAL TO SUMMARY
5 | CONCRETE WORKS
5.01 | 25MPa Conc. in raft edgebeam footings | 8 | 4 |  | m³
0 | 40kg Cement | 74 | 4 | 296 | Bags
0 | Aggregate | 18 | 4 | 72 | m³
0 | Sand | 12 | 4 | 48 | m³
5.02 | 25MPa Conc. in raft thickening footings | 3 | 4 |  | m³
0 | 40kg Cement | 31 | 4 | 124 | Bags
0 | Aggregate | 12 | 4 | 48 | m³
0 | Sand | 8 | 4 | 32 | m³
5.03 | 25MPa Conc. in floor slabs | 11 | 4 |  | m³
0 | 40kg Cement | 99 | 4 | 396 | Bags
0 | Aggregate | 12 | 4 | 48 | m³
0 | Sand | 8 | 4 | 32 | m³
5.04 | 25MPa Conc. in External wall | 12 | 4 |  | m³
0 | 40kg Cement | 104 | 4 | 416 | Bags
0 | Aggregate | 50 | 4 | 200 | m³
0 | Sand | 42 | 4 | 168 | m³
5.05 | 25MPa Conc. In Internal walls | 9.28 |  |  | m³
| 40kg Cement | 82 | 4 | 328 | Bags
| Aggregate | 50 | 4 | 200 | m³
| Sand | 42 | 4 | 168 | m³
5.06 | Cement-sand plaster in rendered brickwalls | 2.115 |  |  | m²
| 40kg Cement | 19 | 4 | 76 | Bags
| Sand | 5 | 4 | 20 | m³
5.07 | Damp-proofing membrane
0 | Gauge 75 Fortecon Sheet or equivalent 20m/ROLL | 6 | 4 | 24 | Rolls
| Polyethene | 6 | 4 | 24 | Rolls
5.08 | Base and Floor of Tank Stand | 1.5972 |  |  | m³
| 40kg Cement | 18 | 4 | 72 | Bags
| Aggregate | 1 | 4 | 4 | m³
| Sand | 1 | 4 | 4 | m³
Total Concrete Mixture
| 40Kg Cement |  |  | 1788
| Aggregate |  |  | 592
| Sand |  |  | 572
6 | STEELWORKS
6.01 | ØD12mm reinforcing in 25MPa conc. raft edgebeam footings | 672 |  |  | m
0 | Ø12mm Deformed rebars | 127 | 4 | 508 | Length(s)
0
6.02 | ØD12mm reinforcing in 25MPa conc. raft thickening footings | 128 |  |  | m
0 | Ø12mm Deformed rebars | 24 | 4 | 96 | Length(s)
0
6.03 | ØD12mm reinforcing in 25MPa conc. Starter bars | 450 |  |  | m
0 | Ø12mm Deformed rebars | 85 | 4 | 340 | Length(s)
6.04 | ØR6mm reinforcing in 25MPa conc. raft edgebeam footings | 210 |  |  | m
0 | Ø6mm Round stirrup rebars | 40 | 4 | 160 | Length(s)
6.05 | ØR6mm reinforcing in 25MPa conc. raft thickening footings | 160 |  |  | m
0 | Ø6mm Round stirrup rebars | 30 | 4 | 120 | Length(s)
6.06 | Tie wire
0 | Galv. Tie wire | 10 | 4 | 40 | Kg
6.07 | WIRE MESH SL102 ‐ 4.65mtr x 1.97mtr/sht | 369.6 |  |  | m²
| WIRE MESH SL102 ‐ 4.65mtr x 1.97mtr/sht | 40 | 4 | 160 | Sheets
TOTAL TO SUMMARY
7 | BRICKWORK | 9.68 |  |  | m²
| 8' Concrete blocks | 161 | 4 | 644 | Nos
TOTAL TO SUMMARY
8 | TIMBERWORKS
8.01 | RS 300x50 H3 Treated Pine timber | 0 |  |  | m
| 1st Floor bearers | 0 |  |  | Length
8.02 | DAS 295x45 H3 Treated Dakua timber | 0 |  |  | m
| Stringers | 0 |  |  | m
8.03 | DAS 265x45 H3 Treated Dakua timber | 0 |  |  | m
| Stair | 0 |  |  | Length
8.04 | RS 200x25 H3 Treated Pine timber | 0 |  |  | m
|  | 0 |  |  | Length
8.01 | DAS 95X45 H3 Treated Pine timber | 0 |  |  | m
| Truss | 46 | 4 | 184 | Length
8.06 | RS 125x45 H3 Treated Pine timber | 0 |  |  | m
| Blocking timber | 0 |  |  | Length
8.07 | DAS 100x100 H3 Treated Pine timber | 0 |  |  | m
| Post | 0 |  |  | Length
8.02 | RS 100x50 H3 Treated Pine timber | 0 |  |  | m
| Top plates | 6 | 4 | 24 | Length
8.03 | DAS 95x45 H3 Treated Pine timber | 0 |  |  | m
| All door and window frames | 24.3545 | 4 | 97.418 | Length
8.04 | DAS 145X45 H3 Treated Pine Timber Cill | 3.6183 | 4 | 14.4733 | Length(s)
8.05 | RS 50x50 H3 Treated Pine timber | 0 |  |  | m
| Noggin | 48 | 4 | 192 | Length(s)
| Purlin | 42 | 4 | 168 | Length(s)
8.06 | DAS 40x20 Dakua | 0 |  |  | m
|  | 69 | 4 | 276 | Length
8.07 | Quarter-round Finish Moulding 6m | 0 |  |  | m
| Cornice | 30 | 4 | 120 | Length
TOTAL TO SUMMARY
9 | BOARDS
9.01 | Hardboard/Masonite | 0 |  |  | m²
0 | Ceiling | 24 | 4 | 96 | Sheet
Done
9.02 | 8 mm Marine Ply | 0 |  |  | m²
0 | 1st Floor Sheet | 2 | 4 | 8 | Sheet
0
10 | FLOOR WORKS
10.01 | 300x300 Vinyl tile | 0 |  |  | m²
0 |  | 25 | 4 | 100 | Boxes
10.02 | Tile O Fix | 0 |  |  | Unit
|  | 6 | 4 | 24 | Unit
10.03 | Polyurethane Clear 4L | 0 |  |  | m²
| 1st Floor coating | 0 | 4 | 0 | tin
10.04 | Turbinetine 20L | 2 | 4 | 8 | Nos
10.05 | 100mm Hand brush | 10 | 4 | 40 | Nos
10.06 | 300x300 Quarry tile | 3 | 4 | 12 | Ctn
10.07 | 150x150 Wall tile | 21 | 4 | 84 | Ctn
10.08 | 20kg CTA | 12 | 4 | 48 | Bags
10.09 | 20kg Grout (White) | 5 | 4 | 20 | Bags
TOTAL TO SUMMARY
11 | HARDWARE
11.01 | 100mm Stainless steel Hinges | 7 | 4 | 28 | Nos
0
11.02 | Bright brass Lever lock with BiLock | 2 | 4 | 8 | Nos
0
11.03 | 100mm Barrel bolt | 8 | 4 | 32 | Nos
0
11.05 | 36" Clear Glass | 250 | 4 | 1000 | Nos
11.05 | 10 blade louver frame | 14 | 4 | 56 | Nos
0
11.06 | 8 blades louvre frame | 9 | 4 | 36 | Nos
0
11.07 | 6 blades louvre frame | 2 | 4 | 8 | Nos
0
11.08 | 4 blades louvre frame | 5 | 4 | 20 | Nos
11.09 | WIRE MESH GALVANISED 228 ‐ 2..4mtr x 1..2mtr/sht ‐ 4mm | 8 | 4 | 32 | Sheet
TOTAL TO SUMMARY
Done
12 | PAINT WORKS | 0 |  |  | m²
12.01 | Primer | 4 | 4 | 16 | Tin
12.02 | Undercoat | 24.5965 | 4 | 98.3859 | Unit
12.03 | Semi-gloss | 24.5965 | 4 | 98.3859 | Unit
12.04 | High-gloss | 16.3977 | 4 | 65.5906 | Unit
12.05 | 100mm Hand brush | 8 | 4 | 32 | Nos
12.05 | Corner brush | 8 | 4 | 32 | Nos
12.06 | ROLLER KIT 4 PCS SET OLDFIELD KUPU‐KUPU 230mm [9"] | 8 | 4 | 32 | Nos
12.07 | ROLLER SLEEVE ‐ NOOK & FABRIC 100mm [4"] CHINA mouse | 8 | 4 | 32 | Nos
TOTAL TO SUMMARY
Done
13 | PLUMBING WORKS | 0 |  |  | m
13.01 | 15' Colourbond Corrugate iron roofing sheet | 40 | 4 | 160 | Sheet
Done
13.02 | Galv. WIRE NETTING HEX [CHICKEN] 2 x 2" x 6FT [72"] x 2 x 30 | 0 |  |  | m²
0 |  | 4 | 4 | 16 | Rolls
Done
13.03 | SISAL F‐STOP 1250mm x 40M (50m²) DOUBLE SIDE ROLL | 0 |  |  | m²
0 |  | 4 | 4 | 16 | Rolls
Done
13.04 | Colourbond Ridge cap 2.4mtr | 0 |  |  | m
0 |  | 6 | 4 | 24 | Sheet
Done
13.05 | Barge-cover Colourbond Flashing (to match roofing sheet colour) | 0 |  |  | m
0 |  | 18 | 4 | 72 | Sheet
Done
13.06 | 2.4m Guttering - Colourbond (to match roofing sheet colour) | 0 |  |  | m
0 |  | 12 | 4 | 48 | Sheet
0
13.07 | 2.4m Colourbond strapping | 0 |  |  | m
0 |  | 28 | 4 | 112 | Nos
0
13.08 | 100mm PVC pipe | 10 | 4 | 40 | Length(s)
13.09 | 100mm PVC bend 45deg | 5 | 4 | 20 | Nos
13.1 | 100mm PVC Inspection opening | 3 | 4 | 12 | Nos
13.11 | PVCF DWV CLIP STANDARD PIPE 100mm [141.100] WASTE FITTING | 10 | 4 | 40 | Nos
13.12 | 100mm PVC Elbow | 5 | 4 | 20 | Nos
13.13 | 100mm PVC Gully trap | 3 | 4 | 12 | Nos
13.14 | 100mm PVC Tee | 10 | 4 | 40 | Nos
13.15 | 100mm PVC Pan collar | 12 | 4 | 48 | Nos
13.16 | 100mm Y-junction | 2 | 4 | 8 | Nos
13.17 | 100mm Floor grate | 1 | 4 | 4 | Nos
13.18 | 100mm Vent cowl | 1 | 4 | 4 | Nos
13.19 | 50mm PVC Pipe | 5 | 4 | 20 | Nos
13.2 | 50mm PVC elbow | 10 | 4 | 40 | Nos
13.21 | 50mm PVCF DWV Clip standard Pipe 50mm | 10 | 4 | 40 | Nos
13.22 | 50mm PVC Tee | 12 | 4 | 48 | Nos
13.23 | 100-50mm PVC reducer | 6 | 4 | 24 | Nos
13.24 | 50mm S-trap | 20 | 4 | 80 | Nos
13.25 | 50mm Plug and Waste | 6 | 4 | 24 | Nos
13.26 | 50-40mm Reducer | 6 | 4 | 24 | Nos
13.27 | 40mm PVC pipe | 2 | 4 | 8 | Length
13.28 | 15mm PVC Pipe | 8 | 4 | 32 | Nos
13.29 | 15mm PVC elbow | 20 | 4 | 80 | Nos
13.3 | 15mm PVC Male adaptor | 12 | 4 | 48 | Nos
13.31 | 15mm PVC Female adaptor | 12 | 4 | 48 | Nos
13.32 | 15mm PVCF DWV Clip Standard | 20 | 4 | 80 | Nos
13.33 | 15mm PVC union | 5 | 4 | 20 | Nos
13.34 | 15mm (HK512) 304 Stainless Steel Swivel Kitchen Basin/Sink Faucet water | 1 | 4 | 4 | Nos
13.35 | 15mm PVC Stop valve | 12 | 4 | 48 | Nos
13.36 | 15mm F9020101 Pillar cock pressmatic | 3 | 4 | 12 | Nos
13.37 | 15mm Brass bib tap | 1 | 4 | 4 | Nos
13.38 | 15mm PVC tee | 15 | 4 | 60 | Nos
13.39 | P-trap WC complete + Cistern | 1 | 4 | 4 | Nos
13.4 | 15mm OSUKI Stainless Steel Shower Set (Head w. steel flexi hose, wall mounting, cock…) | 1 | 4 | 4 | Nos
13.41 | Thread tape | 10 | 4 | 40 | Nos
13.4 | 1.8m Double Sink unit | 1 | 4 | 4 | Nos
13.43 | Tabor 460mm Basin and Semi Pedestal | 1 | 4 | 4 | Nos
TOTAL TO SUMMARY
0
14 | ELECTRICAL COMPONENTS
14.01 | SUB BOARD 8WAY TSM8 | 1 | 4 | 4 | Nos
14.02 | HEM CIRCUIT BREAKER 20A 1POLE 4.5KA (GBL IMEX) | 1 | 4 | 4 | Nos
14.03 | HEM CIRCUIT BREAKER 16A 1POLE 4.5KA (GBL IMEX) | 2 | 4 | 8 | Nos
14.04 | HEM CIRCUIT BREAKER 10A 1POLE 4.5KA (GBL IMEX) | 1 | 4 | 4 | Nos
14.05 | Single phase 30mA RCD | 2 | 4 | 8 | Nos
14.05 | WIRE 6mm 2 CORE + EARTH ORANGE PVC CIRCULAR ELECTRICAL DC | 30 | 4 | 120 | m
14.06 | WIRE 1.5mm Flat cable 100m/roll | 1 | 4 | 4 | Rolls
14.07 | WIRE 2.5mm Flat cable 100m/roll | 1 | 4 | 4 | Rolls
14.08 | Double switch + Mounting | 2 | 4 | 8 | Nos
14.09 | Single switch +Mounting | 8 | 4 | 32 | Nos
14.1 | TAPE ‐ PVC INSULATING BLACK 18mm x 15yd EACH | 2 | 4 | 8 | Nos
14.11 | TAPE ‐ PVC INSULATING GREEN 18mm x 10yrd EACH | 2 | 4 | 8 | Nos
14.12 | TAPE ‐ PVC INSULATING RED 18mm x 10yd | 2 | 4 | 8 | Nos
14.13 | HEM JUNCTION BOX BIG JB1 & JB2 | 6 | 4 | 24 | Nos
14.14 | 15mm PVC Conduit pipe | 10 | 4 | 40 | Length(s)
14.15 | 20mm PVC Conduit pipe | 20 | 4 | 80 | Length(s)
14.16 | 15mm Galv. Pipe | 1 | 4 | 4 | Length(s)
14.17 | HOSE CLAMP 16‐27mm x 12mm NORMA [100PCS/PKT] | 1 | 4 | 4 | Nos
14.18 | 25mm PVC Conduit pipe | 10 | 4 | 40 | Length(s)
14.19 | Caravan RV Double Pole Dual 240V Power Point with Twin USB Charging with Mounting block | 10 | 4 | 40 | Nos
14.2 | Batten holder | 10 | 4 | 40 | Nos
14.21 | ELEMENTS ENERGY SAVER BULB SPIRAL 20W DAYLIGHT ‐ 6500K BC ( | 10 | 4 | 40 | m
0
14.22 | Earth wire - Green | 10 | 4 | 40 | m
TOTAL TO SUMMARY
0
15 | FIXINGS AND FASTNERS
15.01 | 100mm Galv. Jolthead nail | 25 | 4 | 100 | Kg
15.02 | 75mm Galv. Jolthead nail | 25 | 4 | 100 | Kg
15.03 | 50mm Galv. Jolthead nail | 10 | 4 | 40 | Kg
15.04 | 40mm Galv. Jolthead nail | 10 | 4 | 40 | Kg
15.05 | 40mm Galv. Clout jolthead nail | 10 | 4 | 40 | Kg
15.06 | NAIL JOLT HEAD GALVANIZED PANEL PIN 25mm [1"] x 1.60mm x 1.0k | 5 | 4 | 20 | Kg
15.07 | ROOFING SCREW CORRUDEK TO TIMBER CYCLONE | 5 | 4 | 20 | Kg
15.08 | BOLT & NUT MILD STEEL HEXAGON HEAD GALVANISED 12mm | 32 | 4 | 128 | Nos
15.09 | Knuckle nailplates 76mmx317mm 10m/roll | 1 | 4 | 4 | Rolls
15.1 | Maxi strap | 2 | 4 | 8 | Rolls
15.13 | POP Rivet | 10 | 4 | 40 | kg
15.14 | Silicon 750ml | 10 | 4 | 40 | Nos
15.15 | Gap filler 475ml | 40 | 4 | 160 | Nos
15.16 | Wood putty | 10 | 4 | 40 | kg
15.17 | Sand paper P-60 50m/roll | 1 | 4 | 4 | Roll
15.18 | Sand paper P-120 50m/roll | 1 | 4 | 4 | Roll
15.19 | 4" Batten screws | 25 | 4 | 100 | kg
Total material cost

## Bill of Material
KIRIBATI HOUSING CORPORATION |  |  |  |  | Bill of Material
DEVELOPMENT DEPARTMENT
"Where quality and standard merge"
Ref: | C-Grade MFE | Project No: |  |  | 180203
Prepared: | L.Iuta | Issue Date: |  |  | 2019-03-06
Checked: | K.Tokaia | Issue Status: |  |  | Preliminary
REF |  | QTY | UOM | U/PRICE | TOTAL
1 | 50x50 Non-structural pine | 130 | Length(s)
2 | 20mm Formply | 9 | Sheet
3 | 100x25 Non-structural pine | 9 | Length(s)
4 | 40kg Cement | 427 | Bags
5 | Aggregate | 143 | m³
6 | Sand | 138 | m³
7 | Gauge 75 Fortecon Sheet or equivalent 20m/ROLL | 6 | Rolls
8 | Polyethene | 6 | Rolls
9 | Ø12mm Deformed rebars | 236 | Length(s)
10 | Ø6mm Round stirrup rebars | 70 | Length(s)
11 | Galv. Tie wire | 10 | Kg
12 | WIRE MESH SL102 ‐ 4.65mtr x 1.97mtr/sht | 40 | Sheets
13 | 8' Concrete blocks | 161 | Nos
8.01 | RS 300x50 H3 Treated Pine timber | 0 | m
| 1st Floor bearers | 0 | Length
8.02 | DAS 295x45 H3 Treated Dakua timber | 0 | m
| Stringers | 0 | m
8.03 | DAS 265x45 H3 Treated Dakua timber | 0 | m
| Stair | 0 | Length
8.04 | RS 200x25 H3 Treated Pine timber | 0 | m
|  | 0 | Length
14 | DAS 95X45 H3 Treated Pine timber | 70.3545 | Length
8.06 | RS 125x45 H3 Treated Pine timber | 0 | m
| Blocking timber | 0 | Length
8.07 | DAS 100x100 H3 Treated Pine timber | 0 | m
| Post | 0 | Length
15 | RS 100x50 H3 Treated Pine timber | 6 | Length
16 | Hardboard/Masonite | 24 | Sheet
17 | 8 mm Marine Ply | 2 | Sheet
18 | 300x300 Vinyl tile | 25 | Ctn
19 | Tile O Fix | 4 | Tin
20 | Polyurethane Clear 4L | 4 | Tin
21 | Turbinetine 20L | 2 | Ctn
22 | 100mm Hand brush | 10 | Nos
23 | 300x300 Quarry tile | 3 | Ctn
24 | 150x150 Wall tile | 21 | Ctn
25 | 20kg CTA | 12 | Bags
26 | 20kg Grout (White) | 5 | Bags
27 | 100mm Stainless steel Hinges | 7 | Nos
28 | Bright brass Lever lock with BiLock | 2 | Nos
29 | 100mm Barrel bolt | 8 | Nos
30 | 36" Clear Glass | 250 | Nos
31 | 10 blade louver frame | 14 | Nos
32 | 8 blades louvre frame | 9 | Nos
33 | 6 blades louvre frame | 2 | Nos
34 | 4 blades louvre frame | 5 | Nos
35 | WIRE MESH GALVANISED 228 ‐ 2..4mtr x 1..2mtr/sht ‐ 4mm | 8 | Sheet
36 | Primer | 4 | Tin
37 | Undercoat | 24.5965 | Unit
38 | Semi-gloss | 24.5965 | Unit
39 | High-gloss | 16.3977 | Unit
40 | 100mm Hand brush | 8 | Nos
41 | Corner brush | 8 | Nos
42 | ROLLER KIT 4 PCS SET OLDFIELD KUPU‐KUPU 230mm [9"] | 8 | Nos
43 | ROLLER SLEEVE ‐ NOOK & FABRIC 100mm [4"] CHINA mouse | 8 | Nos
44 | 15' Colourbond Corrugate iron roofing sheet | 32 | Sheet
45 | Galv. WIRE NETTING HEX [CHICKEN] 2 x 2" x 6FT [72"] x 2 x 30 | 4 | Rolls
46 | SISAL F‐STOP 1250mm x 40M (50m²) DOUBLE SIDE ROLL | 4 | Rolls
47 | Colourbond Ridge cap 2.4mtr | 6 | Sheet
48 | Colourbond Flashing 2.4mtr | 18 | Sheet
49 | 2.4m Colourbond gutter | 12 | Sheet
50 | 2.4m Colourbond strapping | 28 | Nos
51 | 100mm PVC pipe | 10 | Length(s)
52 | 100mm PVC bend 45deg | 5 | Nos
53 | 100mm PVC Inspection opening | 3 | Nos
54 | PVCF DWV CLIP STANDARD PIPE 100mm [141.100] WASTE FITTING | 10 | Nos
55 | 100mm PVC Elbow | 5 | Nos
56 | 100mm PVC Gully trap | 3 | Nos
57 | 100mm PVC Tee | 10 | Nos
58 | 100mm PVC Pan collar | 12 | Nos
59 | 100mm Y-junction | 2 | Nos
60 | 100mm Floor grate | 1 | Nos
61 | 100mm Vent cowl | 1 | Nos
62 | 50mm PVC Pipe | 5 | Nos
63 | 50mm PVC elbow | 10 | Nos
64 | 50mm PVCF DWV Clip standard Pipe 50mm | 10 | Nos
65 | 50mm PVC Tee | 12 | Nos
66 | 100-50mm PVC reducer | 6 | Nos
67 | 50mm S-trap | 20 | Nos
68 | 50mm Plug and Waste | 6 | Nos
69 | 50-40mm Reducer | 6 | Nos
70 | 40mm PVC pipe | 2 | Length
71 | 15mm PVC Pipe | 8 | Nos
72 | 15mm PVC elbow | 20 | Nos
73 | 15mm PVC Male adaptor | 12 | Nos
74 | 15mm PVC Female adaptor | 12 | Nos
75 | 15mm PVCF DWV Clip Standard | 20 | Nos
76 | 15mm PVC union | 5 | Nos
77 | 15mm (HK512) 304 Stainless Steel Swivel Kitchen Basin/Sink Faucet water | 1 | Nos
78 | 15mm PVC Stop valve | 12 | Nos
79 | 15mm F9020101 Pillar cock pressmatic | 3 | Nos
80 | 15mm Brass bib tap | 1 | Nos
81 | 15mm PVC tee | 15 | Nos
82 | P-trap WC complete + Cistern | 1 | Nos
83 | 15mm OSUKI Stainless Steel Shower Set (Head w. steel flexi hose, wall mounting, cock…) | 1 | Nos
84 | Thread tape | 10 | Nos
85 | 1.8m Double Sink unit | 1 | Nos
86 | Tabor 460mm Basin and Semi Pedestal | 1 | Nos
87 | SUB BOARD 8WAY TSM8 | 1 | Nos
88 | HEM CIRCUIT BREAKER 20A 1POLE 4.5KA (GBL IMEX) | 1 | Nos
89 | HEM CIRCUIT BREAKER 16A 1POLE 4.5KA (GBL IMEX) | 2 | Nos
90 | HEM CIRCUIT BREAKER 10A 1POLE 4.5KA (GBL IMEX) | 1 | Nos
91 | WIRE 6mm 2 CORE + EARTH ORANGE PVC CIRCULAR ELECTRICAL DC | 30 | m
92 | WIRE 1.5mm Flat cable 100m/roll | 1 | Rolls
93 | WIRE 2.5mm Flat cable 100m/roll | 1 | Rolls
94 | Double switch + Mounting | 2 | Nos
95 | Single switch +Mounting | 8 | Nos
96 | TAPE ‐ PVC INSULATING BLACK 18mm x 15yd EACH | 2 | Nos
97 | TAPE ‐ PVC INSULATING GREEN 18mm x 10yrd EACH | 2 | Nos
98 | TAPE ‐ PVC INSULATING RED 18mm x 10yd | 2 | Nos
99 | HEM JUNCTION BOX BIG JB1 & JB2 | 6 | Nos
100 | 15mm PVC Conduit pipe | 10 | Length(s)
101 | 20mm PVC Conduit pipe | 20 | Length(s)
102 | 15mm Galv. Pipe | 1 | Length(s)
103 | HOSE CLAMP 16‐27mm x 12mm NORMA [100PCS/PKT] | 1 | Nos
104 | 25mm PVC Conduit pipe | 10 | Length(s)
105 | Caravan RV Double Pole Dual 240V Power Point with Twin USB Charging with Mounting block | 10 | Nos
106 | Batten holder | 10 | Nos
107 | ELEMENTS ENERGY SAVER BULB SPIRAL 20W DAYLIGHT ‐ 6500K BC ( | 5 | m
108 | Earth wire - Green | 5 | m
109 | 100mm Galv. Jolthead nail | 25 | Kg
110 | 75mm Galv. Jolthead nail | 25 | Kg
111 | 50mm Galv. Jolthead nail | 2 | Kg
112 | 40mm Galv. Jolthead nail | 2 | Kg
113 | 40mm Galv. Clout jolthead nail | 1 | Kg
114 | NAIL JOLT HEAD GALVANIZED PANEL PIN 25mm [1"] x 1.60mm x 1.0k | 5 | Kg
115 | ROOFING SCREW CORRUDEK TO TIMBER CYCLONE | 5 | Kg
116 | BOLT & NUT MILD STEEL HEXAGON HEAD GALVANISED 12mm | 32 | Nos
117 | Knuckle nailplates 76mmx317mm 10m/roll | 1 | Rolls
118 | Maxi strap | 2 | Rolls
119 | POP Rivet | 1 | kg
120 | Silicon 750ml | 10 | Nos
121 | Gap filler 475ml | 40 | Nos
122 | Wood putty | 5 | kg
123 | Sand paper P-60 50m/roll | 1 | Roll
124 | Sand paper P-120 50m/roll | 1 | Roll
125 | 4" Batten screws | 5 | kg
126 | Well for fresh water | 1 | Nos
127 | 5000L Water tank | 1 | Nos

## Summary
KIRIBATI HOUSING CORPORATION |  |  | SUMMARY
DEVELOPMENT DEPARTMENT
"Where quality and standard merge"
Ref: | C-Grade MFE | Project No: | 180203
Prepared: | L.Iuta | Issue Date: | 2018-11-16
Checked: | K.Tokaia | Issue Status: | Preliminary
REF |  |  | TOTAL
1 | GENERAL REQUIREMENTS | 0 | 0
2 | PRELIMINARIES |  | 0
3 | BOUNDARY WORKS |  | 0
4 | GROUNDWORKS |  | 0
5 | CONCRETE WORKS |  | 0
6 | STEELWORKS |  | 0
7 | BRICKWORK |  | 0
8 | TIMBERWORKS |  | 0
9 | BOARDS |  | 0
10 | FLOOR WORKS |  | 0
11 | HARDWARE |  | 0
12 | PAINT WORKS |  | 0
13 | PLUMBING WORKS |  | 0
14 | ELECTRICAL COMPONENTS |  | 0
15 | FIXINGS AND FASTNERS |  | 0
#REF! | #REF! |  | #REF!
#REF! | #REF! |  | #REF!
| Total material cost |  | #REF!
| Contigencies |  | #REF!
| Sub-total |  | #REF!
| Sub-total |  | #REF!
| Contigency |  | #REF!
| Sub-Total |  | #REF!
| Contract Administration fee |  | #REF!
| Project cost |  | #REF!