**REQUEST FOR QUOTATION  
SPECIFICATION OF STANDARD GOODS**

**Procurement No:** 41-G005-24

## Specification

### Background

The acquisition of the two generators is one of the CPPL needs, and strategies to address the issue of electrical power outage which greatly affects the company’s products, delivery of our services and operation of our core business to the public. During the prolonged outage of power, CPPL experienced a huge loss as most of the products were damaged. The acquisition of two generators is one of the Company’s capital expenditure this year, however the purchase processing was slow as the technical team carefully choose from contacted suppliers the quality, genuine, and repairable specification. The responsible team contacted three overseas suppliers and affirmed that Vinod Company has the specification requisite, and more importantly the fastest supplier to deliver.

Having the two generators installed at the designated sites (both office Headquarters and IFM branch at Tabonteuabu, Bairiki), the issue will be resolved, the services to the public will continuously be delivered and the complaints would be minimized. In return, the income will be improved and elevated to meet the operational expenditures from time to time and able to pay the company’s tax and dividend as required by the Government. Considering the other side of the coin, given the product recommended is genuine, it is likely that the defect can be hardly experienced, and the deficiency can easily repair as the parts are available with the Supplier when needed, and local personnels have the capacity to fix as the proper transfer of knowledge will be conducted by the Supplier as a compliment during installation.

**The objectives of the project include:**

* To support artisanal fishermen by maintaining the operation of the ice making machine to ensure the provision of ice blocks for preserving their catches is ongoing.
* To serve the high demand of the restaurant services from time to time
* To support income generating opportunities and enhancing social benefits from fisheries related activities.
* To ensure the core business and other related services of the company are NOT obstructed in order to reach the company’s targets in time.

To meet the Project’s objective, Government is seeking submission of tenders for the following specification and requirements:

### Requirements

### Please refer to RFQ Instruction on how to submit the Quotation part II -“Quotation Documents Required to be Submitted”.

### Including the following certificate- Certified Business registration certificate, Valid business license, and tax clearance document, specification of the product and recent photos (not exceeds 1 month)

### Installation services

Technical assistance for the installation and servicing services, warranty, and spare parts provision.

### Delivery Time

The machines shall be delivered not more than 2 months from the date of receiving the payment.

## Description of the Goods

The tenderers are required to provide a quotation for two Generators -30KVA &70KVA according to specification requirements appended below.

The specifications of **Generators** are appended below:

30kVA Water Cooled Generator

* Aosif 30kVA Generator with 63amps Socomec ATS
* Engine Model: Cummins engine 4B3.9-G12
* Alternator model: Stamford Alternator SOL2P1

70kVA Water Cooled Generator

* Aosif 70kVA Generator with 100amps Socomec ATS
* Diesel Engine: Cummins 4BTA 3.9-G11
* Alternator: Stamford UCI224F