## Grand Summary
MISE
CPU
MINISTRY OF INFRASTRUCTURE AND SUSTAINABLE ENERGY
PROJECT TITLE |  | BETIO HOSPITAL RADIOLOGY + REHAB EXTENSION
Proect Number |  | 32104 | file ref
CLIENT |  | MHMS | Date | 2024-04-21
Ref | Description |  | Qty | Unit | Material | Labour | Others | Total
GRAND SUMMARY
DEMOLITION
CONCRETE WORK
REINFORCING STEEL
METAL WINDOWS AND DOORS
CARPENTRY
JOINERY
HARDWARE
ROOFING
PLUMBING
DRAINAGE
FIRE PROTECTION
ELECTRICAL SERVICES
SPECIALIST FINISHES
PAINTING AND DECORATION
0
Add 12.5% VAT
Add contract margin
Grand Total (SAY)
Note on D47: QS: confirm with SCE

## take off (hidden)
[9 empty] | 2021-11-08 |  | Date
Project Title : AMAK BUILDING 1 RENOVATION
File ref
Project No 182104
Ref | Description |  | Take-off | [7 empty] | Qty | Unit
|  |  | Side Cast | x | no | L | W | Prod /m2 | Thick / depth | Vol
A1 | PRELIMINARIES
A2 | Premables:
A3 | Unless otherwise stated all temporary plumbing works
A4 | associated with temporary services such as water services, sanitary conviniences
A5 | and the like are measured within 12m beyond building face.
A6
A7 | Unless otherwise stated, the following shall be itemised
A8
A9 | Allow for the Provision of signboards, together with details of signwriting and installation | [10 empty] | item
A10
A11 | Allow for the provision of telephones, including installation and rental charges during the course | [10 empty] | item
A12 | of construction works, and removal upon completion
A13
A14 | Site Access
A15 | Allow for access to site | [10 empty] | item
A16
A17 | Care and Security of the works | [10 empty] | item
A18
A19 | Temporary Galv fencing with post at 3m c-c (max use 3uses) | [10 empty] | m
A20
A21 | Temporary Hoarding
A22 | Hoarding 2m high of 18mm external quality plywood on 100 x 100mm kiln | [10 empty] | m
A23 | dried timber post and 75 x 50mm rail in 3 rows. (allow max uses of 3)
A24
A25
A26 | Allow for temporary site shed during the course of construction works | [10 empty] | item
A27
A28 | Temporary services, construction water and power | [10 empty] | item
A29 | Allow for the provision of water for the works and
A30 | any necessary temporary plumbing and storage.
A31
A32
A33
A34
A35 | Allow for the provision of temporary electric power, | [10 empty] | item
A36 | including connections to main.
A37
A38
A39
A40
A41
A42
A43
A44
A45
A46
A47
A48
A49 | Allow for the provision of sanitary conveniences and | [10 empty] | item
A50 | keeping of the conveniences in a clean and orderly
A51 | condition.
A52
A53
A54
A55 | Allow for setting out of the works and the provision | [10 empty] | item
A56 | of all instruments required.
A57
A58
A59 | Allow for testing of materials and submission of samples | [10 empty] | item
A60
A61
A62
A63 | Allow for the provision of plant and tools required for the | [10 empty] | item
A64 | execution of the works
A65
A66
A67
A68 | Allow for the provision of scaffolding for exterior work | [6 empty] | 3 |  |  |  | item
A69
A70
A71
A72
A73
A74
A75 | Allow for the provision of scaffolding for interior work | [10 empty] | item
A76
A77
A78
A79
A80
A81
A82 | Allow for the provision of temporary screens and other protection | [10 empty] | item
A83 | requirement (For this item the rate for temporary hoarding may
A84 | be adopted.
A85
A86
A87 | Allow for the protection of the works from weather or any other cause | [10 empty] | item
A88
A89
A90
A91 | Allow for maintenance and protection of public and private | [10 empty] | item
A92 | property and other similar undertakings including making good
A93 | and paying of all damage thereto
A94
A95
A96 | Allow for constant supervision (max 3 months average) unless otherwise stated | [6 empty] | 1 |  |  |  | item
A97
A98
A99 | Allow for cartage of materials to site, and removal upon completion | [6 empty] | 1 |  |  |  | item
A100
A101
A102
A103 | Allow transport for workers (max 3months on average) unless otherwise stated | [10 empty] | item
A104
A105
A106
A107 | Allow for the provision for removal of rubbish and debris and | [6 empty] | 1 |  |  |  | item
A108 | clearing away on completion
A109
A110
A111 | Allow for cleaning all surfaces ready for occupation | [10 empty] | item
A112
A113
A114 | Allow for dewatering | [10 empty] | item
A115
A116
TOTAL CARRIED TO SUMMARY
DEMOLITION
| Allow for obtaining all necessary approvals prior to demolition | [10 empty] | item
| Disconnect and seal off services prior to demolition | [10 empty] | item
A 1 | Electrical works
A 2
A 3 | Remove light fittings | [6 empty] | 21 |  |  | 21 | no
A 4
A 5 | Remove outlet socket | [6 empty] | 17 |  |  | 17 | no
A 6
A 7 | Remove ceiling fan switches | [6 empty] | 12 |  |  | 12 | no
A 8
A 9 | Remove switches | [6 empty] | 18 |  |  | 18 | no
A 10
A 11 | Remove switchboard | [6 empty] | 1 |  |  | 1 | no
A 12
A 13 | Plumbing works
A 14 | Remove W.c pan complete with associated fittings. | [6 empty] | 1 |  |  | 1 | no
A 15
A 16 | Remove wash hand basin and store where directed | [10 empty] | no
A 17
A 18 | Take down sink unit complete with fittings, and bench and remove to store. | [10 empty] | no
A 19
A 20 | Remove bath unit complete with fittings and store where directed. | [10 empty] | no
A 21
A 22 | Remove shower unit with fittings, and store where directed. | [6 empty] | 1 |  |  | 1 | no
A 23
A 24 | Remove urinal unit with fittings, and store where directed | [10 empty] | no
A 25
A 26 | Hazardous substances
A 27
A 28 | Remove hazardous substances (abestos lining, gutter, roof and | [10 empty] | item
A 29 | the like)
A 30
A 31 | Remove 200mm thick conrete foundation | [10 empty] | m3
A 32
A 33 | Remove unreinforced concrete pavings, 100mm thick | [10 empty] | m2
A 34
A 35 | Ditto but reinforced concrete slab, 100mm thick | [10 empty] | m3
A 36
A 37 | Remove concrete kerbs, gutters | [10 empty] | m2
A 38
A 39 | Allow to carryout works for key, forming of toothings, | [10 empty] | m2
A 40 | and the like to surfaces receiving new work
A 41
A 42 | Roofing
A 43 | Remove fascia board, gutter and downpipe. | [9 empty] | 42.72 | m
A 44
A 45 | length= | 21360*2= |  | 1 | 1 | 42.72 | 1 | 42.72
A 46 |  | 42720 | [5 empty] | 42.72
A 47
A 48 | Remove the birdbatten. | [9 empty] | 372.72 | m
A 49
A 50 | total length= | (21360+600*2)*2+(7300+600*2)*2= |  | 1 | 6 | 62.12 | 1 | 372.72
A 51 | Remove gable cladding including finishing trim | [10 empty] | m2
A 52
A 53
A 54 |  | 62120 | [5 empty] | 372.72
A 55
A 56 | Remove roof covering and associated flashings | [9 empty] | 231.9712 | m2
A 57
A 58 | length= | 21360+680*2= |  | 1 | 2 | 22.72 | 5.105 | 231.9712
A 59 | Remove frame timber trusses, rafters, and the like | [10 empty] | no
A 60
A 61
A 62 |  | 22720
A 63
A 64 | width= | 5105 | [5 empty] | 231.9712
A 65
A 66 | Doors and Windows
A 67 | Remove door complete with hardware | [6 empty] | 14 |  |  | 14 | no
A 68
A 69 | Remove window shutter unit with hardware | [10 empty] | no
A 70
A 71 | Remove Alum door frame with glazing and sliding door | [10 empty] | no
A 72
A 73 | Remove roller door unit complete with associated fittings | [10 empty] | no
A 74
A 75 | Remove alum window frames complete with glazing | [10 empty] | no
A 76
A 77 | Remove louver frame with glass blade (3- 6 louvers) | [6 empty] | 2 |  |  | 2 | no
A 78
A 79 | Remove louver frame with glass blade (7-9 louvers) | [6 empty] | 30 |  |  | 30 | no
A 80
A 81 | Remove louver frame with glass blade (10-12 louvers) | [10 empty] | no
A 82
A 83 | Wall
A 84 | Remove hardboard lining on framing | [9 empty] | 76.4184 | m2
A 85
A 86 | length= | 2585+5900+3505+9650+3405+(3395*2)= |  | 1 | 1 | 31.835 | 3 | 95.505
A 87 | Remove batt behind lining | [10 empty] | m2
A 88
A 89 |  | 31835
A 90
A 91 |  | width=3000
A 92
A 93 | window /door ddt
A 94 | window a length= | 1610 |  | -1 | 4 | 1.61 | 1.13 | -7.2772
A 95
A 96 |  | height==1130
A 97
A 98 | window b length= | 2380 |  | -1 | 1 | 2.38 | 1.13 | -2.6894
A 99
A 100 |  | height=1130
A 101
A 102 | door length= | 760 |  | -1 | 6 | 0.76 | 2 | -9.12
A 103
A 104 |  | height=2000 | [5 empty] | 76.4184
A 105
A 106 | Remove timber framing | [9 empty] | 95.505 | m2
A 107
A 108 | Breakup 100mm thick blocwork wall and remove debris | [10 empty] | m2
A 109 | Labour - 2 labourers for 0.75 hours per m2
A 110
A 111 | Demolish 150mm thick blockwork wall and remove debris | [10 empty] | m2
A 112
A 113 | Demolish 200mm thick blockwork wall and remove debris | [10 empty] | m2
A 114
A 115
A 116 | Opening through stud partitions
A 117 | Form opening through 100mm thick timber stud wall partition for | [10 empty] | m2
A 118 | door opening overall size: 2100 x 900mm wide; take off skirtings, cut away lining,
A 119 | and make good around disturbed surfaces
A 120
A 121 | Add 10% extra loading on labour for making
A 122 | good around disturbed surfaces
A 123
A 124 | Opening through Blockwork wall
A 125 | Form opening through 200mm thick blockwork wall for door opening overall size: | [10 empty] | m2
A 126 | 2100 x 900mm wide, insert new lintel, 200mm thick and make good around disturbed surfaces.
A 127
A 128
A 129
A 130
A 131
A 132
A 133 | length= | 2585+5900+3505+9650+3405+(3395*2)= |  | 1 | 1 | 31.835 | 3 | 95.505
A 134 |  | 31835
A 135
A 136 |  | width=3000 | [5 empty] | 95.505
TOTAL CARRIED TO SUMMARY
EXCAVATION AND EARTHWORKS
Preambles
Note: Unless otherwise stated, the minimum allowance for working space shall be comply with Table 1 and the following:
Planking and strutting is measured to all excavations 1.5m deep or irrespective of depth to excavations against public places and adjacent sites
Table 1
1) For depth of excavation 0-1m = 0.2m
2) For depth of excavation 1-2m = 0.6m
3) For depth of excavation 2-3m = 1m
4) Exceeding 3m = 1.3m
| Clear site to suit "building footprint", and allow to offset 1m at both directions | [10 empty] | m2
for timber profiles
| Strip site average 100mm deep, to remove top soil and spread and level on site. | [10 empty] | m2
Footing
| Excavate trench for footing 0-1.5m deep commencing from strip level. | [10 empty] | m3
| Excavate for column pad 0-1.5m deep commencing from strip level | [10 empty] | m3
| Excavate for edge thickening commencing from stirp level | [10 empty] | m3
| Extra value for excavating solid rock encountered in the course of excavation | [10 empty] | m3
Backfilling
| Return fill and ram selected excavated material around footing. | [10 empty] | m3
Disposal
| Cartaway excavated material offsite where directed | [10 empty] | m3
FILLING
| Hardcore imported and laid on site 100mm thick | [10 empty] | m2
| Hardcore imported to and laid on site 125mm thick. | [10 empty] | m2
| Hardcore imported to and laid on site 150mm thick. | [10 empty] | m2 | 6201.85 | 66.8303
| Surface treatment | [12 empty] | 9.435
| Lay and blind hardcore | [10 empty] | m2 |  | 4.572
9.144
| Sand bed 50mm thick imported and laid to receive concrete | [10 empty] | m2 |  | 3.6576
14.6304
| Level and ram top of sand | [10 empty] | m2 |  | 14.0304
[14 empty] | 3.048 | 6.096 | 4.8768
| TOTAL CARRIED TO SUMMARY | [12 empty] | 3.6576 | 3.6576 | 9.7536
[15 empty] | 9.7536 |  | 12.7
| CONCRETE WORK | [13 empty] | 9.3536 |  | 18.8873 | 19 | 38 | Roof
| Preambles | [16 empty] | 84.915 | 150*50
| Different types of Foundations and footings with concrete strength shall be | [16 empty] | 12.7 | 88.9 | 100*50
scheduled seperately
1 For small bases, fence posts, shallow piles and the like these shall be
enumerated where not exceeding 0.2m3
2 Slabs for each thickness shall be scheduled seperately. If finished to
falls or cross falls this shall be stated and the average thickness given
Apply structural reinforced concrete to the following:
| 600x200mm thick strip footing | [10 empty] | m3
| 600x200mm tie beam | [10 empty] | m3
| Raft footing | [10 empty] | m3
| Isolated column base | [10 empty] | m3
| Isolated small base/ fence post (300x300x450) | [10 empty] | no
| Bedding to structural steel / metal work (0-200mm thick) | [10 empty] | m2
| 100mm thick slab | [10 empty] | m3
| 150mm thick slab | [10 empty] | m3
| 200mm thick suspended slab | [10 empty] | m3
B 1 | Patching the defective foundation | [9 empty] | 1.0928 | m3
B 2
B 3 | Block defected leng= | 470*4+50*10= |  | 1 | 1 | 2.38 | 0.2 | 0.476 | 0.4 | 0.1904
B 4 |  | 2380
B 5
B 6 |  | width=200
B 7
B 8 |  | height=400
B 9
B 10 | Column / Pier | [10 empty] | m3
B 11
B 12 | Steps and staircases including strings, soffits, balustrades and | [10 empty] | m3
B 13 | landings
B 14
B 15 | Blinding concrete (0-200mm thick) | [10 empty] | m2
B 16
B 17 | Upstands and kerbs (<0.05m2 in section) | [10 empty] | m
B 18
B 19 | lintel length= | 1610*2+2380+660= |  | 1 | 1 | 6.26 | 0.2 | 1.252 | 0.7 | 0.8764
B 20 |  | 6260
B 21
B 22 |  | width=200
B 23
B 24 |  | height=700
B 25
B 26 | patch the crack wall length= | 2600 |  | 1 | 1 | 2.6 | 0.2 | 0.52 | 0.05 | 0.026
B 27
B 28 |  | width=200
B 29
B 30 |  | height=50 | [7 empty] | 1.0928
Surface Finishes
| 20mm thick cement and sand (mix 1:3) screed Trowel steel float finish to top of slab | [10 empty] | m2
| 20mm thick cement and sand (mix 1:3) screed Broom finish to top of slab | [10 empty] | m2
| 25mm thick cement and sand (mix 1:3) screed Trowel steel float finish to top of slab | [10 empty] | m2
| 25mm thick cement and sand (mix 1:3) screed Broom finish to top of slab | [10 empty] | m2
| Extra value for trowel steel float finish to confine areas (0-200mm wide ) | [10 empty] | m
| Extra value for broom finish ditto (0-200mm wide) | [10 empty] | m
| 12mm diameter Holding down bolt complete with nut and 2 washers bolted in | [10 empty] | no
concrete
| 12mm diameter Holding down bolt complete with nut and 2 washers | [10 empty] | no
bolted in concrete
TOTAL CARRIED TO SUMMARY
FORMWORK
Preambles
Unless otherwise stated, formwork shall be measured in square metres, with their given nature of formwk type of finish level
1. Formwork specified to be left in place shall be scheduled seperately.
2. Formwork to soffits of beams or slabs shall be scheduled seperately.
3. Rates for formwork shall be inclusive of labour, material, and other associated components, formwork reducing agents, etc required for the full execution of the works
Apply formwork to the following:
| Vertical surfaces of footing (average uses = 5) | [10 empty] | m2
| Vertical surfaces of wall | [10 empty] | m2
| Vertical surfaces of column / pier. Include timber fillet not exceeding | [10 empty] | m2
50mm on face.
| Flat soffits of suspended slab not exceeding 3m high from grd level | [10 empty] | m2
| Sides and soffit of beam | [10 empty] | m2
| Sides and soffit of lintel | [10 empty] | m2
| Sides of stair riser and string | [10 empty] | m2
| Formwork to sides of suspended floor slab over 100mm and not exceeding 200mm | [10 empty] | m
| Ditto but to edge of concrete slab over 100mm and not exceeding 200mm | [10 empty] | m
| Ditto but to edge of concrete slab over 200mm and not exceeding 300mm | [10 empty] | m | 7679.96
82.7582
| Formwork to sides of reveals 0-200mm | [10 empty] | m
| Formwork to sides of reveals over 200mm and not exceeding 300mm | [10 empty] | m
| Form 100 x 50mm deep rebate in edge of slab | [10 empty] | m
| Form 200x50mm deep rebate in edge of slab | [10 empty] | m
TOTAL CARRIED TO SUMMARY
DAMP PROOF SHEETING
Preambles:
Rates given to DPC shall be inclusive of labour, material and others such as senso tape
for taping laps and the like
| Approved 0.25mm DMP membrane sheeting or similar laid and lapped at | [10 empty] | m2
300mm wide and jointed with tape
| Extra value for turn ups 0-200mm wide | [10 empty] | m
| Extra value for turn ups over 200mm but not exceeding 300mm | [10 empty] | m
| Extra value for turn down 0-200mm wide | [10 empty] | m
| Extra value for turn down over 200mm but not exceeding 300mm | [10 empty] | m
| Form penetration to damp proof sheeting 0-100mm diameter | [10 empty] | no
| Form penetration to damp proof sheeting 100- 200mm diameter | [10 empty] | no
TOTAL CARRIED TO SUMMARY
DAMP PROOF COATINGS
Prepare surfaces and apply two coat suitable dmp coating to the following:
| 200mm thick blockwork surfaces | [10 empty] | m2
| 150mm thick blockwork surfaces | [10 empty] | m2
| 100mm thick blockwork surfaces | [10 empty] | m2
TOTAL CARRIED TO SUMMARY
REINFORCING STEEL
Preambles
Rates given for reinforcing steel shall be inclusive of all necessary labour, Material for the full
execution of trade, parallel laps, offset laps for bigger diameter rods,
corner laps, ties, and the like. All running laps are calculated on a 6m length bar
BAR REINFORCING
Strip footing / Edge beam
| Approved deformed 20mm diameter reinforcing bar in ftng | [10 empty] | m
| Ditto but 16mm diameter reinforcing bar in footing. | [10 empty] | m
| Ditto 12mm diameter reinforcing bar in footing. | [10 empty] | m
| Ditto 10mm diameter ties at 400mm c-c | [10 empty] | m
| Ditto 6mm diameter ties at 400mm c-c | [10 empty] | m |  | 99 | 354.9
499.65
| Column | [13 empty] | 1708
| Approved deformed 20mm dia reinforcing bar in column | [10 empty] | m
| Ditto but for 16mm diameter reinforcing bar in column. | [10 empty] | m
| Ditto 12mm diameter reinforcing bar in column | [10 empty] | m
| Ditto 10mm diameter ties at 300 c-c. | [10 empty] | m
| Ditto 6mm diameter ties at 300 c-c | [10 empty] | m
Blockwork
| Approved deformed 12mm starter bar including laps | [10 empty] | m
| Ditto but for 10mm dia starter bar including laps | [10 empty] | m
C 1 | Beam and Lintel
C 2 | Approved deformed 20mm diameter reinforcing bar in beam | [10 empty] | m
C 3
C 4 | Ditto but for 16mm dia reinforcing bar in beam | [10 empty] | m
C 5
C 6 | Ditto 12mm dia reinforcing bar in beam | [10 empty] | m
C 7
C 8 | Dtto 10mm diameter ties in beam. | [9 empty] | 15.72 | m
C 9
C 10 | 6mm diameter ties in beam. | [10 empty] | m
C 11
C 12 | Concrete slab
C 13 | Approved deformed 12mm diameter in slab on ground | [10 empty] | m
C 14
C 15 | Ditto but for 12mm diameter in suspended slab | [10 empty] | m
C 16
C 17 | Ditto 10mm diameter in slab on ground | [10 empty] | m
C 18
C 19 | Ditto 10mm diameter in suspended slab | [10 empty] | m
C 20
C 21 | MESH REINFORCING
C 22 | Approved Steel fabric reinforcement in slab lapped at 300mm wide | [10 empty] | m2 | 7.9
C 23
C 24 | Extra value for raking cutting to fabric mesh reinforcement to suit profile of slab | [10 empty] | m
C 25
C 26 | Extra value for circular cutting to suit profile of slab | [10 empty] | m
C 27
C 28 | Extra value for cranking of fabric mesh reinforcement | [10 empty] | m
C 29
C 30 | Extra value for bending of fabric mesh reinforcement | [10 empty] | m
C 31
C 32 | length= | (1610+200*2)*2+660+200*2+2380+200*2= |  | 1 | 2 | 7.86 | 1 | 15.72
C 33 |  | 7860 | [5 empty] | 15.72
TOTAL CARRIED TO SUMMARY
STRUCTURAL STEEL
Preambles:
Unless otherwise stated, rates given to structural steel shall include for all necessary labour cost, material,
equipments, cranage, temporary props, welding, and the like for the full execution of the trade
Actual size of each member shall be given, and
the tables used for calculating the mass of members shall be stated.
The type of base plate and thickness should also be stated when
scheduled. All types of welding shall be stated including thickness.
UB Portal frame
| UB Portal frame or similar up to 10m span (at 0-30kg/m)and erected to 0-6m high overall (in ……off), fix in postion | [10 empty] | kg
| UB Portal frame or similar 10m to 15m span (at 0-37kg/m)and erected to 0-6m high overall (in ……off), ditto | [10 empty] | kg
Cutting
| Apply splay cutting to end of portal frame | [10 empty] | m
| Ditto but to knee of portal frame | [10 empty] | m
Base plate
| Raking gusset cut and place in position | [10 empty] | m
| Profile cutting to gusset and place in position | [10 empty] | m
| Form holes on 10mm base plate exceeding 20mm but not exceeding | [10 empty] | no
30mm diameter
| 20-24mm dia holding bolt x 300mm long | [10 empty] | no
| Apply double v butt welding up to 12mm thick to apex and knee of portal frame | [10 empty] | m
| Apply fillet weld up to 12mm thick to plate 12mm thick | [10 empty] | m
| Apply fillet weld up to 12mm thick to plate 10mm thick | [10 empty] | m
| Apply site weld up to 12mm thick to gusset plate | [10 empty] | m
| Levelling and wedging base plate | [10 empty] | item
| Apply dry pack mortar under base plate -(0-100mm thick) | [10 empty] | m2
| Mild steel angle bracket welded to portal frame size: 102mm deep x 51mm wide | [10 empty] | no
drilled once to suilt 12mm dia bolt
| RHS -Rectangular hollow section up to 65mm x 40mm complete with proprietary fitting, erected and fix in position | [10 empty] | kg
| RHS -Rectangular hollow section over 65mm x 65mm ditto | [10 empty] | kg
| UC- Universal column (0-40kg/m) erected and bolted to concrete | [10 empty] | kg
| UC- Universal column (40-100kg/m) erected and bolted to concrete | [10 empty] | kg
| Levelling and wedging base plate to UC (size stated) | [10 empty] | item
| Apply dry pack mortar under base plate-(0-100mm thick) to UC | [10 empty] | m2
| UB- Universal beam welded to portal frame (0-40kg/m | [10 empty] | kg
| UB- Universal beam welded to portal frame (40-100kg/m) | [10 empty] | kg
| UB- Universal beam welded to column (0-40kg/m) | [10 empty] | kg
| UB- Universal beam welded to column (40-100kg/m) | [10 empty] | kg
| UB- Universal beam bolted to portal frame (0-40kg/m) | [10 empty] | kg
| UB- Universal beam bolted to portal frame (40-100kg/m) | [10 empty] | kg
| UB- Universal beam bolted to column (0-40kg/m) | [10 empty] | kg
| UB- Universal beam bolted to column (40-100kg/m) | [10 empty] | kg
Surface Treatment
| Prepare Surfaces and apply sand blast and painting to UC heavy sections | [10 empty] | m2
| Ditto but to UB ditto | [10 empty] | m2
| Prepare Surfaces and apply sand blast and painting to light sections | [10 empty] | m2
TOTAL CARRIED TO SUMMARY
BLOCKWORK
Approved 200mm thick blockwork laid in stretcher bond
of 200mm high coursing with 10mm thick cement mortar (mix 1:3)
Exterior Wall
|  | To exterior wall (unfilled cells) | [9 empty] | m2
|  | Solid filling to cells of blockwork | [9 empty] | m2
|  | Intermittent filling to cells of blockwork | [9 empty] | m2
|  | Intermittent filling to bond beam | [9 empty] | m
|  | Intermittent filling to lintel | [9 empty] | m
Interior wall
|  | To interior wall (unfilled cells) | [9 empty] | m2
|  | Solid filling to cells of blockwork | [9 empty] | m2
|  | Intermittent filling to cells of blockwork | [9 empty] | m2
|  | Intermittent filling to bond beam | [9 empty] | m
|  | Intermittent filling to lintel | [9 empty] | m
Isolated column / pier
|  | To isolated column | [9 empty] | m2
|  | Intermittent filling to column | [9 empty] | m
Approved 150mm thick blockwork laid in stretcher bond
of 200mm high coursing with cement mortar (mix 1:3)
Exterior wall
|  | To exterior wall (unfilled cells) | [9 empty] | m2
|  | Solid filling to cells of blockwork | [9 empty] | m2
|  | Intermittent filling to cells of blockwork | [9 empty] | m2
|  | Intermittent filling to bond beam | [9 empty] | m
|  | Intermittent filling to lintel | [9 empty] | m
Interior wall
|  | To interior wall (unfilled cells) | [9 empty] | m2
|  | Solid filling to cells of blockwork | [9 empty] | m2
|  | Intermittent filling to cells of blockwork | [9 empty] | m2
|  | Intermittent filling to bond beam | [9 empty] | m
|  | Intermittent filling to lintel | [9 empty] | m
Isolated column / pier
|  | To isolated column | [9 empty] | m2
|  | Intermittent filling to column | [9 empty] | m
Approved 100mm thick blockwork laid in stretcher bond
of 200mm high coursing with cement mortar (mix 1:3)
Exterior wall
|  | To exterior wall (unfilled cells) | [9 empty] | m2
|  | Solid filling to blockwork cells | [9 empty] | m2
|  | Intermittent filling to blockwork | [9 empty] | m2
|  | Intermittent filling to bond beam | [9 empty] | m
|  | Intermittent filling to lintel | [9 empty] | m
Interior wall
|  | To interior wall (unfilled cells) | [9 empty] | m2
|  | Solid filling to blockwork cells | [9 empty] | m2
|  | Intermittent filling to blockwork | [9 empty] | m2
|  | Intermittent filling to bond beam | [9 empty] | m
|  | Intermittent filling to lintel | [9 empty] | m
Isolated column / pier
|  | To isolated column | [9 empty] | m2
|  | Intermittent filling to column | [9 empty] | m
|  | Extra value for Knock out inside of one course concrete blocks for beam | [9 empty] | m
|  | Extra value for Block up bottom of concrete blocks for beam. | [9 empty] | m
|  | Extra value for Knock out inside of one course concrete blocks for lintel | [9 empty] | m
|  | Extra value for Block up bottom of concrete blocks for lintel. | [9 empty] | m
|  | 200mm thick blockwork projecting 400mm from wall | [9 empty] | no
in 15 courses
|  | 200mm thick blockwork projecting 400mm from wall in | [9 empty] | no |  |  | 0.2 | 12
12 courses
|  | 200mm thick blockwork projecting 400mm from wall | [9 empty] | no
in 10 courses
|  | 200mm thick blockwork projecting 200mm from wall | [9 empty] | no
in 15 courses
|  | 200mm thick blockwork projecting 200mm from wall in | [9 empty] | no
12 courses
|  | 200mm thick blockwork projecting 200mm from wall | [9 empty] | no
in 10 courses
|  | 200mm thick blockwork set back 400mm from wall | [9 empty] | no
in 15 courses
|  | 200mm thick blockwork set back 400mm from wall in | [9 empty] | no
12 courses
|  | 200mm thick blockwork set back400mm from wall | [9 empty] | no
in 10 courses
|  | 200mm thick blockwork set back 200mm from wall | [9 empty] | no
in 15 courses
|  | 200mm thick blockwork set back 200mm from wall in | [9 empty] | no
12 courses
|  | 200mm thick blockwork set back200mm from wall | [9 empty] | no
in 10 courses
|  | 150mm thick blockwork projecting 400mm from wall | [9 empty] | no
in 15 courses
|  | 150mm thick blockwork projecting 400mm from wall in | [9 empty] | no
12 courses
|  | 150mm thick blockwork projecting 400mm from wall | [9 empty] | no
in 10 courses
|  | 150mm thick blockwork projecting 200mm from wall | [9 empty] | no
in 15 courses
|  | 150mm thick blockwork projecting 200mm from wall in | [9 empty] | no
12 courses
|  | 150mm thick blockwork projecting 200mm from wall | [9 empty] | no
in 10 courses
|  | 150mm thick blockwork set back 400mm from wall | [9 empty] | no
in 15 courses
|  | 150mm thick blockwork set back 400mm from wall in | [9 empty] | no
12 courses
|  | 150mm thick blockwork set back 400mm from wall | [9 empty] | no
in 10 courses
|  | 150mm thick blockwork set back 200mm from wall | [9 empty] | no
in 15 courses
|  | 150mm thick blockwork set back 200mm from wall in | [9 empty] | no
12 courses
|  | 150mm thick blockwork set back 200mm from wall | [9 empty] | no
in 10 courses
|  | 100mm thick blockwork projecting 400mm from wall | [9 empty] | no
in 15 courses
|  | 100mm thick blockwork projecting 400mm from wall in | [9 empty] | no
12 courses
|  | 100mm thick blockwork projecting 400mm from wall | [9 empty] | no
in 10 courses
|  | 100mm thick blockwork projecting 200mm from wall | [9 empty] | no
in 15 courses
|  | 100mm thick blockwork projecting 200mm from wall in | [9 empty] | no
12 courses
|  | 100mm thick blockwork projecting 200mm from wall | [9 empty] | no
in 10 courses
|  | 100mm thick blockwork set back 400mm from wall | [9 empty] | no
in 15 courses
|  | 100mm thick blockwork set back 400mm from wall in | [9 empty] | no
12 courses
100mm thick blockwork set back 400mm from wall
|  | in 10 courses | [9 empty] | no
|  | 100mm thick blockwork set back 200mm from wall | [9 empty] | no
in 15 courses
|  | 100mm thick blockwork set back 200mm from wall in | [9 empty] | no
12 courses
|  | 100mm thick blockwork set back 200mm from wall | [9 empty] | no
in 10 courses
|  | Fairface pointing | [9 empty] | m2
|  | Raking out for flashing 0-100mm wide | [9 empty] | m
|  | Raking out for flashing 100-200mm wide | [9 empty] | m
|  | Cut Hole in 200mm blockwork for small pipe and make good | [9 empty] | no
|  | Cut Hole in 150mm blockwork for small pip and make good. | [9 empty] | no
|  | Cut Hole in 100mm blockwork for small pipe and make good | [9 empty] | no
|  | Cut Hole in 200mm blockwork for large pipe and make good | [9 empty] | no
|  | Ditto Hole in 150mm blockwork for large pipe ditto | [9 empty] | no
|  | Cut Hole in 100mm blockwork for large pipe and make good | [9 empty] | no
|  | Cut hole in blockwork wall for clean out ports (300x150mm wide x 200mm thick) and make good afteward | [9 empty] | no
|  | Approved 200mm thick block used as ventilation block and fixed with | [9 empty] | no
|  | Approved 150mm thick block used as ventilation block and fixed with | [9 empty] | no
cement mortar in mix 1: 3
|  | 100mm thick block used as ventilation block and fixed with | [9 empty] | no
TOTAL CARRIED TO SUMMARY
D 1 | METAL WORK
D 2 |  | Preambles
D 3 |  | Unless otherwise stated : The tables used for calculating the mass of members shall be stated.
D 4
D 5 | 200x100x10mm Metal blade intermediate post 2no | [9 empty] | 1.6 | m
D 8
D 9 | length= | 200= |  | 2 | 4 | 0.2 | 1 | 1.6
D 10 |  | 75mm diameter galvanised pipe handrails complete with 3no rail and | [9 empty] | m
D 11 |  | intermediate post 3no @ 600mm c-c, size 1000mm long x 900mm high
D 12 |  | cast in concrete
D 13
D 14
D 15
D 16
D 17
D 18 |  | 50mm diameter galv. pipe post complete with 6mm thick mild steel L-shaped bracket, welded at top, drilled twice for 12mm diameter bolt and base cast in concrete 3000mm long | [9 empty] | no
D 19
D 20
D 21
D 22
D 23
D 24
D 25 |  | 75mm diameter galv. pipe post complete with L-shaped bracket | [9 empty] | no
D 26 |  | welded at top, drilled twice for 12mm diameter bolts, and
D 27 |  | base cast in concrete, 3000mm long.
D 28
D 29
D 30
D 31
D 32
D 33 |  | 200 | [5 empty] | 1.6
D 34
D 35 | #REF! | [9 empty] | 0.6 | m
D 36
D 37 | length= | 100= |  | 1 | 6 | 0.1 | 1 | 0.6
D 38 |  | 100 | [5 empty] | 0.6
D 39
D 41 | 10mm diameter galvanised bolts complete with nut and 2 | [6 empty] | 26 |  |  | 26 | no
D 42 | washes, fixed to timber beam
D 43
D 44 |  | 12mm diameter galvanised bolts complete with nut and 2 | [9 empty] | no
D 45 |  | washers, cast in concrete beam to holding down bolts.
D 46
D 47
D 48
D 49 | 10mm diameter dyna bolts complete with nut and 2 | [6 empty] | 6 |  |  | 6 | no
D 50 | washes, fixed to timber beam
D 51
D 52 | 200mm wood screw | [6 empty] | 3 |  |  | 3 | no
D 53
D 55 | Epoxy glue 4ltr | [6 empty] | 1 |  |  | 1 | no
TOTAL CARRIED TO SUMMARY
METAL WINDOWS AND DOORS
Unless otherwise stated the following trade covers some materials that are not available in South Tarawa, actual prices for such materials shall be quoted from suppliers inclusive of landing costs and the like
Rates shall include for cartage to site, and installation as per manufacturer's recommendations
Rates for louver frame units shall include for all ncessary installations, proprietary fittigs, as per Manufacturer's specifications
Louver glass blade is measured seperately under Glazing trade
|  | Take delivery and install clear anodised alum Shop front standard section, frames included, door excluded 75 series, glazed with 8mm clear float glass | [9 empty] | m2 |  | 979.2
|  | Ditto but for 8mm toughened float glass ditto. | [9 empty] | m2
|  | Take delivery and install clear anodised single Aluminium door size 1990 x 910mm high complete with frame,mounted closer, glazed with 6mm toughened safety glass and other associated proprietary fittings | [9 empty] | no
|  | Supply and fix Louver frame- 12 blade | [9 empty] | pair
|  | Ditto but Louver frame-10 blade | [9 empty] | pair
|  | Ditto but for Louver frame - 9 blade | [9 empty] | pair
|  | Ditto but for Louver frame- 8-blade | [9 empty] | pair
E 1 | Ditto but for Louver frame-7blade | [6 empty] | 14 |  |  | 14 | pair
E 2
E 3 |  | Ditto but for Louver frame-6 blade | [9 empty] | pair
E 4
E 5 |  | Ditto but for Louver frame -5blade | [9 empty] | pair
E 6
E 7 | Ditto Louver frame -4blade | [6 empty] | 2 |  |  | 2 | pair
TOTAL CARRIED TO SUMMARY
CARPENTRY
Dampcourse
| ***** | 200mm wide damp-proof coursing laid under 200mm wide timber | [9 empty] | m
|  | 150mm wide damp-proof coursing laid under 150mm wide timber | [9 empty] | m
|  | 100mm wide damp-proof coursing laid under 100mm wide timber | [9 empty] | m
Sub floor framing
|  | 100x100mm jack stud | [9 empty] | m
|  | 200x50mm floor joist including noggings. | [9 empty] | m
|  | 300x50mm floor joist including noggings. | [9 empty] | m |  | 18
6
|  | 100x50mm herringbone strutting. | [9 empty] | m
|  | 150x50mm herringbone strutting | [9 empty] | m
|  | 200x50mm herringboe strutting | [9 empty] | m
F 1 | Post
F 2 |  | 150x50mm timber beam bolted to post. | [9 empty] | m
F 3
F 4 |  | 150x75mm timber beam / bearer bolted to post. | [9 empty] | m
F 5
F 6 | 100x100mm | [9 empty] | 15.96 | m
F 7
F 8 |  | 200x75mm timber beam / bearer bolted to post. | [9 empty] | m
F 9
F 10 |  | 200x100mm timber beam/bearer bolted to post. | [9 empty] | m
F 11
F 12 |  | 300x100mm timber beam/bearer bolted to post. | [9 empty] | m
F 13
F 14 |  | Timber Piles
F 15
F 16 |  | 300mm diameter timber pile set in concrete base | [9 empty] | m
F 17
F 18 |  | 200mm diameter timber pile set in concrete base | [9 empty] | m
F 19
F 20 |  | 6000mm long x 100x100mm timber post on bowmac post U-bracket | [9 empty] | no
F 21 |  | galvanised steel with base plate for bolted connection to suilt 100mm
F 22 |  | timber
F 23
F 24 |  | Plate
F 25 |  | 200x50mm wall plate bolted at 1500mm c-c | [9 empty] | m
F 26
F 27 |  | 100x50mm wall plate bolted at 1500mm c-c | [9 empty] | m
F 28 | length= | 2655= |  | 1 | 6 | 2.66 | 1 | 15.96
F 29 |  | 2655 | [5 empty] | 15.96
F 30
F 31 | Wall framing
F 32 |  | Plate
F 33 |  | 75x50mm (M.G) top & btm plate | [9 empty] | m
F 34
F 35 |  | 100x50mm (M.G) top & btm plate | [9 empty] | m
F 36
F 37 |  | Stud
F 38 |  | 75x50mm (M.G) | [9 empty] | m
F 39
F 40 |  | 100x50mm (M.G) | [9 empty] | m
F 41
F 42 |  | 150x50mm | [9 empty] | m
F 43
F 44 |  | Jack stud
F 45 |  | 75x50mm (M.G) | [9 empty] | m
F 46
F 47
F 48 |  | 100x50mm (M.G) | [9 empty] | m
F 49
F 50 |  | 150x50mm | [9 empty] | m
F 51
F 52 |  | Dwang
F 53 |  | 75x50mm (M.G) | [9 empty] | m
F 54
F 55 |  | 100x50mm (M.G) | [9 empty] | m
F 56
F 57 |  | 150x50mm | [9 empty] | m
F 58
F 59 | Beam
F 60 | 100x100mm | [9 empty] | 14.06 | m
F 61
F 62 |  | 150x100mm | [9 empty] | m
F 63
F 64 |  | 200x100mm | [9 empty] | m
F 65
F 66 |  | 250x100mm | [9 empty] | m
F 67
F 68 |  | Bracing
F 69 |  | Metal angle diagonal bracing | [9 empty] | m
F 70
F 71 |  | Plywood sheet bracing fixed over framing | [9 empty] | m2
F 72
F 73 | length= | 14255-200= |  | 1 | 1 | 14.06 | 1 | 14.06
F 74 |  | 14055 | [5 empty] | 14.06
F 75
F 76 | Roof and ceiling framing
F 77 |  | Ceiling joist
F 78 |  | 100x50mm | [9 empty] | m
F 79 |  | 150x50mm | [9 empty] | m
F 80 |  | 50x50mm | [9 empty] | m
F 81
F 82 |  | Ceiling dwang
F 83 |  | 100x50mm | [9 empty] | m
F 84 |  | 150x50mm | [9 empty] | m
F 85 |  | 50x50mm | [9 empty] | m
F 86
F 87
F 88 |  | Rafter
F 89 |  | 100x50mm | [9 empty] | m
F 90 |  | 150x50mm | [9 empty] | m
F 91 |  | 200x50mm | [9 empty] | m
F 92
F 93 |  | Collar tie
F 94 |  | 100x25mm | [9 empty] | m
F 95 |  | 150x25mm | [9 empty] | m
F 96 |  | 200x25mm | [9 empty] | m
F 97
F 98 |  | Strut and Brace
F 99 |  | 150x50mm | [9 empty] | m
F 100 |  | 100x50mm | [9 empty] | m
F 101 |  | 75x50mm | [9 empty] | m
F 102 |  | 50x50mm | [9 empty] | m
F 103
F 104 |  | Hip rafter
F 105 |  | 100x50mm | [9 empty] | m
F 106 |  | 150x50mm | [9 empty] | m
F 107 |  | 200x50mm | [9 empty] | m
F 108
F 109 |  | Valley rafter
F 110 |  | 100x50mm | [9 empty] | m
F 111 |  | 150x50mm | [9 empty] | m
F 112 |  | 200x50mm | [9 empty] | m
F 113
F 114 |  | Valley Board
F 115 |  | 200x50mm | [9 empty] | m
F 116 |  | 200x25mm | [9 empty] | m
F 117
F 118 |  | Prefabricated roof trusses (erection only)
F 119 |  | Up to 6m span | [9 empty] | No
F 120 |  | 9m span | [9 empty] | No
F 121 |  | 12m span | [9 empty] | No
F 122
F 123 |  | Purlin
F 124 |  | 100x50mm | [9 empty] | m
F 125 |  | 75x50mm | [9 empty] | m
F 126 |  | 50x50mm | [9 empty] | m
F 127
F 128 |  | Eaves / Gable framing
F 129 |  | 75x50mm | [9 empty] | m
F 130 |  | 100x50mm | [9 empty] | m
F 131 |  | 150x50mm | [9 empty] | m
F 132 |  | 50x50mm | [9 empty] | m
F 133
F 134
F 135 | Fascia board
F 136 | 200x25mm | [9 empty] | 45.44 | m
F 137
F 138 | length= | 21360+680*2= |  | 1 | 2 | 22.72 | 1 | 45.44
F 139 |  | 22720 | [5 empty] | 45.44
F 140
F 141 | Barge board
F 142 | 200x25mm | [9 empty] | 20.42 | m
F 143
F 144 |  | Ridge board
F 145 |  | 150x25mm | [9 empty] | m
F 146 |  | 200x25mm | [9 empty] | m
F 147 |  | 100x50mm | [9 empty] | m
F 148
F 149 | length= | 5105*4= |  | 1 | 1 | 20.42 | 1 | 20.42
F 150 |  | 20420 | [5 empty] | 20.42
F 151
F 152 | Battens
F 153 | Furring to floors, walls, ceilings and the like shall be measured seperately in
F 154 | metres
F 155 | Floors
F 156 |  | 20x 6mm strip batten | [9 empty] | m
F 157 |  | 50x6mm strip batten | [9 empty] | m
F 158 | 100x10mm strip batten | [9 empty] | 16 | m
F 159
F 160 | length= | 6000+5000*2= |  | 1 | 1 | 16 | 1 | 16
F 161 |  | 16000 | [5 empty] | 16
F 162
F 163 | Walls
F 164 | 20x 6mm strip batten | [9 empty] | 24 | m
F 165 |  | 50x6mm strip batten | [9 empty] | m
F 166 |  | 100x10mm strip batten | [9 empty] | m
F 167
F 168 | length= | 3000*8= |  | 1 | 1 | 24 | 1 | 24
F 169 |  | 24000 | [5 empty] | 24
F 170
F 171 | Ceiling
F 172 | 20x 6mm strip batten | [9 empty] | 71.92 | m
F 173 |  | 50x6mm strip batten | [9 empty] | m
F 174 |  | 100x10mm strip batten | [9 empty] | m
F 175
F 176 |  | Flooring and linings
F 177 |  | Plywood flooring on noggings | [9 empty] | m2
F 178 |  | Tongue and grooved 100x25mm | [9 empty] | m2
F 179 |  | Tongue and grooved 100x25mm end matched | [9 empty] | m2
F 180
F 181 |  | Particle board 20mm thick | [9 empty] | m2
F 182
F 183 |  | Extra value for forming mitred angles | [9 empty] | m
F 184 |  | Extra value for forming inscribed angles | [9 empty] | m
F 185 |  | Extra value for stripping lining not exceeding 300mm wide | [9 empty] | m
F 186
F 187
F 188 |  | Sheathings to beams, columns, and dados
F 189 |  | Hardboard cladding | [9 empty] | m2
F 190 |  | Gib plastered board | [9 empty] | m2
F 191
F 192 |  | Raking cutting to lining | [9 empty] | m
F 193
F 194 |  | Form recess in lining for light fittings | [9 empty] | no
F 195
F 196 |  | Sanding to surface of flooring to receive a smooth finish | [9 empty] | m2
F 197 |  | (Flush and clean, fine sanding to floor including punching nails and filling holes)
F 198
F 199 | length= | 21360*2+7300*4= |  | 1 | 1 | 71.92 | 1 | 71.92
F 200 |  | 71920 | [5 empty] | 71.92
F 201
F 202 | Lining and Cladding
F 203 | Wall
F 204 | Hardboard lining nailed on timber frame | [10 empty] | m2
F 205
F 206
F 207
F 208 |  | Hardboard cladding nailed on timber frame | [9 empty] | m2
F 209
F 210 |  | Extra value to lining not exceeding 300mm girth | [9 empty] | m
F 211
F 212 |  | Stop last with appropriate stopping compound to receive paint finish level | [9 empty] | m2
F 213
F 214 |  | Rake cutting to last | [9 empty] | m
F 215
F 216 |  | Circular cutting to last | [9 empty] | m
F 217
F 218 |  | Form fair edges to internal angle | [9 empty] | m
F 219
F 220 |  | Form fair edges to external angle | [9 empty] | m
F 221
F 222 |  | Eaves, Gable, & Verge
F 223 |  | Eaves
F 224 |  | Hardboard cladding to eaves | [9 empty] | m2
F 225
F 226 |  | Extra value to lining not exceeding 300mm girth | [9 empty] | m
F 227
F 228 |  | Stop last with appropriate stopping compound to receive paint finish level | [9 empty] | m2
F 229 |  | -
F 230 |  | Rake cutting to last | [9 empty] | m
F 231
F 232 |  | Circular cutting to last | [9 empty] | m
F 233
F 234 |  | 100x25mm timber batten to eaves | [9 empty] | m
F 235
F 236 | Gable end
F 237 | Hardboard cladding to gable | [9 empty] | 6.3875 | m2
F 238
F 239 |  | Extra value to lining not exceeding 300mm girth | [9 empty] | m
F 240
F 241 |  | Stop last with appropriate stopping compound to receive paint finish level | [9 empty] | m2
F 242
F 243 |  | Rake cutting to last | [9 empty] | m
F 244
F 245 |  | Ex 150x25mm fixed timber louvre to gable | [9 empty] | m
F 246
F 247
F 248
F 249 |  | Verge soffit
F 250 |  | Hardboard cladding to verge soffit | [9 empty] | m2
F 251
F 252 |  | Extra value to lining not exceeding 300mm girth | [9 empty] | m
F 253
F 254 |  | Stop last with appropriate stopping compound to receive paint finish level | [9 empty] | m2
F 255
F 256 |  | Rake cutting to last | [9 empty] | m
F 257
F 258 |  | 100x25mm timber batten to eaves | [9 empty] | m
F 259
F 260 | length= | 3650/2= |  | 4 | 0.5 | 1.825 | 1.75 | 6.3875
F 261 |  | 1825
F 262
F 263 | height= | 1750 | [5 empty] | 6.3875
F 264
F 265 | Ceiling
F 266 | Hardboard ceiling or smilar | [9 empty] | 144.624 | m2
F 267
F 268 |  | Extra value to lining not exceeding 300mm girth | [9 empty] | m
F 269
F 270 |  | Stop last with appropriate stopping compound to receive paint finish level | [9 empty] | m2
F 271
F 272 |  | Rake cutting to last | [9 empty] | m
F 273
F 274
F 275 |  | Form mitred internal corners to cornice | [9 empty] | no
F 276
F 277
F 278 | length= | 21360-200*2= |  | 1 | 1 | 20.96 | 6.9 | 144.624
F 279 |  | 20960
F 280
F 281 | width= | 7300-200*2=
F 282 |  | 6900 | [5 empty] | 144.624
F 283
F 284
F 285
F 286 | Finishing trim
F 287 |  | 50x25mm birdbatten | [8 empty] | 12 | m
F 288 | 20x20mm window batten | [9 empty] | 33.21 | m
F 289 |  | 50x25mm grooved skirting | [8 empty] | 12 | m
F 290 |  | 50x15mm grooved Architraves | [8 empty] | 12 | m
F 291 |  | 150x15mm sill board | [8 empty] | 12 | m
F 292 |  | 150x15mm facing | [8 empty] | 12 | m
F 293
F 294 | window type 1 length= | 1610*2+1030*2= |  | 1 | 5 | 5.28 | 1 | 26.4
F 295 |  | 5280
F 296
F 297 | window type 2 length= | 2375*2+1030*2= |  | 1 | 1 | 6.81 | 1 | 6.81
F 298 |  | 6810 | [5 empty] | 33.21
TOTAL CARRIED TO SUMMARY
PROPRIETARY TOILET SCREENS
Note: Proprietary or specifically designed screens for toilet, showers, etc, shall be
described in accordance with the manufacturer's catalogue and / or as defined by
the drawings and specifications
Prices are for supply and installation of standard standard size partitions
Prices are for 1800mm panels for 150mm high pedestals
Toilet partitions including including aluminium fixing channels and indicator
bolts with
|  | Aluminium panels stucco finish | [9 empty] | m2
|  | Fibre cement compressed sheet panels 18mm thick painted | [9 empty] | m2
TOTAL CARRIED TO SUMMARY
COMPUTER FLOORS
Note: Proprietary or specifically designed computer floors shall be described
in accordance with the manufacture'rs catalogue and / or as defined by the drawings
and specifications and scheduled approprieately.
TOTAL CARRIED TO SUMMARY
SEALANTS
Note: Joint sealing compound shall be measured in meters, stating the type, grade,
sectional size and backing material required. Primers for sealants and masking shall
be deemed to be included
Expansion joint 12mm wide filled with fibreboard and polysulphide sealant 25mm
deep
|  | In concrete slab (100-150mm thick) | [9 empty] | m
|  | In concrete wall (150-250mm thick) | [9 empty] | m
|  | Vertical control joint, 10mm wide in wall, includes polyethylene rod and | [9 empty] | m
mastic pointing
TOTAL CARRIED TO SUMMARY
LAMINATED TIMBER
Note: Rates shall include for manufacture, delivery, hoisting and fixing in
position complete with all nails, fitting, cutting, boring, morticing and the like and
including protection where necessary
Portal frame, of laminated rafters, and legs including metal base shoes
and plywook fixings
|  | Take delivery, hoist, set, and fix in postion 12m span Portal frame | [9 empty] | no
|  | Ditto but 15 span | [9 empty] | no
|  | Ditto but 20m span | [9 empty] | no
|  | Ditto but 25m span | [9 empty] | no
Laminated beam
|  | Take delivery, hoist, set, and fix in postion laminated beam | [9 empty] | no
in H1 Radiata pine, sanded melamine adhesive industrial sealed 42-90mm
thick by 450mm deep
TOTAL CARRIED TO SUMMARY
JOINERY
Preambles:
For joinery works this shall mean all items such as doors, windows, frames,
cupboards, and the like normally constructed in joinery centres. Unless otherwise stated
all joinery timbers shall be MG
Windows:
|  | Approved 200x50mm , once rebated , grooved window head and jamb or similar | [9 empty] | m
|  | Ditto but 200x50mm window mullion ditto | [9 empty] | m
|  | Ditto 200x50mm grooved and bevelled dakua window sill ditto | [9 empty] | m
|  | Approved 100x50mm , once rebated , grooved window head and jamb or similar | [9 empty] | m
|  | Ditto 100x50mm window mullion ditto | [9 empty] | m
|  | Ditto 150x50mm grooved and bevelled window sill ditto | [9 empty] | m
Doors
|  | Approved 200x50mm , once rebated , grooved door head and jamb or similar | [9 empty] | m
|  | Ditto 200x50mm grooved and bevelled door sill | [9 empty] | m
|  | Approved 100x50mm , once rebated , grooved door head and jamb or similar | [9 empty] | m
|  | Ditto150x50mm grooved and bevelled door sill | [9 empty] | m
Doors
Preambles:
Rates for door do not include for ironmongery unless otherwise
stated.
|  | 2000x800x40mm standard flush door with ply lining | [9 empty] | no
G 1 | 1960x760x40mm standard flush door with hardboard lining. | [6 empty] | 2 |  |  | 2 | no
G 2
G 3 |  | 2000x800x40mm solid core door with top perspex panel (0.7m wide x 0.7m high) | [9 empty] | no
G 4
G 5
G 6
G 7
G 8
G 9 |  | 2000x800x40mm panel door with perspex at top, (0.7m x 0.7m high) and plywood at | [9 empty] | no
G 10 |  | bottom
G 11
G 12
G 13
G 14
G 15
G 16 |  | 2040x800x40mm External solid core door. | [9 empty] | no
G 17
G 18
G 19 |  | Stairs
G 20 |  | Timber for stairs (closed stair)
G 21
G 22 |  | 2no -250x50mm string | [9 empty] | m
G 23 |  | 300x40mm tread | [9 empty] | m
G 24 |  | 200x25mm riser | [9 empty] | m
G 25 |  | 100x50mm wedges / glue blocks (13no per m at 300mm long) | [9 empty] | m
G 26
G 27
G 28 |  | Timber for stairs (Open stair)
G 29 |  | 2no -300x50mm undercarriage | [9 empty] | m
G 30 |  | 300x40mm tread | [9 empty] | m
G 31 |  | 200x25mm riser | [9 empty] | m
G 32 |  | 100x50mm wedges / glue blocks (13no per m at 300mm long) | [9 empty] | m
G 33 |  | Include bracket / cleat fixings | [9 empty] | sum
G 34
G 35 |  | Newel
G 36 |  | 100x100mm newel | [9 empty] | m
G 37
G 38 |  | Handrail
G 39 |  | 1000mmx800mm high handrail 100x50mm top and btm frame and 100x25mm hit and miss boarding at 100mm c-c (11nos) | [9 empty] | m
G 40
G 41
G 42
G 43
G 44
G 45
G 46 |  | Extra value over straight handrails to changes in direction and level | [9 empty] | no
G 47 |  | (Allow 30% extra loading for labour and material to account for such effects)
G 48
G 49
G 50 |  | Fittings:
G 51 |  | Preambles
G 52 |  | For fitments these shall be quoted from the individual joinery suppliers. The
G 53 |  | actual dimensions, and specification shall also be obtained from the working drawing or vice versa
G 54 |  | from the joinery centres
G 55
G 56 |  | Take delivery and handover to carpenter the following fitment to install in position
G 57
G 58 |  | Executive desk | [9 empty] | no
G 59 |  | Counter shelve | [9 empty] | no
G 60 |  | Conference table | [9 empty] | no
G 61 |  | Receptition desk | [9 empty] | no
G 62 |  | Table | [9 empty] | no
G 63 |  | chairs | [9 empty] | no
G 64 |  | Bed | [9 empty] | no
G 65 |  | Student desk | [9 empty] | no
G 66 |  | wardrobe | [9 empty] | no
G 67 |  | cupboard | [9 empty] | no
G 68 | 1960x775x40mm standard flush door with hardboard lining. | [6 empty] | 3 |  |  | 3 | no
G 69
G 70 | 1960x750x40mm standard flush door with hardboard lining. | [6 empty] | 1 |  |  | 1 | no
G 71
G 72 | 1960x765x40mm standard flush door with hardboard lining. | [6 empty] | 2 |  |  | 2 | no
TOTAL CARRIED TO SUMMARY
HARDWARE
H 1 | 100mm butt brass hinges with screws. | [6 empty] | 8 |  |  | 8 | no
H 2
H 3 |  | Plain mortice lock complete with handles and keys. | [9 empty] | no
H 4
H 5
H 6
H 7 | Rebated mortice lock complete with handles and keys. | [6 empty] | 7 |  |  | 7 | no
H 8
H 9 |  | Night latch lock complete with handles and keys. | [9 empty] | no
H 10
H 11
H 12
H 13 |  | 100mm barrel bolts with screws. | [9 empty] | no
H 14
H 15
H 16 | 150mm barrel bolts with screws. | [6 empty] | 4 |  |  | 4 | no
| Toilet indicator bolt with screws. | [10 empty] | no
Toilet Roll Holders
Standard toilet roll holder, screw fixed to wall
| Chrome finish | [10 empty] | no
TOTAL CARRIED TO SUMMARY
ROOFING
I 1 | Approved color bond corrugated roof zincalume or similar fix at the height of 2-3m from ground floor | [9 empty] | 231.9712 | m2
I 2 | on timber purlin with side laps of 710mm and end laps of 200mm
I 3
I 4 | length= | 21360+680*2= |  | 1 | 2 | 22.72 | 5.105 | 231.9712
I 5 |  | 22720
I 6
I 7 |  | width=5105 | [5 empty] | 231.9712
I 8
I 9 | Netting and Paper
I 10 | Sisalation alum. foil one side fix over purlin and lapped at 300mm wide | [9 empty] | 231.9712 | m2
I 11
I 12 |  | Wire mesh | [9 empty] | m2
I 13
I 14
I 15 | length= | 21360+680*2= |  | 1 | 2 | 22.72 | 5.105 | 231.9712
I 16 |  | 22720
I 17
I 18 |  | width=5105 | [5 empty] | 231.9712
I 19
I 20 | Alum. ridge capping | [9 empty] | 24.52 | m
I 21
I 22 | length= | 21360+680*2= |  | 1 | 1 | 22.72 | 1 | 22.72
I 23 |  | Alum hip capping | [9 empty] | m
I 24
I 25
I 26 |  | Alum. roof flashing. | [9 empty] | m
I 27
I 28 |  | Extra value for rake cutting to both sides of hips | [9 empty] | m
I 29
I 30 |  | Extra value for rake cutting to roof sheet | [9 empty] | m
I 31
I 32 |  | Extra value for forming opening for vent pipe, 0-100mm diameter | [9 empty] | no
I 33
I 34 |  | 22720
I 35
I 36 | laps= | 22720/2400= |  | 1 | 9 | 0.2 | 1 | 1.8
I 37 |  | 9.4667
I 38
I 39 |  | 200 lap | [5 empty] | 24.52
I 40
I 41 | Alum gutter | [9 empty] | 49.04 | m
I 42
I 43 | length= | 21360+680*2= |  | 1 | 2 | 22.72 | 1 | 45.44
I 44 |  | Alum hip capping
I 45 | [11 empty] | no
I 46
I 47 |  | Alum. roof flashing. | [9 empty] | no
I 48
I 49 |  | Extra value for rake cutting to both sides of hips
I 50 | [11 empty] | m
I 51 |  | Extra value for rake cutting to roof sheet
I 52
I 53 |  | Extra value for forming opening for vent pipe, 0-100mm diameter
I 54
I 55 |  | 22720
I 56
I 57 | laps= | 22720/2400= |  | 2 | 9 | 0.2 | 1 | 3.6
I 58 |  | 9.4667
I 59
I 60 |  | 200 lap | [5 empty] | 49.04
I 61
I 62 | Stop ends | [6 empty] | 4 |  |  | 4 | no
I 63
I 64 |  | External mitre joint to gutter. | [9 empty] | no
I 65
I 66 |  | Internal mitre joint to gutter. | [9 empty] | no
I 67
I 68
I 69 | Outlet to gutter 100mm diameter. | [6 empty] | 2 |  |  | 2 | no
I 70
I 71 |  | Outlet to gutter 75mm diameter. | [9 empty] | no
I 72
I 73
I 74 | 100mm diameter Pvc downpipe including clips fixed to wall | [9 empty] | 12 | m
I 75
I 76 | length= | 6000*2= |  | 1 | 1 | 12 | 1 | 12
I 77 |  | 12000 | [5 empty] | 12
I 78
I 79 | 100mm diameter bend | [6 empty] | 4 |  |  | 4 | no
| 100mm diameter tee | [10 empty] | no
|  | 75mm diameter downpipe including clips. | [9 empty] | m
|  | 75mm diameter bend | [9 empty] | no
|  | 75mm diameter tee | [9 empty] | no
| TOTAL CARRIED TO SUMMARY | [12 empty] | #REF!
PLUMBING
Pipework
J 1 | Incoming pvc pipe 20mm diameter pvc fixed with clips on wall for water reticulation | [9 empty] | 18.2 | m
J 2
J 3 | Rain water outlet pipe leng= | 600+300+200+500+3000= |  | 1 | 1 | 4.6 | 1 | 4.6
J 4 |  | 4600
J 5
J 6 | Ditto but 25mm ditto | [10 empty] | m
J 7
J 8 | well inlet pipe length= | 600+2500+1000+1400+6000+1500+600= |  | 1 | 1 | 13.6 | 1 | 13.6
J 9 |  | 13600 | [5 empty] | 18.2
J 10
J 11 | Extra value for 20mm diameter bend | [6 empty] | 6 |  |  | 6 | no
J 12
J 13 | Extra value for 20mm diameter tee | [6 empty] | 1 |  |  | 1 | no
J 14
J 15 | Extra value for 20mm diameter male adaptor | [6 empty] | 2 |  |  | 2 | no
J 16
J 17 | Extra value for 20mm diameter female adaptor | [6 empty] | 1 |  |  | 1 | no
J 18
J 19 |  | Extra value for 25mm diameter bend | [9 empty] | no
J 20
J 21 |  | Extra value for 25mm diameter tee | [9 empty] | no
J 22
J 23 |  | Extra value for 25mm diameter male adaptor | [9 empty] | no
J 24
J 25 |  | Extra value for 25mm diameter female adaptor | [9 empty] | no
J 26
J 27 |  | 40mm diameter pvc pipe running from plumbing fittings and terminated outside | [9 empty] | m
J 28 |  | building
J 29
J 30 |  | 40mm diameter pvc bend | [9 empty] | no
J 31
J 32 |  | 40mm diameter tee | [9 empty] | no
J 33
J 34 |  | 40x32mm reducing bush | [9 empty] | no
J 35
J 36
J 37 |  | 32mm diameter pvc pipe running from plumbing fittings and terminated outside | [9 empty] | m
J 38 |  | building
J 39
J 40 |  | 32mm diameter pvc bend | [9 empty] | no
J 41
J 42 |  | 32mm diameter tee | [9 empty] | no
J 43
J 44
J 45
J 46 | Vent pipe
J 47 | 100mm diameter pvc vent pipe fixed with clips to wall | [9 empty] | 4.1 | m
J 48
J 49 | length= | 3000+700+400= |  | 1 | 1 | 4.1 | 1 | 4.1
J 50 |  | 4100 | [5 empty] | 4.1
J 51
J 52 | 100mm diameter pvc tee | [6 empty] | 1 |  |  | 1 | no
J 53
J 54 | 100mm diameter bend | [6 empty] | 2 |  |  | 2 | no
J 55
J 56 | Plumbing fittings
J 57
J 58 | W.C. pan suite complete with cistern, seat, lid, gate valve, and | [6 empty] | 1 |  |  | 1 | no
J 59 | pan adaptor.
J 60
J 61 | Wash hand basin complete with bracket, cold tap, trap, and | [6 empty] | 1 |  |  | 1 | no
J 62 | plug and waste.
J 63
J 64 |  | Sink unit of double bowl double drainer 1800mm long complete
J 65 |  | with cold tap, trap, and plug and waste. | [9 empty] | no
J 66
J 67
J 68
J 69
J 70
J 71
J 72
J 73 |  | Sink unit of single bowl double drainer 1800mm long complete | [9 empty] | no
J 74 |  | with cold tap, trap, and plug and waste.
J 75
J 76
J 77
J 78
J 79
J 80
J 81
J 82
J 83 |  | Laundry trough single unit complete with cold tap, trap, and | [9 empty] | no
J 84 |  | plug and waste
J 85
J 86
J 87
J 88
J 89
J 90
J 91
J 92 |  | Laundry trough double unit complete with cold tap, trap, and | [9 empty] | no
J 93 |  | plug and waste
J 94
J 95
J 96
J 97
J 98
J 99
J 100
J 101
J 102
J 103 |  | Bath tub 1800mm long complete with trap, standpipe with tap, | [9 empty] | no
J 104 |  | and plug and waste
J 105 |  | 0
J 106
J 107
J 108
J 109
J 110
J 111
J 112
J 113
J 114 |  | Shower tray 762mm square complete with trap, plug and waste complete | [9 empty] | no
J 115
J 116
J 117
J 118
J 119
J 120 |  | Shower unit complete with shower arm, rose, and valve.
J 121 | [11 empty] | no
J 122
J 123
J 124
J 125
J 126
J 127
J 128
J 129 | Shower set | [6 empty] | 1 |  |  | 1 | no
TOTAL CARRIED TO SUMMARY
DRAINAGE
Preambles:
Rates for trenching include excavation, backfilling, consolidating, carting away
surplus material, maintaining and supporting sides of trenches, grading bottoms,
and keeping free from water
|  | Excavate trench for pipe 0-150mm | [9 empty] | m
|  | Extra value for opening of roads | [9 empty] | m
|  | Lay pvc pipe 100 mm diameter in trench | [9 empty] | m
|  | Ditto but 150 ditto | [9 empty] | m
|  | Ditto but 75mm diameter ditto | [9 empty] | m
|  | Ditto but 40mm diameter ditto | [9 empty] | m
Fittings
|  | 100mm dia bend | [9 empty] | no
|  | 100mm dia tee | [9 empty] | no
|  | 100mm dia y junction | [9 empty] | no
|  | 150mm bend | [9 empty] | no
|  | 150mm dia tee | [9 empty] | no
|  | 150mm dia y-junction | [9 empty] | no
|  | 75mm bend | [9 empty] | no
|  | 75mm dia tee | [9 empty] | no
|  | 75mm dia y-junction | [9 empty] | no
|  | 100mm Gully trap | [9 empty] | no
|  | Manholes | [9 empty] | no
|  | inspection champer | [9 empty] | no
|  | Septic tank type 3 size: 3.2x1.2x2m deep | [9 empty] | no
TOTAL CARRIED TO SUMMARY
FIRE PROTECTION
|  | Approved Hand held fire extinguishers, wall mounted 9kg dry powder | [9 empty] | no
|  | Approved smoke detectors (battery operated) fix in position | [9 empty] | no
TOTAL CARRIED TO SUMMARY
ELECTRICAL SERVICES
Preambles:
Final external colors of the boards shall be as selected by the Architect.
Rates for circuits include for all circuit wiring, connections at boards, terminations
at outlets, outlet boxes and for all cutting away, drilling through timber and the like and
making good and all clips and other fixings.
Where circuits are run in conduit rates shall include for supplying and fixing all
conduit complete with all fixings and brackets, including building into concrete or
blockwork where required and for cutting neat openings in blockwork for outlet
boxes and the like.
K 1 | Main switchboard and distribution board
K 2
K 3 | Switchboard complete with circuit breakers, wiring and connections and other | [6 empty] | 1 |  |  | 1 | no
K 4 | associated component as detailed.
K 5
K 6 | Mains
K 7 | 32 arm main circuit breaker and connection fee | [6 empty] | 1 |  |  | 1 | no
K 8
Air condition circuit
| Circuit wiring using 2.5mm2 cable from switchboard to ceiling spaces with droppers | [6 empty] | 3 |  |  | 3 | no
#REF!
K 9 | Light Circuit
K 10 | Circuit wiring using 1.5mm2 cable from switchboard to ceiling spaces with droppers | [6 empty] | 2 |  |  | 2 | no
K 11 | #REF!
K 12
K 13
K 14 | Power circuit
K 15 | Circuit wiring using 2.5mm2 cable from switchboard to ceiling spaces with droppers | [6 empty] | 2 |  |  | 2 | no
K 16 | #REF!
K 17
K 18 | Ceiling fan circuit
K 19 | Circuit wiring using 1.5mm2 cable from switchboard to ceiling spaces with droppers | [6 empty] | 2 |  |  | 2 | no
K 20 | #REF!
K 21
K 22
K 23
K 24
K 25 | Fittings
K 26 | Air condition wall mounted 18000 btu | [10 empty] | no
K 27
K 28 | Split unit air condition ceiling mounted | [6 empty] | 3 |  |  | 3 | no
K 29
K 30 | 4'0" fluorescent light fittings single tube complete. | [6 empty] | 6 |  |  | 6 | no
K 31
K 32 | 2'0" fluorescent light fittings single tube complete. | [6 empty] | 3 |  |  | 3 | no
K 33
K 34 | 2'0" fluorescent light fittings double tube complete. | [10 empty] | no
K 35
K 36 | Gable wire 1.5mm | [6 empty] | 3 |  |  | 3 | no
K 37
K 38 | Gable wire 2.5mm | [6 empty] | 3 |  |  | 3 | no
K 39
K 40 | Gable wire 4mm | [6 empty] | 1 |  |  | 1 | no
K 41
K 42 | Ceiling fan 48" | [6 empty] | 4 |  |  | 4 | no
K 43
K 44 | General power outlet single complete. | [10 empty] | no
K 45
K 46 | General power outlet double complete. | [6 empty] | 8 |  |  | 8 | no
K 47
K 48 | Light switch one way | [6 empty] | 4 |  |  | 4 | no
K 49
K 50 | Light switch two way | [10 empty] | no
K 51
K 52 | Fan switch | [6 empty] | 2 |  |  | 2 | no
K 53
K 54 | Allow for earthing and bonding | [6 empty] | 1 |  |  | 1 | item
General
| Allow for testing | [10 empty] | item
TOTAL CARRIED TO SUMMARY
PROPRIETARY PARTITIONS
Particulars shall be given of performance qualities required (e.g Sound Rating, Fire
Rating, Impact Testing, Loads, etc)
|  | Demountable partitions steel stud partitions 57mm thick steel stud or similar | [9 empty] | m
at 1.2m c-c and alum cover battens to joints, 10mm vinyl clad
plaster boards both sides
Extra value for:
|  | Wall Starters | [9 empty] | no
|  | Intersection and corners | [9 empty] | no
|  | Fair ends | [9 empty] | no
|  | Doors and door frames | [9 empty] | no
|  | Isolated borrowed light | [9 empty] | no
TOTAL CARRIED TO SUMMARY
SPECIALIST FINISHES
SOLID PLASTER
Floor
|  | 20mm thick cement and sand (1:3) screed trowel smooth. | [9 empty] | m2
m2
20mm thick cement and sand (1:3) screed broom finish.
|  | 25mm thick cement and sand (1:3) screed trowel smooth. | [9 empty] | m2
|  | 25mm thick cement and sand (1:3) screed broom finish. | [9 empty] | m2
L 1 | TILING
L 2 |  | Lay and set vinyl tile on adhesive backing. | [9 empty] | m2
L 3
L 4
L 5
L 6
L 7
L 8 |  | 152x152mm ceramic floor tile on adhesive backing. | [9 empty] | m2
L 9
L 10
L 11
L 12
L 13 |  | Lay and set mosaic floor tile on and including screed backing. | [9 empty] | m2
L 14
L 15
L 16
L 17
L 18 |  | Lay and set quarry tile on and including screed backing. | [9 empty] | m2
L 19
L 20
L 21
L 22
L 23
L 24 |  | Lay and set carpet tile on underlay and adhesive backing. | [9 empty] | m2
L 25 |  | Labour - 1 carpenter at 3.0 mhrs
L 26 |  | Carpet floor tile wool woven (PC 100.00/m2 supplied)
L 27 |  | Rubber underlay (PC 10.00/m2 supplied)
L 28
L 29
L 30 | Lay and set 300x300mm ceramic tile on adhesive backing | [9 empty] | 142.8305 | m2
L 31
L 32 | room1 length= | 14055 |  | 1 | 1 | 14.055 | 6.9 | 96.9795
L 33
L 34 |  | width=6900
L 35
L 36 | room 2 length= | 6805 |  | 1 | 1 | 6.805 | 4.685 | 31.8814
L 37 |  | Wall
L 38 |  | Exterior Blockwork | [9 empty] | m2
L 39 |  | 12mm thick cement and sand (1:3) render in two coats
L 40
L 41 |  | 20mm thick cement and sand (1:3) render | [9 empty] | m2
L 42
L 43 |  | Interior Blockwork
L 44 |  | 12mm thick cement and sand (1:3) render in two coats | [9 empty] | m2
L 45
L 46
L 47 |  | 20mm thick cement and sand (1:3) render | [9 empty] | m2
L 48
L 49
L 50 |  | WALL CERAMIC TILE
L 51 |  | 150x150mm Ceramic wall tile on adhesive backing. | [9 empty] | m2
L 52
L 53
L 54
L 55
L 56
L 57 |  | width=4685
L 58
L 59 | room 3 length= | 4395 |  | 1 | 1 | 4.395 | 2.115 | 9.2954
L 60
L 61 |  | width=2115
L 62
L 63 | Toilet room= | 2210 |  | 1 | 1 | 2.21 | 2.115 | 4.6742
L 64
L 65 |  | width=2115 | [5 empty] | 142.8305
TOTAL CARRIED TO SUMMARY
PAINTING AND DECORATION
M 1 | INTERIOR PAINTING AND DECORATION
M 2 | Ceiling
M 3 | Prepare surface and apply an approved painting system Acrylic sealer, 2 coats of undercoat , and 2 coats of semi gloss or similar to ceiling | [9 empty] | 144.925 | m2
M 4
M 5 | room1 length= | 21360-6805-100-200 block width= |  | 1 | 1 | 14.255 | 6.9 | 98.3595
M 6 |  | 14255
M 7
M 8 |  | width=7300-200*2
M 9 |  | 6900
M 10
M 11 | Boardroom length= | 6805 |  | 1 | 1 | 6.805 | 4.79 | 32.596
M 12
M 13 |  | width=7300-2115-(200*2)
M 14 |  | 4785
M 15
M 16 | Store room length= | 4395 |  | 1 | 1 | 4.395 | 2.115 | 9.2954
M 17
M 18 |  | width=2115
M 19
M 20 | Toilet room= | 6805-4395-200= |  | 1 | 1 | 2.21 | 2.115 | 4.6742
M 21 |  | 2210
M 22
M 23 |  | width=2115 | [5 empty] | 144.925
M 24
M 25 | Wall
M 26 | Prepare Surfaces and apply an approved painting system:
M 27 | Two coats of Dulux Arcylic Sealer, undercoat and two coats Super enamel or Satin or similar to plastered surfaces | [9 empty] | 116.6852 | m2
M 28
M 29 | Building length= | (21360-200*2)+(7300-200*2)= |  | 1 | 2 | 27.86 | 2.8 | 156.016
M 30 |  | 27860
M 31
M 32 |  | height=2800
M 33
M 34 | Patition 3 length= | 2115 |  | 1 | 2 | 2.115 | 2 | 8.46
M 35
M 36 |  | height=2000 | [5 empty] | 164.476
M 37
M 38 | window ddt
M 39 | window 1 length= | 1610*12= |  | 1 | 1 | 19.32 | 1.96 | 37.8672
M 40 |  | 19320
M 41
M 42 |  | height=1960
M 43
M 44 | window 2 length= | 2380*2= |  | 1 | 1 | 4.76 | 1.96 | 9.3296
M 45 |  | 4760
M 46
M 47 |  | height=1960
M 48
M 49 | window 3 length= | 660*2= |  | 1 | 1 | 1.32 | 0.45 | 0.594
M 50 |  | 1320
M 51
M 52 |  | height=450 | [5 empty] | 116.6852
M 53
M 54 | Hardboard
M 55 | Acrylic sealer, 2 coats of undercoat , and 2 coats of semi gloss to hardboard or similar | [9 empty] | 48.3 | m2
M 56
M 57 | Patition 1 length= | 6900 |  | 1 | 2 | 2.8 | 2.8 | 15.68
M 58
M 59 |  | height=2800
M 60
M 61 | Patition 2 length= | 6805 |  | 1 | 2 | 6.805 | 2.8 | 38.108
M 62
M 63 |  | height=2800 | [5 empty] | 53.788
M 64
M 65 | window ddt
M 66 | window = | 2380 |  | 1 | 1 | 2.38 | 1.05 | 2.499
M 67
M 68 |  | height=1050
M 69
M 70 | door ddt
M 71 | door 1 length= | 775 |  | 1 | 1 | 0.775 | 1.96 | 1.519
M 72
M 73 |  | height=1960
M 74
M 75 | door 2 length= | 750 |  | 1 | 1 | 0.75 | 1.96 | 1.47
M 76
M 77 |  | height=1960 | [5 empty] | 48.3
M 78
M 79
M 80 | Prepare and apply three coats varnish on timber boarding. | [10 empty] | m2
M 81
M 82
M 83 | Interior painting Timber
M 84 | Prepare surfaces and apply one coat prime, one undercoat, one coat
M 85 | of semi gloss and coat enamel
M 86
M 87 | Narrow surfaces 0-150mm girth | [10 empty] | m
M 88 | Narrow surfaces 0-300mm girth | [10 empty] | m
M 89 | General Surfaces | [10 empty] | m2
M 90
M 91
M 92
M 93
M 94 | Exterior Painting and Decoration
M 95
M 96 | Hardboard
M 97 | Acrylic sealer, 2 coats of undercoat , and 2 coats of semi gloss to hardboard or similar | [10 empty] | m2
M 98
M 99
M 100 | Blockwork surfaces (unplastered)
M 101 | Three coats of Dulux Arcylic Sealer undercoat and three coats Super enamel or Satin | [9 empty] | 146.082 | m2
M 102
M 103 | external building length= | 21360*2+7300*2= |  | 1 | 1 | 57.32 | 3 | 171.96
M 104 |  | 57320
M 105
M 106 |  | height=3000
M 107
M 108 | window ddt
M 109 | window 1 length= | 1610*12= |  | 1 | 1 | 19.32 | 1.05 | 20.286
M 110 |  | 19320
M 111
M 112 |  | height=1050
M 113
M 114 | window 2 length= | 2380*2= |  | 1 | 1 | 4.76 | 1.05 | 4.998
M 115 |  | 4760
M 116
M 117 |  | height=1050
M 118
M 119 | window 3 length= | 660*2= |  | 1 | 1 | 1.32 | 0.45 | 0.594
M 120 |  | 1320
M 121
M 122 |  | height=450 | [5 empty] | 146.082
M 123
M 124 | Exterior painting Timber
M 125 | Prepare surfaces and apply one coat prime, one undercoat, one coat
M 126 | of semi gloss and coat enamel
M 127
M 128
M 129 | Narrow surfaces 0-150mm girth | [10 empty] | m
M 130 | Narrow surfaces 0-300mm girth | [9 empty] | 45.32 | m
M 131 | General Surfaces | [10 empty] | m2
M 132
M 133 | length= | 21360+650*2= |  | 1 | 2 | 22.66 | 1 | 45.32
M 134 |  | 22660 | [5 empty] | 45.32
TOTAL CARRIED TO SUMMARY
GLAZING / SECURITY WIRE MESHING
|  | 24" x 6" (710 x 150mm) clear glass blade. | [9 empty] | No
0
|  | 28"x6" (711x 150mm) clear glass blade | [9 empty] | No
|  | 30"x6" (762x150mm) clear glass blade. | [9 empty] | No
|  | 32"x6" (813x150mm) clear glass blade | [9 empty] | No
| 36"x6" (914x150mm) clear glass blade | [10 empty] | No
|  | 24"x 6" (710x150mm) obscure glass blade. | [9 empty] | No
|  | 28" x6"(711x150mm) obscure glass blade | [9 empty] | No
|  | 30"x 6" (762x150mm) obscure glass blade. | [9 empty] | No
|  | 32"x 6" (813x150mm) obscure glass blade. | [9 empty] | No
|  | 36"x 6" (914x150mm) obscure glass blade. | [9 empty] | No
N 1 | 0-6mm perspex glazing to opening timber frame with 20x20mm glazing bead | [9 empty] | 14.9365 | m2 | 2.88 | 5.1863
N 2 | on both side per 0.8m2
N 3
N 4 | window 1 length= | 1610 |  | 1 | 5 | 1.61 | 1.05 | 8.4525
N 5
N 6 |  | height=1050
N 7
N 8 | window 2 length= | 2380 |  | 1 | 1 | 2.38 | 1.05 | 2.499
N 9
N 10 |  | height=1050
N 11
N 12 | window 3 length= | 3985 |  | 1 | 1 | 3.985 | 1 | 3.985
N 13
N 14 |  | height=1000 | [5 empty] | 14.9365
N 15
N 16 | Security wire meshing to external window openings. Include | [9 empty] | 11.8335 | m2
N 17 | 50x20mm timber battens
N 18
N 19 |  | Flyscreen meshing to external opening. Include 50x25mm timber battens | [9 empty] | m2
N 20
N 21
N 22
N 23 | window length= | 1610 |  | 1 | 7 | 1.61 | 1.05 | 11.8335
N 24
N 25 |  | height=1050 | [5 empty] | 11.8335
TOTAL FOR VARIATION EXCLUDING VAT
Site Works / Exterior Element
Fence Chain Link
|  | Galvanised wire mesh fence with 50mm dia tubular post or similar set in concrete | [9 empty] | m
at 3m c-c, high tension strainer wire in 3 no, and 3 strands of barbed wire on
post extensions (gate excluded)
|  | Single gate complete with fittings ( size of opening shall be given) | [9 empty] | No
|  | Double gate complete with fittings ( size of opening shall be given) | [9 empty] | No
|  | Allow for landscaping | [8 empty] | 1 | item
TOTAL CARRIED TO SUMMARY
SUNDRY WORKS
|  | Allow for Construction of well (approx 1200mm diameter on plan) including bulk excavation, return and fill, positioning of precast concrete well ring, and dewatering | [9 empty] | no
TOTAL CARRIED TO SUMMARY
Note on B584: QS:
Note on A687: Toani Toatu: to continue from here
Note on C998: QS: continue from here 05/03/18
Note on C1438: QS: continue from here

## Material (hidden)
| HM & SEC CAR PARK |  |  | Date | 2021-08-17
Ref | Description | Unit | Qty | Rate | Total
Preambles
Timbers & Ppies
All timbers to be purchased in 6m long
Sizes given for timbers are actual sizes, and need to be dressed as
per specification given on drawings
Reinforcements
All bar reinforcements are to be purchased in 6m long
The quantities given are inclusive for laps, as per spec
Toolls&Sundries
| Shovels | no |  | 39 | 0
| Wheel barrow | no |  | 195 | 0
| Bolt cutter | no |  | 51 | 0
| Crow bar | no |  | 80 | 0
| Trowel 200 concrete | no |  | 11.1 | 0
| Trowel plaster | no |  | 21.5 | 0
| Rivert Gun | no |  | 30 | 0
| Riverter pile | no |  | 21.25 | 0
| Circular saw | no |  | 457 | 0
| Cordless drill | no |  | 81.2 | 0
| Lead wire | no |  | 19 | 0
| Angle grinder | no |  | 275 | 0
| Block moulds | no |  | 200 | 0
| Paint tray with handle & roller | no |  | 21.85 | 0
| Paint brush 4" | no |  | 8.5 | 0
| Paint brush 2" | no |  | 5.5 | 0
| Paint brush 1" | no |  | 2.5 | 0
| Hose 12mm diameter x 25m | no |  | 120 | 0
Concrete Works (Cement type GP or GB) and to be 20MPA
Concrete Strength
| 40 kg cement portland for footing, slab, and etc | bags |  | 19.9 | 0
| 40 kg cement portland for render | bags |  | 19.9 | 0
| Approved aggregate | bags |  | 2 | 0
| Approved sand | bags |  | 1 | 0
| Polythene damp proof membrane (60m x 2m wide) 0.2mm thick | roll |  | 91.3 | 0
| Tie wire 180mtrs | roll |  | 120 | 0
.
Formwork
| Formply 3/4" thick | sht |  | 131.95 | 0
| 100x50mm timber pine in 6m long | length |  | 48.31 | 0
| 50x50mm timber pine in 6m long | length |  | 22.7 | 0
Bar Reinforcement (AS/NZS4671)
| D16mm dia reinforcing steel (6m length)deform | length |  | 40 | 0
| D12mm dia reinforcing steel (6m length)deform | length |  | 29 | 0
| D10mm dia reinforcing steel (6m length)deform | length |  | 21 | 0
| D8mm dia reinforcing steel (6m length)deform | length |  | 13.5 | 0
| R10mm dia reinforcing steel (6m length)smooth | length |  | 8.3 | 0
| R8mm dia reinforcing steel (6m length)smooth | length |  | 8.3 | 0
| D6mm dia reinforcing steel (6m length)smooth | length |  | 1.7 | 0
| Reinforcing mesh SL102 size:6mx2.4m wide (200x200x10) | sht |  | 160.05 | 0
Grade 300 ("D") or Grade 500("N")
Blockwork
| 200mm thick block | no |  | 4 | 0
| 200mm knock out blocks | no |  | 3 | 0
| 200mm corner blocks | no |  | 3 | 0
| 200 DPC membrane @ 25m/roll | roll |  | 15 | 0
Metal Work
| galvanise pipe 15m (for the back gate) | length |  | 45 | 0
| galvanise pipe 50mm | length |  | 45 | 0
| galvanise pipe 40mm | length |  | 93 | 0
| end cap 40mm (galvanise) | no |  | 10.5 | 0
| glvanised pipe (150mm) | length |  | 90 | 0
| glvanised pipe (120mm) | length |  | 91 | 0
| glvanised post (100mm) | length |  | 195.7 | 0
| glvanised pipe (75mm) | length |  | 93 | 0
| glvanised pipe (50mm) | length |  | 94 | 0
| glvanised pipe (40mm) | length |  | 95 | 0
| glvanised pipe (20mm) | length |  | 96 | 0
| barbed wire | roll |  | 135 | 0
| sliding gate (imbo) 3mtr x 2 mtr double | nos |  | 4200 | 0
| single gate (imbo) 1.2 mtr x 2 mtr | nos |  | 850 | 0
| tie wire | roll |  | 15 | 0
| Single gate 900mm x 2000mm | no |  | 1080 | 0
| Chainlink/mainwire 1.8m x 15m | roll |  | 295 | 0
| Chainlink/mainwire 1.5m x 15m | roll |  | 351 | 0
0
| 100 x 100mm SHS column Grade 30 complete with L-shaped bracket | no |  | 150 | 0
| welded at top, drilled twice for 12mm diameter bolts, and |  |  |  | 0
| the other end welded with base plate 200x200x10mm and drilled |  |  |  | 0
| 4times to suit 12mm dia dynabolt (2.30m height) |  |  |  | 0
| Coat all and exposed base steel with cold galvanising treatment |  |  |  | 0
| Welding Machine charge | day |  | 450 | 0
Structural Timber (Treated Pine Timber)
All timber to be minimum F11 grade seasoned pine, hazard class H3
| Radiata pine 250x20mm in 6m long to be dressed | length |  | 45 | 0
| Radiata pine 200x50mm in 6m long to be dressed | length |  | 63.8 | 0
| Radiata pine 200x25mm in 6m long timber louvre Dressed | length |  | 45 | 0
| Radiata pine 190x45mm in 6m long Dressed for window & Door frame | length |  | 39 | 0
| Radiata pine 150x50mm in 6m long to be dressed | length |  | 48.2 | 0
| Radiata pine 100x50mm in 6m long to be dressed | length |  | 48.31 | 0
| Radiata pine 75x50mm in 6m long to be dressed | length |  | 38.1 | 0
| Radiata pine 50x50mm in 6m long to be dressed | length |  | 26.5 | 0
| dakua timber 4x2x6mtr | length |  | 97.8 | 0
| dakua timber 6x2x6mtr | length |  | 97.8 | 0
| dakua timber 8x2x6mtr | length |  | 97.8 | 0
| dakua timber 10x2x6mtr | length |  | 97.8 | 0
| dakua timber 12x2x6mtr | length |  | 97.8 | 0
.
Finishing Trim
| Radiata pine 150x25mm in 6m long | length |  | 39 | 0
| Radiata pine 100x15mm in 6m long Grooved for Architrave Dressed | length |  | 11.4 | 0
| Radiata pine 100x10mm in 6m long Strip batten | length |  | 11.4 | 0
| Radiata pine 50x25mm in 6m long | length |  | 11.4 | 0
| Radiata pine 20x20mm in 6m long Quarter round | length |  | 11.4 | 0
| Marine plywood 12mm for Gusset | sht |  | 110 | 0
Roofing Materials
| 0.55mm BMT colorbond ultra (in corrugated/trimdex) (15feet) 4.58m | sht |  | 59.5 | 0
| 0.55mm BMT colorbond ultra (in corrugated/trimdex) (10feet) 3.05m | sht |  | 39.5 | 0
| 0.55mm BMT colorbond ultra (in corrugated/trimdex) (11feet) | sht |  | 70 | 0
| Syslation 20x1.5m | roll |  | 149.05 | 0
| fully reinforced (bradford 753) |  |  |  | 0
| 0.55 BMT Colorbond ridge capping | pcs |  | 25 | 0
| 0.55 BMT Colorbond roof flashing | pcs |  | 20.65 | 0
| 0.55 BMT Clourbond eaves guttering with bracket as necessary | pcs |  | 25 | 0
| Stop ends | no |  | 20 | 0
| Outlet to gutter | no |  | 20 | 0
| 100mm diameter upvc downpipe including clips (in 6m long) | length |  | 90 | 0
| Clip for downpipe | no |  | 20 | 0
| 100mm diameter bend | no |  | 24 | 0
| 100mm diameter tee | no |  | 24 | 0
| Hydroseal | tin |  | 12.3 | 0
| Silicone | tube |  | 25 | 0
| Rivert(100 no / pkt) | pkt |  | 10 | 0
Silicon tube
Caulk gun
Doors and Window
| 2040x720x40mm internal hollow core door | no |  | 400 | 0
| 2040x800x40mm External solid core door. | no |  | 450 | 0
| 2040x720x40mm External solid core door. | no |  | 450 | 0
| 2040x800x40mm internal hollow core door with stainless steel | no |  | 450 | 0
lining, acrylic viewing panel in neoprene gaskets
| 2040x720x40mm internal hollow core door with stainless steel | no |  | 450 | 0
lining, acrylic viewing panel in neoprene gaskets
| Fire door include push bar | no |  | 1000 | 0
| 100 x 75mm butt brass hinges with screws. | no |  | 20.4 | 0
| Steel hinges with screws. | no |  | 30 | 0
| Swing Hinges | no |  | 30 | 0
| Plain mortice lock complete with handles and keys. | no |  | 30 | 0
| Rebated mortice lock complete with handles and keys. | no |  | 55 | 0
| 7 blade louver frame (anodised aluminium with black plastic clips & handle | pr |  | 38.5 | 0
| 914mm longx152mm x 6mm clear float glass louvre blade with bevelled | no |  | 5 | 0
or polished edges
| 150mm barrel bolts with screws. | no |  | 22 | 0
| Latch bolts with screws. | no |  | 66 | 0
| Franke wall mounted toilet single roll holder | no |  | 33 | 0
| Door closer for fire door |  |  | 253 | 0
| Allow for construction plywood cupboard with stainless steel D | no |  | 2000 | 0
handle and adjustable height shelve.
| Allow for stainless steel cupoard and shelve with lockable glass | no |  | 2000 | 0
insert panel and stainless D handles
| Perspex window pane 1890 x 1.11m (5mm thick) | sht |  | 120 | 0
| Clear glass window pane 1890 x 1.11m (5mm thick) | sht |  | 120 | 0
Sanitary Plumbing
| W.C S Trap Raised -Height Toilet with raised buttons and | no |  | 600 | 0
Pressalit Dania Toilet Seat complete with gate valve, and
pan adaptor.
| Sign Basin 600 wall mounted 600mm wash basin with large vanity | no |  | 300 | 0
surface at the rear of the wash basin
| Clinical Sink | no |  | 460 | 0
| Fully pressed insert baby bath | no |  | 600 | 0
| Enware - Franke 304# Stainless Steel Sink | no |  | 1200 | 0
| Luxtub Insert | no |  | 250 | 0
| Enware-Franke wall hung sluice sink.Wall mounted sluice sink | no |  | 2500 | 0
with conical flushing bowl and heavy duty grate. Suitable for in wall
flush valve. Traps not supplied for the sink.
| Leva 150mm recess adaptor jumper valve; cache swivel spout | no |  | 150 | 0
| Leva Pillar cock tap set | no |  | 170 | 0
| Time flow basin Pillar Tap- Push Button | no |  | 150 | 0
| Plaza bench Mounted Shampoo set with SP271 Shampoo | no |  | 300 | 0
spray and 1.5m hose
| Leva 80mm recess adaptor | no |  | 100 | 0
| Shower held shower and hose on stainless steel grabrail | no |  | 200 | 0
| Stainless Steel Satin finish double coat hook | no |  | 30 | 0
| Enware - Franke wall mounted soap dish. Pressed stainless | no |  | 30 | 0
soap dish with fluted dish and brackets incorprated.
| Wall mounted waste bin, brushed stainless finish. 23l capacity | no |  | 150 | 0
| Stainless steel Bedpan and Bottle rack | no |  | 420 | 0
| Thermostatic mixing valve | no |  | 165 | 0
| Ball valve tap | no |  | 165 | 0
| Stainless steel kitchen sink | no |  | 900 | 0
| Undercounter water heater | no |  | 1500 | 0
| Floor waste drainage | no |  | 50 | 0
Pipeworks and Fittings
| 15mm dia pvc pipe for water reticulation, in 6m long | leng |  | 20 | 0
| 15mm diameter tee | no |  | 2.2 | 0
| 15mm diameter bend | no |  | 2.2 | 0
| 15mm diameter stop valve | no |  | 10 | 0
| 15mm diameter female adaptor | no |  | 2 | 0
| 15mm diameter male adaptor | no |  | 2 | 0
| 25mm dia pvc pipe for water reticulation, in 6m long | leng |  | 20 | 0
| 25mm diameter tee | no |  | 7 | 0
| 25mm diameter bend | no |  | 7 | 0
| 25mm diameter female adaptor | no |  | 2 | 0
| 25mm diameter male adaptor | no |  | 2 | 0
| Solvent cement glue for pvc 500g/tin | tn |  | 16.5 | 0
Finishes
| Lay polyflor prestige pur Alabaster 1600 on approved backing | m2 |  | 55 | 0
Adhesive for polyflor prestige
| 150x150mm non slip ceramic floor tile on adhesive backing @ 55pc/box. | box |  | 45.1 | 0
| 300x300mm non slip ceramic floor tile on adhesive backing @ 17pc/box.or 3.3/tile | box |  | 56.1
| 150x150mm non slip ceramic floor tile on adhesive backing @ 55pc/box. | box
| CTF Adhesive for ceramic tiles @ 20kg/bag | bag |  | 30 | 0
| 150x150mm Ceramic wall tile on adhesive backing. | box |  | 30 | 0
| CTF Adhesive for ceramic tiles @ 20kg/bag | bag |  | 30 | 0
| Tile spacer 2mm @ 100pcs/pkt | pkt |  | 8 | 0
| Grout @ 2kg/pkt | pkt |  | 12.5 | 0
Lining
| Plaster board depend on their size ceiling | sht |  | 120 | 0
| Fibre Cement lining 8"x 4" x 6mm thick for ceiling, lining and gable end | sht |  | 100 | 0
| Insulation @ 2mx1m = 2m2/roll | roll |  | 61 | 0
| plywood3/8 | sht |  | 175 | 0
| measontie 1.2x2.4 | sht |  | 25 | 0
| Formply 3/4" thick | sht |  | 259 | 0
0
| Painting and Decorating |  |  |  | 0
| undercoat enamel 4ltr | tin |  | 49.9 | 0
| high gloss enamel 4ltr | tin |  | 54.5 | 0
| semi gloss 4ltr | tin |  | 49.9 | 0
0
0
| Acrylic primer sealer undercoat 4 litres | tn |  | 68.8 | 0
| H/gloss 4ltrs | tn |  | 74.5 | 0
| Acrylic Sealer 4ltrs | tn |  | 68.8 | 0
| Acrylic primer 4 ltrs | tn |  | 68.8 | 0
| Oil base wood primer @ 4ltrs | tn |  | 68.8 | 0
| Marine Grade Paint | tn |  | 60 | 0
| Semi-gloss enamel @ 4liters/tin | tn |  | 68.8 | 0
| Semi-gloss enamel @ 4liters/tin (yellow). | tn |  | 79.5 | 0
| Oil base exterior gloss enamel | tn |  | 68.5 | 0
| Oil base interior gloss enamel | tn |  | 68.5 | 0
| Latex acrylic primer undercoat | tn |  | 68.5 | 0
| Wood glue | tube |  | 28.9 | 0
| Sand paper(fine) | mtr |  | 12.5 | 0
| Clear floor Varnish @4ltr | tins |  | 68.9 | 0
| Brown stain @1ltr | tins |  | 38.5 | 0
| Red stain @1ltr | tins |  | 38.5 | 0
| Black board paint 4ltr | tins |  | 75 | 0
| Tray complete with roller and sleeve | no |  | 25 | 0
| 4 inch paint brush | no |  | 9 | 0
| 3 inch paint brush | no |  | 8.5 | 0
| 2 inch paint brush | no |  | 7 | 0
| 1 inch paint brush | no |  | 6 | 0
| Filler no more gaps or approved filler | tube |  | 25 | 0
| Wood putty | kg |  | 15 | 0
| Turbentine @ 4.5litre/galon | galon |  | 60 | 0
Silicon tube
Caulk gun
Electrical
| 4'0" fluorescent light fittings single tube complete. | no |  | 28.5 | 0
| Selected wall light complete. | no |  | 50 | 0
| General power outlet double complete. | no |  | 36 | 0
| Light switch one way | no |  | 19 | 0
| 1.5mm cable 3 core | roll |  | 300 | 0
| 2.5mm cable 3 core | m |  | 5 | 0
| 6mm cable | m |  | 30 | 0
| Allow for conduiting | m |  | 10 | 0
| Switchboard complete with circuit breakers, wiring and connections | sum |  | 260 | 0
and other associated component as detailed.
| Wall exhaust fan | no |  | 110 | 0
| Ceiling fan 48" complete with switch | no |  | 300 | 0
| Sensor Light | no |  | 1000 | 0
| Roof Ventilator | no |  | 302 | 0
Drainage
| 100mm dia upvc stormwater pipe | length |  | 125 | 0
| 75mm dia upvc pipe | length |  | 100 | 0
| 50mm dia upvc pipe | length |  | 90 | 0
| 100mm dia bend | no |  | 46 | 0
| 100mm dia tee | no |  | 43 | 0
| 100mm dia y junction | no |  | 43 | 0
| 100mm 45 deg bend | no |  | 75 | 0
| 100 x 75mm dia reducer | no |  | 75 | 0
| 100 x 50mm dia reducer | no |  | 75 | 0
| 75mm bend | no |  | 26 | 0
| 75mm dia tee | no |  | 26 | 0
| 100mm pvc diameter drainage pipe in 6m length | leng |  | 120 | 0
Fire Protection
| Approved Hand held fire extinguishers, wall mounted 9kg dry powder | no |  | 600 | 0
ABC Type
| Approved smoke detectors (connected to main) fix in position | no |  | 400 | 0
Backup Generator
| Backup Generator complete with housing, framining, roofing and etc | prov |  | 15000 | 0
Tank complete with concrete base
| Cement 40kg | bags |  | 21 | 0
| 200mm thick block | no |  | 3 | 0
| F62 fabric mesh wire 6mx2.4m/sheet | sht |  | 195 | 0
| Rod 12mm diameter 6m | leng |  | 26 | 0
| Fine aggregate | bags |  | 1 | 0
| Coarse aggregate | bags |  | 2 | 0
| 5000 litre poly rain water tank complete with outlet | no |  | 1200 | 0
Nails, Screws, Bolt, etc (to be fully galvanised)
| 4" galvanised FC nails @100pcs/pkt | pkt |  | 9 | 0
| 3" galv nails @ 100pcs/pkt | pkt |  | 9 | 0
| 2" x 3.15mm bullet head galvanised nail @ 100pcs/pkt | pkt |  | 9 | 0
| 1" x 3.15mm clout galvanised nail @ 100pcs/pkt | pkt |  | 10 | 0
| M12 bolts | no |  | 8.5 | 0
| Hexagon roofing screws with EPDM washers | pcs |  | 1.2 | 0
| 4" Counter sunk wood screws @ 50/pkt | pkt |  | 12 | 0
| 175x12mm diameter dyna bolt with nut fully galvanised | no. |  | 5 | 0
| M16 galv bolt | no |  | 25 | 0
| Total for Materials |  |  |  | 0
Note on D39: : 1:2:4 mix only

## conjoin hrly rate (hidden)
Average Gang rate for mixture of Foreman, joinery, plumbing, Carpentry, paiinting, tile and glazing, machinery,
7.06
7.06
7.84
6.9
6.74
5.37
5.63
6.26
5.76
| 9 | 6.5133
58.62 | 6.5133
6 | foreman | Maintenance
1 | foreman
1 | leading hand
4 | trademan
|  | Project | *2