**REQUEST FOR QUOTATION  
SPECIFICATION OF STANDARD GOODS**

**Procurement No:** **46-G011-24**

## Specification

### Background

The project is aimed to boost the Branch sales and to comply with safety reasons

### Requirements

All supporting documentation must be in English.

### Installation services

Construction to be done by KOIL in Xmas

### Delivery Time

One Month

## Description of the Goods

*Here, list all items to be Tendered*

*(This part may be replaced by a proprietary Supplier description)*

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Pos. | Description | Number | Delivery Time (to be Tendered) | Price (to be Tendered) |
| 1 | ALEX HDPE PIPES SIZE / DIAMETER : 250MM / SINGLE PIECE LENGTH: 6MTR / SIZE: 250MM PE100PN5 / THICKNESS AS PER IS4984:2016/ AVG THICKNESS : 10MM / THICKNESS VARIATION :3% / MATERIAL GRADE: PE100 / PRESSURE:PN5 / DIAMETER: 250 O SIZE:250MM PN5PE100 COLOUR: BLACK COLOUR WITH THREE BLUE LINES AS PER IS0 4984 - 1 PIPE = 6 METERS = 800 PIPES = 4800 PIPES | 4800 bags | 1 month after signing of Contract |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |