**REQUEST FOR PROPOSAL  
SPECIFICATION OF WORKS**

**Procurement No:** **22-W006-24**

## Specification

### Background

The primary purpose of this project is to carry out essential maintenance work on the existing Operation Theatre (OT) at Tungaru Central Hospital (TCH). This project is of critical importance, as it focuses on the renovation and repair of one of the most vital areas within TCH. Currently, the OT is experiencing significant roof damage, which poses a serious risk to both the safety of surgical procedures and the well-being of patients. Addressing this issue through prompt maintenance and renovation is vital to ensure that the theatre can continue to function safely and effectively.

### Requirements

All supporting documentation must be in English. Contractors are required to submit the following supporting documents. Failure to provide will result in rejecting the tender

1. Certified Business Registration from MTCIC
2. Valid business license from TUC or BTC
3. Tax clearance letter from Tax office
4. The signed form of certificate for compliance form
5. A complete technical proposal in response to the specifications required
6. A complete financial proposal with a clear complete costing

### Related services

Services required include the trades in carpentry, plumbing, electrical and painting from qualified personnel.

### Project Time & Final Delivery

## Description of the Works

*Here, list all items to be Tendered*

*(This part may be replaced by a Procuring Entity or proprietary Contractor description)*

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Pos. | Description | Unit | Delivery Time (to be Tendered) | Price (to be Tendered) |
|  | **PAINTING MATERIAL** |  |  |  |
| acrylic undercoat | box |  |  |
| block sealer | bucket |  |  |
| semi gloss | bucket |  |  |
| undercoat paint | box |  |  |
| high gloss enamel | box |  |  |
| gap filler | tube |  |  |
| sand paper | meter |  |  |
| roller complete | set |  |  |
| mouse roller set | set |  |  |
| hand brush 3'' | nos |  |  |
| hand brush 2'' | nos |  |  |
| kerosene | ltr |  |  |
|  |  |  |  |
| **ELECTRICAL MATERIAL** |  |  |  |
| fluorescent light 4ft complete | set |  |  |
| fluorescent light 2ft complete | set |  |  |
| double power point & mountingblock | nos |  |  |
| single power point & mountingblock | nos |  |  |
| ceiling fan | set |  |  |
| mounting block | nos |  |  |
| single switch | nos |  |  |
| conduit pipe | lens |  |  |
| cable wire | roll |  |  |
|  |  |  |  |
| **CARPENTRY MATERIAL** |  |  |  |
| timber 2x2 | lens |  |  |
| timber 4x2 | lens |  |  |
| timber 6x1 | lens |  |  |
| timber 6x2 | lens |  |  |
| timber 3x2 | lens |  |  |
| timber 8x2 | lens |  |  |
| mansonite | sheet |  |  |
| nail panel bin | kg |  |  |
| nail 4'' | kg |  |  |
| nail 3'' | kg |  |  |
| nail 2'' | kg |  |  |
| nail panel bin | kg |  |  |
|  |  |  |  |
| **JOINERY MATERIAL** |  |  |  |
| flush door | nos |  |  |
| dakua 4x2 | lens |  |  |
| plywood 12mm | sheets |  |  |
| plywood 3/8mm | sheets |  |  |
| swing pair hinges 4'' | nos |  |  |
| nail 40mm | ptk |  |  |
| wood glue 920g | tube |  |  |
| **MANSORY MATERIAL** |  |  |  |
| cement 50kg | bag |  |  |
| block | nos |  |  |
| sand fine 50bag=1 cubic | cubic meter |  |  |
| aggregate | cubic meter |  |  |
|  |  |  |  |
| **PLUMBING MATERIAL** |  |  |  |
| gutter | lens |  |  |
| grout nail | pkt |  |  |
| bracket | nos |  |  |
| timber 8x1 | lens |  |  |
| zincalum roofing 15ft | sheet |  |  |
| roofing nail | pkt |  |  |
| tank 5000 ltr | nos |  |  |
| sealer pad | roll |  |  |
| sink complete plug and waste | nos |  |  |
| trap 40mm by 32mm | nos |  |  |
| pipe pvc 15mm | lens |  |  |
| solvent cement glue | nos |  |  |
| bolt & nut | nos |  |  |
| male adaptor 15mm | nos |  |  |
| gate valve | nos |  |  |
| reducer 20mm to 15mmg | nos |  |  |
| reducer 25mm to 20mm | nos |  |  |
| female adaptor 15mm | nos |  |  |
| female adaptor 20mm | nos |  |  |
| pip tap 15mm | nos |  |  |
| sink unit double | nos |  |  |
| piller tap 15mm | nos |  |  |
| trap 40mm by 32mm | nos |  |  |
| plug & waiste | nos |  |  |
| pvc pipe clip 15mm | nos |  |  |
| pvc pipe clip 20mm | each |  |  |
| pcv pipe clip 40mm | each |  |  |
| wall plug | mtr |  |  |
| screw | piece |  |  |
| thread tape | nos |  |  |
| silicone | nos |  |  |
| urinal bowl | nos |  |  |
| sluice | nos |  |  |
| pan connector 100mm | nos |  |  |
| cistern | set |  |  |
| elbow 15mm | nos |  |  |
| elbow 20mm | nos |  |  |
| elbow 25mm | nos |  |  |
| elbow 40mm | nos |  |  |
| elbow 50mm | nos |  |  |
| elbow 100mm | nos |  |  |
| tee conjuction 15mm | nos |  |  |
| tee conjuction 20mm | nos |  |  |
| tee conjuction 25mm | nos |  |  |
| tee conjuction 40mm | nos |  |  |
| tee conjuction 50mm | nos |  |  |
| pvc pipe 15mm | lens |  |  |
| pvc pipe 20mm | lens |  |  |
| pvc pipe 25mm | lens |  |  |
| pvc pipe 40mm | lens |  |  |
| pvc pipe 50mm | lens |  |  |
| pvc pipe 100mm | lens |  |  |
| gully trap 100mm | nos |  |  |
| floor grade | nos |  |  |
| ball valves 15mm | nos |  |  |
| ball valves 20mm | nos |  |  |
| hose flex 15mm | nos |  |  |
| male adaptor 15mm | nos |  |  |
| male adaptor 20mm | nos |  |  |
|  |  |  |  |
| **Glazing Material** |  |  |  |
| grout | Bag |  |  |
| ctf | bag |  |  |
| ceramic .6mx.6m | pieces |  |  |
| spacer | packet |  |  |
| building line | nos |  |  |
| window frame 10 blade | box |  |  |
| fly screen 30 meter | roll |  |  |
| roll tile | roll |  |  |
| **Total Cost of Material** |  |  |  |
| **Total Labor Cost** |  |  |  |
| **Total Budget** |  |  |  |

## Tenderer’s References

### Relevant similar deliveries carried out in the last five years

Please, provide information on each delivery for which your firm/entity, either individually as a corporate entity or as one of the major companies within an association, was legally contracted.

|  |  |  |  |
| --- | --- | --- | --- |
| Works delivered | Reference | Contact details | Value |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |