**REQUEST FOR PROPOSAL  
SPECIFICATION OF WORKS**

**Procurement No: 26-w002-25**

## Specification

### Background

HM-MWYSSA Residential Renovation. The purpose of the renovation is to improve the current condition of official house that will be used by the minister of MWYSSA while is in office.

### Requirements

All supporting documentation must be in English.

* Good Financial Standings
* Certified Business Registration and Valid Operational Licences
* Signed Certificate of Compliance form
* Reference
* Complete technical components
* Please refer to template 2 and 5 for detailed information of requirements and evaluation criteria

### Related services

A contractor must be able to provide the following.

* Source its own materials and equipment.

All of these must fall within the specified budget provided by MWYSSA.

### Project Time & Final Delivery

Project Duration – 2 month

## Description of the Works

*Here, list all items to be Tendered*

*(This part may be replaced by a Procuring Entity or proprietary Contractor description)*

|  |  |  |  |
| --- | --- | --- | --- |
| Pos. | Description | Delivery Time (to be Tendered) | Price (to be Tendered) |
| 1 | Bedroom 1 (Master Bedroom):   * Build bedroom porch for entry & exit from outside. * Bathroom needs big tiles, partition between closet area with shower & toilet. * Need two new closets installed opposite to each other (Replace a former closet and install a new one opposite to the fomer closet in the bathroom area). |  |  |
| 2 | Bedroom 2 & 3:   * Needs new screens. * Fix fans. * Other minor touches. |  |  |
| 3 | Kitchen Area:   * All counters (including the counter/divider) need to be taken out. * New counter & sink installed. * Island installed between kitchen and living room area. |  |  |
| 4 | Living room:   * Need new tiles (Big ceramic tiles) * Screens need replacing. * Partitian (loovered wall) in the middle of the living room pushed back half way (Just to where the ceiling drops). * Build two rooms at the space between the Pushed back partitian and back door. On either side of the room, with doors of both rooms facing each other in the little hallway towards the back door. * The back door needs to be widened out and have a bar and a screen door. |  |  |
| 5 | Shared Bathroom:   * Needs maintenance work. * Replacing tiles (with Bigger tiles) * Change sink, shower and toilet. |  |  |
| 6 | Laundary room:   * Minor maintenance work on screens, sink, tap etc (check if any is needed). |  |  |
| 7 | Outside:   * Footpath needs filling to even the path around the house. * Front parking space needs cement fillings to even out the concrete. * Change gutters. * Gate needs to be replaced. |  |  |

## Tenderer’s References

### Relevant similar deliveries carried out in the last five years

Please, provide information on each delivery for which your firm/entity, either individually as a corporate entity or as one of the major companies within an association, was legally contracted.

|  |  |  |  |
| --- | --- | --- | --- |
| Works delivered | Reference | Contact details | Value |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |