## BOQ
BOQ
Client |  | Upper air Station & Warehouse_REV3
Date: |  | 2026-06-17 11:59 |  | Total cost |  | #REF!
Serial No |  | Description | Qty | Unit | K-Rate | Amount
|  | No of House | 1
1 |  | CONCRETE WORK |  |  |  | 0
| 1.01 | Portland Cement 40Kg | 295 | bags | 0 | 0
| 1.02 | Sand | 16 | m³ | 0 | 0
| 1.03 | Gravel | 31 | m³ | 0 | 0
| 1.04 | Formply | 26 | sheet | 0 | 0
| 1.05 | Timber 50x50mmx5.8m | 18 | len | 0 | 0
| 1.06 | Timber 200x25mmx5.8m | 2 | len | 0 | 0
2 |  | BLOCK WORK |  |  |  | 0
| 2.01 | Portland Cement 40Kg | 206 | bags | 0 | 0
| 2.02 | Sand | 22 | m³ | 0 | 0
| 2.03 | Gravel | 23 | m³ | 0 | 0
3 |  | REINFORCEMENT WORK |  |  |  | 0
| 4.01 | Reinforced rod D12mm Ø minimum Grade 300MPa | 201 | lengths | 0 | 0
| 4.02 | R6 diam bar for stirrups minimum Grade 300MPa | 104 | lengths | 0 | 0
| 4.03 | 663 BRC Mesh reinforcement 6mx2.4m | 16 | sheet | 0 | 0
| 4.04 | Polythene black plastic 1.8x60mx4mm | 262 | m³ | 0 | 0
| 4.05 | Tie wire 20m 1mm dia | 20 | spool | 0 | 0
4 |  | CARPENTRY WORK |  |  |  | 0
| 5.01 | PE DPC /DPM - Thick 2mm x L10m x W.3m | 5 | Roll | 0 | 0
| 5.02 | Radiata Pine 200 X 50mm x 6m F7 Grade, seasoned pine | 24 | length | 0 | 0
| 5.03 | Radiata Pine 100X50mm x 6m F7 Grade, seasoned pine | 26 | length | 0 | 0
| 5.04 | Radiata Pine 75X50mm x 6m F7 Grade, seasoned pine | 26 | length | 0 | 0
| 5.05 | Radiata Pine 50X50mm x 6m F7 Grade, seasoned pine | 28 | length | 0 | 0
| 5.06 | Radiata Pine 50X25mm x6m F7 Grade, seasoned pine | 161 | length | 0 | 0
| 5.07 | Radiata Pine 40X15mm x4m F7 Grade, seasoned pine | 22 | length | 0 | 0
| 5.08 | Radiata Pine Quaer round for conner 25x25mm x 4m F7 Grade, seasoned pine | 33 | length | 0 | 0
| 5.09 | Kwila timber Fascia board 200 X 25mm x 6m | 6.6667 | length | 0 | 0
| 5.1 | Simpson Strong-Tie TSP down, galvanized steel for timber truss connector W38-40mm,L200-300mm, Steel Thickness 1-1.2mm | 20 | nos | 0 | 0
| 5.11 | Hardboard External Plywood 2.4x1.2mx1/4''mm | 14 | sheet | 0 | 0
| 5.12 | Bolts & Nut M10@200mm long | 100 | nos | 0 | 0
| 5.13 | Bolts & Nut M10@120mm long | 95 | nos | 0 | 0
| 5.14 | Builder strapping (25mmx27m) | 3 | roll | 0 | 0
5 |  | ROOFING COVERING |  |  |  | 0
| 6.01 | Roof sheet colorbond blue scope 16ft (4.528m) | 18 | sheets | 0 | 0
| 6.02 | Roof sheet 10ft (3m) Sliding double door linning | 10 | sheets | 0 | 0
| 6.03 | Sisalation Roof Foil insulation 40x1.25m | 2 | roll | 0 | 0
| 6.04 | Colourbond barge and fascia Flashing edge 2.4m length | 16 | sheets | 0 | 0
| 6.05 | 300mm Roof turbine vetilator,stainless, flasing/base plate, bearing, fixing screw, roof seal components | 3 | Set | 0 | 0
6 |  | JOINERY WORK |  |  |  | 0
| 6.01 | Window security mesh 2.4x1.2m | 4 | sheets | 0 | 0
| 6.02 | Fly insect screen 30x0.912m per roll | 1 | roll | 0 | 0
| 6.03 | Panel Door 1.964mmx920mm | 1 | nos | 0 | 0
| 6.04 | Panel Door 1.964mmx760mm | 4 | nos | 0 | 0
| 6.05 | Timber sliding door H4.4m x W3m | 1 | set | 0 | 0
| 6.06 | Timber sliding door H4.6m x W3m | 1 | set | 0 | 0
| 6.07 | Butt hinges 100mm | 6 | Pairs | 0 | 0
| 6.08 | Entrance Lock set | 4 | nos | 0 | 0
| 6.09 | Pad bolt 100mm | 7 | nos | 0 | 0
| 6.1 | Louver frame 7 blade with screws | 6 | pairs | 0 | 0
| 6.11 | Louver frame 6 blade with screws | 2 | pairs | 0 | 0
| 6.12 | Louver frame 3 blade with screws | 2 | pairs | 0 | 0
| 6.13 | Louver clear glass 152x610mm | 60 | nos | 0 | 0
| 6.14 | Diamond glass cutter | 10 | nos | 0 | 0
7 |  | PAINTING WORK |  |  |  | 0
| 7.01 | Pink Primer paint 4ltr | 40 | tins | 0 | 0
| 7.02 | Undercoat paint 4ltr | 30 | tins | 0 | 0
| 7.03 | Enamel coat paint 4ltr | 20 | tins | 0 | 0
| 7.04 | Exterior Acrylic Masonry Paint – 10L Bucket | 9 | bucket | 0 | 0
| 7.05 | Acrylic interior wall paint masonry paint - 10L bucket | 9 | bucket | 0 | 0
| 7.06 | Roller brush & tray | 6 | nos | 0 | 0
| 7.07 | Skin for roller brush | 9 | nos | 0 | 0
| 7.08 | Brushe 100mm | 12 | nos | 0 | 0
8 |  | NAILING WORK |  |  |  | 0
| 8.01 | Galvanise Nail 4'' | 100 | kg | 0 | 0
| 8.02 | Galvanise Nail 3'' | 75 | kg | 0 | 0
| 8.03 | Galvanise Nail 2'' | 30 | kg | 0 | 0
| 8.04 | Galvanise Nail 1'' | 5 | kg | 0 | 0
| 8.05 | Gav clout nail 2'' | 15 | kg | 0 | 0
|  | U nail 1 1/2'' | 5 | kg | 0 | 0
| 8.06 | 10g roofing cyclonic screws with neoprene washers | 7 | kg | 0 | 0
| 8.07 | 13g roofing cyclonic screws with neoprene washers | 8 | kg | 0 | 0
| 8.08 | Screw itsert 1/ 1/2'' | 30 | tenths | 0 | 0
9 |  | ELECTRICAL WORK |  |  |  | 0
| 9.01 | 3-Phase Main Switch Board / DB 63A | 1 | nos | 0 | 0
| 9.02 | 3P+N Main Breaker 63A | 1 | nos | 0 | 0
| 9.03 | RCCB / ELCB 63A 4 Pole | 1 | nos | 0 | 0
| 9.04 | Single Pole MCB 10A | 4 | nos | 0 | 0
| 9.05 | Single Pole MCB 20A | 3 | nos | 0 | 0
| 9.06 | 4C x 16mm² Main Supply Cable | 20 | m | 0 | 0
| 9.07 | 2.5mm² Twin & Earth Cable | 60 | m | 0 | 0
| 9.08 | 4mm² Twin & Earth Cable | 40 | m | 0 | 0
| 9.09 | Switchboard - 6 Ways | 1 | Pcs | 0 | 0
| 9.1 | Main Circuit Breaker 20A | 1 | Pcs | 0 | 0
| 9.11 | RCBO/RCD 16A | 3 | Pcs | 0 | 0
| 9.12 | RCBO/RCD 6A | 1 | Pcs | 0 | 0
| 9.13 | Earth wire 6 mm2 | 10 | Mtrs | 0 | 0
| 9.14 | Earth Rod Copper 1.5mtrs | 1 | Pc | 0 | 0
| 9.15 | Light Cable 1.5 mm2 | 90 | Mtrs | 0 | 0
| 9.16 | Socket Outlet Cable 2.5 mm2 | 100 | Mtrs | 0 | 0
| 9.17 | Cable Clip NO.3 | 10 | Pkts | 0 | 0
| 9.18 | LED Lights 4fts | 8 | Pcs | 0 | 0
| 9.19 | Light Switch - Double | 4 | Pcs | 0 | 0
| 9.2 | Socket Outlet - Double | 5 | Pcs | 0 | 0
| 9.21 | Mounting Block | 10 | Pcs | 0 | 0
| 9.22 | Wood Screw 11/2'' | 50 | Pcs | 0 | 0
| 9.23 | Conduit PVC Pipe 20cm | 50 | lengths | 0 | 0
| 9.24 | Junction Box | 4 | Pcs | 0 | 0
| 9.25 | Smoke alram code- Ceiling mounted mains wired | 4 | Pcs | 0 | 0
| 9.26 | ABE fire extinguisher to AS2444 portable fire extinguishers and fire blankets. | 4 | nos | 0 | 0
| 9.27 | Cable Lugs/Glands | 1 | lot | 0 | 0
| 9.28 | Insulating Tape | 4 | Pcs | 0 | 0
10 |  | PLUMBING WORK |  |  |  | 0
Fittings for water connection
| 10.01 | Poly pipe 50 mm @ 50 meters coil | 1 | coil | 0 | 0
| 10.02 | Poly metric tee 50 mm | 1 | nos | 0 | 0
| 10.03 | Poly 90' metric tee with threaded female BSP offtake 50 mm x 3/4'' | 3 | nos | 0 | 0
| 10.04 | 50 mm metric poly x 2'' male BSP adaptor | 3 | nos | 0 | 0
Fixtures , Fittings & distribution
| 10.05 | UPVC Pipe 20mm (water supply) | 6 | Length | 0 | 0
| 10.06 | UPVC Pipe 40mm (waste line) | 5 | Length | 0 | 0
| 10.07 | UPVC Pipe 50mm (drainage) | 3 | Length | 0 | 0
| 10.08 | UPVC Pipe 100mm (main sewer/drain) | 3 | Length | 0 | 0
| 10.09 | UPVC Elbows, Tees, Reducers | 1 | lot | 0 | 0
| 10.1 | UPVC Glue/Cement 500mls | 2 | tins | 0 | 0
| 10.11 | Gate Valve / Ball Valve | 2 | pcs | 0 | 0
| 10.12 | Shower Set / Water Spray with tray and fitting | 1 | Set | 0 | 0
| 10.13 | Basin & Waste Trap | 1 | pcs | 0 | 0
| 10.14 | Floor Waste Drain | 2 | pcs | 0 | 0
| 10.15 | Water Closet (WC complete set) | 1 | set | 0 | 0
| 10.16 | Flexible Water Connectors | 2 | pcs | 0 | 0
| 10.17 | Water Tap / Bib Cock | 2 | pcs | 0 | 0
| 10.18 | Pipe Clamps/Saddles | 1 | box | 0 | 0
| 10.19 | Soakpit Connection Materials | 1 | lot | 0 | 0
| 10.2 | Water Pump with Connection Fittings | 1 | lot | 0 | 0
| 10.21 | Thread Tape / Sealant | 4 | pcs | 0 | 0
| 10.22 | Inspection Opening / Cleanout | 2 | box | 0 | 0
| 10.23 | Pipe Sleeves & Supports | 1 | lot | 0 | 0
| 10.24 | Miscellaneous Consumables | 1 | lot | 0 | 0
| 10.25 | Pipe Primer 500mls | 2 | pcs | 0 | 0
RAINWATER HAVERSTING
GUTTERING
| 10.26 | Gutter colourbond 150mm x 2.4 m - 25mm | 11 | sheet | 0 | 0
| 10.27 | 3.2mm aluminium pop rivets | 100 | nos | 0 | 0
|  | Rivet gun | 1 | nos | 0 | 0
| 10.28 | Roof and gutter silicone sealant 300ml | 3 | tube | 0 | 0
| 10.29 | silicone gun | 1 | nos | 0 | 0
| 10.3 | Riverter | 1 | nos | 0 | 0
| 10.31 | PVC bracket fro 90mm dia round downpipe | 24 | nos | 0 | 0
| 10.32 | Clout nail 40mm | 1 | kg | 0 | 0
| 10.33 | Aviation snip - Left,Right and straight cut | 1 | each | 0 | 0
RAINWATER SYSTEM
| 10.34 | Polyethene water tank - 5000 liter with 15 mm female flanged outlets_ 2m height | 8 | nos | 0 | 0
| 10.35 | PVC male adaptor 15mm | 8 | nos | 0 | 0
| 10.36 | PVC Elbow 15mm | 30 | nos | 0 | 0
| 10.37 | PVC Female adaptor 15mm | 9 | nos | 0 | 0
| 10.38 | Brass tap 15mm | 9 | nos | 0 | 0
DOWNPIPE
| 10.39 | PVC Elbow - DWV 100mm | 6 | nos | 0 | 0
| 10.4 | PVC Tee - DWV 100mm | 10 | nos | 0 | 0
| 10.41 | PVC Pipe clip 100mm | 30 | nos | 0 | 0
| 10.42 | PVC Elbow 45 deg - DWV 100mm | 12 | nos | 0 | 0
| 10.43 | Screw 50mm | 12 | nos | 0 | 0
| 10.44 | PVC male adaptor - DWV ( thread x socket) 100mm | 4 | nos | 0 | 0
| 10.45 | Screw end cap 100mm | 4 | nos | 0 | 0
PRESSURE PIPE
| 10.46 | PVC Pipe - Pressure 15mm | 2 | length | 0 | 0
WASTE PIPE
| 10.47 | PVC Pipe - DWV 100mm | 12 | length | 0 | 0
| 10.48 | PVC Pipe - DWV 50mm | 8 | length | 0 | 0

## SUM
SUMMARY & LABOUR COST
Project: |  | Upper air Station & Warehouse_REV3 | 0
Date: |  | 2026-06-17 11:59
SERIAL NO |  | DESCRIPTION |  | AMOUNT
1 |  | MATERIAL COST |  | 0
| 1 | CONCRETE WORK | 0
| 2 | BLOCK WORK | 0
| 3 | REINFORCEMENT WORK | 0
| 4 | CARPENTRY WORK | 0
| 5 | ROOFING COVERING | 0
| 6 | JOINERY WORK | 0
| 7 | PAINTING WORK | 0
| 8 | NAILING WORK | 0
| 9 | ELECTRICAL WORK | 0
| 10 | PLUMBING WORK | 0
|  | Vat - 12.5% | 0
|  | GRAND TOTAL COSTING |  | #REF!
|  | CONSTRUCTION DURATION | 45 | Days
Note: | The grand total cost stated is cater only for the DS-Housing Building,Overhead,Rain Water and Septic Tank.
- | The price of materials are determined using all received quoted from Kiritimati suppliers
- | Contigency expense will cater for the unforeseen items during work and rise and fall materials and rate.
- | Overhead expense will cater for the unforeseen charges within the extension of work due weather
- | Labour Cost is only cater for the wages of the 15 recruited casuals to assist the construction process
- | The construction period is expected to 90 working days.
|  | CONSTRUCTION DURATION | 14 | Days