REQUEST FOR QUOTATION
SPECIFICATION OF STANDARD GOODS

Procurement No:	27-G005-26

## Specification

### Background

The Ministry of Health and Medical Services recognized the urgent need to establish laboratory services in Betio hospital to enhance healthcare accessibility and efficiency. Currently, patients must travel between Nawerewere and Betio for laboratory tests, incurring additional costs and logistical challenges. The provision of a dedicated facility in Betio will not only reduce patient movement but also ensure timely medical intervention for the local community.

Given the temporary nature of the setup, the Ministry has opted to procure a specialized prefab container based on the fact the project is at a critical stage and given the urgent need for laboratory services within the Betio community.

### Requirements

As outlined in Instructions on how to submit a proposal tender. For ease of reference, the list of requirements must include:

- Cover Letter

- Recently certified copy of Business Registration

- Valid Operational License from Island Council

- Signed Compliance Form

- Recent Tax Clearance Letter from Tax Office indicating no tax outstandings OR instalment plans if there are tax outstandings.

- Technical Components

- Financial Components

### Installation services

Electrical and Air Conditioning Services.

Plumbing Service.

### Delivery Time

Delivery time for this supply is 14 weeks minimum with open consideration on the proposed timeframe from suppliers.

## Description of the Goods

| Pos. | Description | Number | Delivery Time (to be Tendered) | Price (to be Tendered) |
| --- | --- | --- | --- | --- |
| 1 | The requirement for this prefab container is detailed in Annex A of this package, incorporating the laboratory service requirements. Some of the following includes: - 1x 20ft prefab container- (2.33 mx 5.79m) - Two rooms – Phlebotomy room and Lab test room. - Hand basin in each room. - Lab sink - Fire Extinguisher - Overhead wall cabinet plus overhead open bookshelves - L-shape melamine built in benches for workspace. - Airconditioning unit. - Roofing detail – gable roof |  |  |  |